### DELHI STATE INDUSTRIAL AND INFRASTRUCTURE DEVELOPMENT CORPORATION LIMITED

## DSIIDC-8

NIT NO.14

NAME OF WORK:  Improvement and RCC rehabilitation work for SBV School  			           at Bhola Nath Nagar NO.2 (Babu Ram), Delhi.

Name of Contractor    :	__________________________________

Date of receipt of	:

Application

Tender Issued on 	:

Date of opening of 	:        17.04.2008 at 3.30 pm.

Tender

# INDEX

Sl. No.		Details							Page No.

1.	N.I.T. DSIIDC-6	1 to 10

2.	Item Rate Tender –DSIIDC-8	11 to 14

3.	Acceptance	15 to 16

4.	Schedule A to F	17 to 30

5	Schedule of Quantities	31 to 66

6.	General Specification & General Conditions	67 to 74

7.	Condition for Cement	75 to 80

8.	Condition for Steel	81 to 84

9.	Important instructions for Tenderers	85 to 86

10.	Declaration by the Tenderer 	87 to 88

11.	Confirmation	89 to 90

This   NIT      contains  1 to 90 pages

including _upto date________Nil____________ correction slips

EXECUTIVE ENGINEER (CD)XIV

DSIIDC, DELHI

1

D.S.I.I.D.C.-6

GOVERNMENT OF DELHI

### DELHI STATE INDUSTRIAL AND INFRASTRUCTURE DEVELOPMENT CORPORATION LIMITED

### NOTICE INVITING TENDER

Item rate tenders are invited on behalf of the Managing Director  DSIIDC from approved and Eligible contractors of C.P.W.D. and those of appropriate list of Department of  Telecommunications, M.E.S., Railways, D.D.A, N.D.M.C, M.C.D, I & F Deptt. (Delhi), DJB & Delhi State P.W.D., for the work of: Improvement and  RCC rehabilitation work for  SBV school at Bhola Nath Nagar No.2  (Babu Ram), Delhi.

The enlistment of the contractors should be valid on the last date of sale of tender.

  - The work is estimated to cost Rs. 5,260,562/-. This estimate, however, is given merely as a rough guide.

Criteria of eligibility for issue of Tender documents

  - The tender documents shall be issued to the eligible applicants on submission of self-attested photo copies of valid documents such as VAT registration EPF registration, enlistment with appropriate class & experience certificate as mentioned in para 1.3.

1.3      Condition for Contractors:-

|  | 1.3.1 | For works estimated to cost upto Rs. 10 crores | Three Similar works each costing not less than 40% of estimated cost or two works each costing not less than 50% of estimated cost or one work costing not less than 80% of estimated cost ( rounded off to nearest 10 lacs in the last 7 years ending last day of the month previous to the one in which the tenders are invited. |
| --- | --- | --- | --- |

For the purpose of this clause “similar works” means Building Construction work.

- Agreement shall be drawn with the successful tenderer on prescribed Form                          No.   D.S.I.I.D.C.  8 Tenderer shall quote his rates as per various terms and conditions given in the general conditions of contact DSIIDC which will form part of the agreement.

3

- The time allowed for carrying out the work will be Four Month from the third day after the date of written order to commence the work of or from the first day of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

- The site for the work is available.

- Receipt of applications for Sale of Tender document will be stopped by 1600 Hrs. two days before the date fixed for opening.  Issue of tender forms will be stopped one day before the date fixed for opening.

Tender documents consisting of plans, specifications, the schedule of quantities of the various classes of work to be done and the set of terms and conditions of contract to be complied with by the contractor whose tender may be accepted and other necessary documents can be seen in the office of  EE(CD)-XIV  DSIIDC T.C. Building, Wazirpur Delhi-52 between hours of 11.00 A.M. and 4.00 P.M. from 29.03.08 to 15.04.08             every day except on Sunday and public holidays. Tender documents, excluding standard form will be issued from the office of EE(CD)-XIV during the hours specified above on payment of the following.

a)	Rs. 1000/- in cash as cost of tender and

b)	Earnest Money of Rs.1,05,215/- Deposit at treasury challan/call receipt of a scheduled bank/ Fixed Deposit Receipt of a Scheduled Bank/Demand Draft of Scheduled Bank issued in favour of EE(CD)-XIV DSIIDC at the time of application of tender. When amount of earnest Money is more than 5 lacs, part of Earnest Money is acceptable in the form of bank guarantee also. In such case, minimum 50% of Earnest money or Rs. 20 lacs, whichever is less, will have to be deposited in shape prescribed above. For balance amount of Earnest Money, bank Guarantee will also be acceptable.

It should be ensured that the FDR is valid for a period of 6 months or more after last date of receipt of tenders and that it is pledged in favour of the tender inviting authority.

- Tenders placed in sealed envelope with the name of work and due date written on the envelopes, will be received by EE(CD)-XIV, TC Building Wazirpur, Delhi-52 upto 3 P.M. on 17.04.08 and will be opened by him or his authorised representative in the office of EE (CD-XIV) DSIIDC, Tech Centre Building, Wazirpur, Indl. Area, Delhi-52 at 3.30 on 17.04.08.

5

  - The tenderer whose tender is accepted will have to deposit 5% of the awarded amount as performance security in treasury challan/ Deposit at Call receipt of a Scheduled Bank / Fixed Deposit Receipt of a Scheduled Bank/ Demand Draft of Scheduled Bank issued in favour of DSIIDC Ltd.  Within 7 days of the issue/ acceptance of the intent letter. This period can be further extended for a maximum period of 3 days on written request of contractor.

  - Original copies of all the required documents along with completion certificate of similar works to prove their eligibility shall be produced at the time of issuing the tender documents.

- The description of the work is as follows:

NAME OF WORK:  Improvement and RCC rehabilitation work for SBV school      			          at Bhola Nath Nagar no.2 (Babu Ram), Delhi.

.

Copies of other drawings and documents pertaining to the works will be open for inspection by the tenderers at the office of the above-mentioned officer.

Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general, shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant etc. will be issued to him by the DSIIDC and local conditions and other factors having a bearing on the execution of the work.

7

- The competent authority on behalf of the D.S.I.I.D.C.. does not bind himself to accept the lowest or any other tender, and reserves to himself the authority to reject any or all the tenders received without the assignment of any reason. All tenders in which any of the prescribed conditions is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer, shall be summarily rejected.

The competent authority also reserves its right to allow to the Central Government public sector enterprises, joint venture with CPSE holding the 51% equity or more, a purchase preference with  reference to the lowest valid price bid where the quoted price is within 10% of such lowest price in a tender other things being equal in case of tenders/ quotations whose date of receipt is upto 31.3.2008 subject to the estimated cost being of Rs. Five crores and above.

The Public enterprises who avail benefits of the purchase preference should be subjected to adequate penalties for cost overruns etc.

- Canvassing, whether directly or indirectly, in connection with the tenders, is strictly prohibited and the tenders, submitted by the contractors, who resort to canvassing, will be liable to rejection.

- The competent authority on behalf of D.S.I.I.D.C. reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

- The contractor shall not be permitted to tender for works in the D.S.I.I.D.C.. Zone (responsible for award and execution of contract) in which his near relative is posted as J.A.O./A.A.O./A.O./Sr. A.O./C.A.O. or as an officer in any capacity between the grades of Chief Engineer and Junior Engineer (both inclusive) He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any gazetted officer in the D.S.I.I.D.C.. Ltd. Any breach  of this condition by the contractor would render him debar for further tendering in D.S.I.I.D.C..

- No Engineer of gazetted rank or other Gazetted Officer employed in Engineering or Administrative duties in an Engineering Department of the D.S.I.I.D.C.. Ltd. is allowed to work as a contractor for a period of two years after the date of his retirement from Government services, without previous permission of the M.D., D.S.I.I.D.C.. Ltd. in writing. The contract is liable to be cancelled if either the contractor or any of his employee is found any time to be such a person who had not obtained the permission of the D.S.I.I.D.C.. Ltd. as aforesaid before submission of the tender or engagement in the contractors services

- The Tender for the work shall remain open for acceptance for a period of 60 days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or issue of letter of acceptance, which ever is earlier or makes any modifications in the terms and conditions of the tender which are not acceptable to the department, then D.S.I.I.D.C.. shall, without prejudice to any other rights or remedy, be at liberty to forfeit 50% of the earnest money as aforesaid.

9

- This Notice Inviting Tender shall form a part of the contract document.  The successful tenderer/contractor, on acceptance of his tender by the Accepting Authority shall within 15 days from the stipulated date of start of the work sign the contract consisting of

a)	The notice inviting tender all the document including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

b)		Standard D.S.I.I.D.C. Form 8

- or composite tenders

    - The tenderer must associate with himself agencies of the appropriate class eligible to tender for the other components individually.

    - It will be obligatory on the part of the tenderer to sign the tender documents for all the components. (The schedule of quantities, conditions and special conditions etc.)

    - After the work is awarded, the contractor will have to enter into separate agreement for each component with the Officer concerned.

  - The Executive Engineer in charge of the major component will call tenders for the composite work. The cost of tender document and Earnest money will be fixed with respect to the combined estimated cost put to tender for the composite tender. Security deposit will be worked out separately for each component corresponding to the estimated cost of the respective component of works. The Earnest money will become part of the security deposit of the major component of work.

  - On acceptance of the composite tender by the competent authority the letter of award will be issued by the Executive Engineer in charge of the major component on behalf of MD, DSIIDC, making it clear in the letter of acceptance that the contractor will have to execute separate agreements for different components of work with concerned Ex. Engineer of the respective discipline (Designation to be given).

- If any tenderer submit false information and/or documents his EMD shall be forfeited and he will be debarred for future tendering in DSIIDC for a period of two years.

________________________

Signature of Divisional Officer/Sub Divisional Officer

For & on behalf of M.D. DSIIDC.

11

D.S.I.I.D.C.-8

GOVERNMENT OF DELHI

### DELHI STATE INDUSTRIAL AND INFRASTRUCTURE DEVELOPMENT CORPORATION LIMITED

STATE      -	DELHI					CIRCLE 	   - Dy.CE(W)

BRANCH  -	D.S.I.I.D.C.				DIVISION 	   -EE(CD)XIV

ZONE	      -	ENGG. DIVISION 			SUB DIVISION – AEE - IV

Item Rate Tender & Contract for Works

- Tender for the work of:

Name of Work: :  Improvement and  RCC rehabilitation work for  SBV school  		                 at Bhola Nath Nagar No.2  (Babu Ram), Delhi.

.

i) To be submitted by 3.00 P..M. hours on 17.04.08 in the office of EE(CD)XIV T.C. Building, Wazirpur Delhi.

ii) To be opened in presence of tenderers who may be present at 3.30 P.M. on 17.04.08               in the office of EE (CD)XIV. Tech Centre Building Wazirpur, Ind. Area, Delhi-52

Issued to  ___________________________________________________________

(Contractor)

Signature of officer issuing the documents_________________________________

Designation  : EE (CD) XIV

Date of Issue		__________________________

13

TENDER

- I/We have read and examined the notice inviting tender, schedule A,B,C,D,E & F, specifications applicable, Drawings and Designs, General Rules and Directions, Conditions of Contract, clauses of contract, Special conditions, Schedule of Rate & other documents and Rules referred to in  the conditions of contract and all other contents in the tender document for the work.

- I/We hereby tender for the execution of the work specified for the M.D., D.S.I.I.D.C.. within the time specified in Schedule ‘F’ viz., schedule of quantities and in accordance in all respect with the specifications, designs , drawings and instructions in writing referred to Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable.

- We agree to keep the tender open for sixty (60) days from the date of receipt of tender thereof and not to make any modifications in its terms and conditions.

- A sum of Rs. 1,05,215/- has been deposited with DSIIDC in Treasury Challan/ Deposited at call receipt of scheduled bank / Fixed deposit receipt of scheduled bank/ demand draft of a scheduled bank as earnest money. If I/We fail to furnish the prescribed performance guarantee within prescribed, period, I/We agree that the said M.D., D.S.I.I.D.C..  or his successors in office shall without prejudice to any other right or remedy,  be at liberty to forfeit the said earnest money absolutely. Further if/ I/We fails to commence the work as specified, I/We agree that M.D. DSIIDC or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and performance guarantee otherwise the said earnest money shall be retained by him towards security deposit/ to execute all the works referred to in the tender documents upon the terms and conditions contained on referred to there in and to carry out such deviations as may be ordered, upto the maximum of the percentage mentioned in schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provisions contained in clause 12.2 and 12.3 of the tender form. .

- I/We hereby declare that I/we shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived there  from to any person other than a person to whom I/we am/are authorised to communicate the same or use the information in any manner prejudicial to the safety of the State.

Dated:__________________				Signature of Contractor

Witness:						Postal Address

Address:

Occupation

15

ACCEPTANCE

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the M.D., D.S.I.I.D.C. for a sum of Rs…………………. (Rupees………………………………………………………………………………………..)

The letters referred to below shall form part of this contract Agreement:-

i)

ii)

iii)

For & on behalf of the M.D., D.S.I.I.D.C..

Signature…………………………………..

Designation ………………………………..

Dated:……………………………

17

SCHEDULES

SCHEDULE ‘A’

Schedule of quantities (Enclosed)    Page 31 to 66

SCHEDULE ‘B’

Schedule of materials to be issued to the contractor

| S.No. | Description of Item | Quantity | Rates in figures & words at which the materials will be charged to the contractor. | Place of Issue |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| Nil | Nil | Nil | Nil | Nil |

All material to be arrange by Contractor

19

SCHEDULE ‘C’

Tools and plants to be hired to the contractor

| S. No. | Description | Hire charges per day | Place of Issue |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

………………….Nil…………………..

SCHEDULE ‘D’

Extra schedule for specific requirements/documents for the work, if any

……….NIL……….

SCHEDULE ‘E’

Schedule of component of Cement, Steel, Other Materials, Labour etc. for price escalation.

CLAUSE 10 CC			Deleted

Component of Cement -				Xc

Expressed as percent of total value of work.		________________%

Component of Steel-					Xs

Expressed as percent of total value of work.		________________%

Component of civil (except cement & steel -		Xm

/Electrical construction Materials expressed 		________________%

As percent of total value of work.-

Component of Labour-				Y

Expressed as percent of total value of work.		________________%

Component of P.O.L.-					Z

Expressed as percent of total value of work.		________________%

21

SCHEDULE ‘F’

Reference to General Conditions of contract.

Name of Work: :  Improvement and  RCC rehabilitation work for  SBV school 		                 at Bhola Nath Nagar No.2  (Babu Ram), Delhi.

.

Estimated cost of work:	Rs.  52,60,562/-

Earnest money			Rs. 1,05,215/-

Performance Guarantee	5% of the tendered value

Security Deposit:		5% of tendered value

General Rules & Directions:

Officer inviting tender 	__________EE(CD)XIV_____________

Maximum percentage for quantity of

items of work to be executed beyond

which rates are to be determined in				See below

accordance with the clause 12.2 & 12.3

Definitions:-

2(i) Engineer-in-Charge 	__________EE(CD)XIV_____________

2(vii) Accepting Authority	__________Dy.CE(W)_____________

2(x) Percentage on cost of materials		10%

and labour to cover all overheads

and profits.

2(xi)  Standard Schedule of Rates 	DSR 2007 with upto date correction slips upto of opening of tender

2(xii) Department 			DSIIDC

2(xiii) Standard D.S.I.I.D.C. contract	 DSIIDC form 8 as modified &   Form corrected upto

date of opening of tender

23

Clause 1

(i)	Time allowed for submission of performance guarantee

from the date of issue of letter of acceptance                                     7 days

(ii)	Maximum allowable extension beyond the period

Provided in (i) above in days                                                             3 days

Clause 2

Authority for fixing compensation 		Dy.CE(W)____

under clause 2

Clause 2 A

Whether Clause 2 A shall be applicable	-	No

Clause 5

No. of Days from the date of issue of letter of commencement for Reckoning date of start –         third day

Table of Mile Stone (s)

| S.No. | Financial Progress | Time Allowed (from date of start) | Amount to be withheld in case of non-achievement of mile stone |
| --- | --- | --- | --- |
| 1. | 1/8 (of the whole work) | 1/4 (of the whole work) | In the event of not achieving of the necessary progress as assessed from the running payments, 1% of the tendered value of work will be with held for failure of each mile stone. |
| 2. | 3/8 (of the whole work) | ½ (of the whole work) |  |
| 3. | ¾ (of the whole work) | ¾ (of the whole work) |  |
| 4. | Full | Full |  |

Time allowed for execution of work 		_Four Months_______

Authority to give fair and reasonable		____Dy.CE(W)_______

extension of time for completion of work

Clause 7

Gross work to be done together with net	___Rs.10.00 Lacs

payment/adjustment of advances for

material collected, if any, since the last

such payment for being eligible to interim

payment.

Clause 10 cc

Clause 10cc to be applicable in contracts with stipulated

Period of completion exceeding the period shown in the next column.

18 months

25

Clause 11

Specification to be followed for execution of 	CPWD specification 1996

Work.							Vol. I to VI and revised CPWD

specification 2002 for cement

mortar, cement concrete & R.C.C. work in pursuance to I.S. 456-2000 with upto date 	correction slips up to date of opening of tender.

Clause 12

A)	Deviation Limit beyond which clause 	_______30%_____

12.2 & 12.3 shall apply for Building

works.

B)	Deviation limit beyond which clause 		________100%___

12.2 & 12.3 shall apply for foundation

works

Clause 16

Competent Authority for deciding reduced 	_____Dy. CE(W)___

rates

Clause 36 (i)

Requirement of Technical Representative(s) and Recovery Rate

| S.No. | Minimum Qualification of Technical Representative | Discipline | Designation (Principle Tech./ Technical representative | Minimum Experience | Number | Rate at which recovery shall be made from the Contractor in the event of not fulfilling provision of Clause 36 (i) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Figure Rs. | Words |
| 1. | Graduate | Civil | Principal Technical representative | 5 Years | One | 15,000 | Fifteen thousand |

27

Clause 42

i)(a) Schedules/statements for determining  		DSR 2007 with upto date

theoretical quantity of cement and 		correction slip up to date of

bitumen on the basis of Delhi Schedule 		opening the tender.

of Rates printed by C.P.W.D.

ii) Variations permissible on theoretical quantities

- Cement for works with estimated cost put to

tender not more than Rs.5.00 lakhs.                    3% plus/minus

For works with estimated cost put to

tender more than Rs.5.00 lakhs..                                        2% plus/minus

b) Bitumen for all works 				2.5% plus only.

& nil on minus side

c)  Steel Reinforcement and structural steel

section for each dia meter, section &

category  	                                                                    2% plus/minus

d) All other materials 					Nil

29

RECOVERY RATES FOR QUANTITIES BEYOND PERMISSIBLE VARIATION

| Sl. No. | Description of Items | Rate in figures and words at which recovery shall be made from the Contractor. Rates in schedule ‘B’ plus 10% in case material issued by department. |  |
| --- | --- | --- | --- |
|  |  | Excess beyond permissible variation | Less use beyond the permissible variation. |
| 1. | Cement OPC conforming to IS: 8112-1989, grade 43 in HDPE bags (shall be arranged by the contractors at his own cost at site store) | -- | Rs 9400 /- MT Rs 8000/- QTL Rs 8000/- QTL |
| 2. | Steel reinforcement | -- |  |
| 3. | Structural Sections |  |  |
| 4. | Bitumen (shall be arranged by the contractor) |  | NIL |
| 5. | Bitumen issued at stipulated fixed price |  | NIL |

31

| DELHI STATE INDUSTRIAL & INFRASTRUCTURE DEVELOPMENT CORPORATION LTD. TECHNICAL CENTRE BUILDING, WAZIRPUR INDUSTRIAL, AREA , DELHI-52 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NAME OF WORK: Improvement and RCC rehabilitation work for SBV school at Bhola Nath Nagar No.2 (Babu Ram), Delhi. |  |  |  |  |  |
| SHEDULE OF QUNATITY |  |  |  |  |  |
| S.No. | Description of Item | Quantity | Unit | Rate | Amount |
| 1 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets etc. upto floor five level, excluding the cost of centring, shuttering and finishing : |  |  |  |  |
|  | a) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 6.00 | cum |  |  |
|  |  | cum |  |  |  |
| 2 | Providing and laying in position cement concrete of specified grade excluding the cost of centring and shuttering - All work upto plinth level. |  |  |  |  |
|  | a) 1:5:10 (1 Cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) | 26.00 | cum |  |  |
|  |  | cum |  |  |  |
| 3 | Centering and shuttering including strutting, propping etc. and removal of formwork for: |  |  |  |  |
|  | ( a ) Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses, fillets etc. | 44.00 | cum |  |  |
|  |  | sqm |  |  |  |
| 4 | Providing, precast cement concrete Jali 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 6mm nominal size) reinforced with 1.6 mm dia mild steel wire including centring and shuttering, roughening cleaning, fixing and finishing in cement mortar 1:3 (1cement : 3 fine sand) etc complete , excluding plastering of jambs sills & soffits :; 50 mm thick | 12.00 | cum |  |  |
|  |  | sqm |  |  |  |
| 5 | Providing and fixing Sheet covering over expansion joints with iron screws as per design to match the colour/shade of wall treatment |  |  |  |  |
|  | I)Aluminium fluted strips 3.15mm thick -150mm wide | 29.00 | m |  |  |
|  |  | m |  |  |  |
| 6 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete work including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement. including Admixtures in recommended proportions as per IS 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge. M-25 grade reinforced cement concrete by using 410kg. of cement per cum of concrete. All work up to floor V level. | 129.00 | cum |  |  |
|  |  | cum |  |  |  |
| 7 | Centring and shuttering including strutting, propping etc. and removal of form for: |  |  |  |  |
|  | a) Suspended floors, roofs, landings, balconies and access platform. | 719.00 | sqm |  |  |
|  |  | sqm |  |  |  |
|  | b) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 124.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 8 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete. |  |  |  |  |
|  | a) Cold twisted bars | 15474.00 | kg |  |  |
|  |  | kg |  |  |  |
|  | b) Hard drawn steel wire | 2378.00 | kg |  |  |
|  |  | kg |  |  |  |
|  | (c) Cold twisted bars with rust protective coatings. Two coat of IP-NET-RB on surface after cleaning of bars @ 14 Litre / Tonne of bars. | 930.00 | Kg |  |  |
|  |  | Kg |  |  |  |
| 9 | Brick work with F.P.S bricks of class designation 75 in superstructure above plinth level upto floor five level in : |  |  |  |  |
|  | a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 51.00 | cum |  |  |
|  |  | cum |  |  |  |
| 10 | Providing and fixing 1 mm thick M.S. sheet door with frame of 40 X 40 X 6 mm angle iron, 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. |  |  |  |  |
|  | a) Using M.S. angels 30 X 6 mm for diagonal braces and central cross piece | 5.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 11 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded with 15 X 3 mm lugs 10 cm long embedded in cement concrete blocks 15 X 10 X 10 cm of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) or with wooden plugs and screws or rawl plugs or with dash fastner or with fixing clips or with bolts and nuts as require including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | 260.00 | kg |  |  |
|  |  | kg |  |  |  |
| 12 | Providing and fixing ISI marked flush door shutters conforming to IS 2202 ( Part -1) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters : |  |  |  |  |
|  | a) 35 mm thick including ISI marked Stainless steel butt hinges with necessary screws | 32.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 13 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc., complete : |  |  |  |  |
|  | a) 250 X 16 mm | 14.00 | each |  |  |
|  |  | nos |  |  |  |
| 14 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : |  |  |  |  |
|  | a) 250 X 10 mm | 14.00 | each |  |  |
|  |  | nos |  |  |  |
|  | b) 200 X 10 mm | 14.00 | each |  |  |
|  |  | nos |  |  |  |
| 15 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS : 4992 with necessary screws etc. complete : |  |  |  |  |
|  | a) 125 mm | 28.00 | each |  |  |
|  |  | nos |  |  |  |
| 16 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1:4 (1 cement : 4 coarse sand) : |  |  |  |  |
|  | a) 25 mm thick | 860.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 17 | Kota stone slabs 25 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement : 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 77.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 18 | Extra for prefinished nosing in treads of steps of kota stone slab/sand stone slab. | 260.00 | m |  |  |
|  |  | m |  |  |  |
| 19 | Making khurras 45 X 45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1mx1mx400 micron, finished with 12 mm cement plaster 1:3 (1 cement :3 coarse sand) and a coat of neat cement rounding the edges and making and finishing the outlet complete | 16.00 | each |  |  |
|  |  | nos. |  |  |  |
| 20 | 12 mm cement plaster of mix : |  |  |  |  |
|  | a) 1:6(1 cement : 6 fine sand) | 513.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 21 | 15 mm cement plaster on the rough side of single or half brick wall of mix : |  |  |  |  |
|  | a) 1:6 (1 cement : 6 fine sand) | 1540.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 22 | 6 mm cement plaster of mix : |  |  |  |  |
|  | a)1:3 (1 cement : 3 fine sand) | 780.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 23 | White washing with lime to give an even shade : |  |  |  |  |
|  | a)New work (three or more coats) | 1585.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 24 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade |  |  |  |  |
|  | a) New work (two or more coats) over and including priming coat with cement primer | 1578.00 sqm | sqm |  |  |
| 25 | Finishing walls with water proofing cement paint of required shade : |  |  |  |  |
|  | a) New work (Two or more coats applied @ 3.84 kg/10 sqm) | 512.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 26 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  |  |  |
|  | a) Two or more coats on new work. | 1350.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 27 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. metres and under including cutting the patch in proper shape and preparing and plastering the surface of the walls complete including disposal of rubbish to the dumping ground within 50 metres lead : |  |  |  |  |
|  | a) With cement mortar 1:4 (1 cement : 4 fine sand) | 460.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 28 | Renewing glass panes, with putty and nails wherever necessary : |  |  |  |  |
|  | a) Float Glass panes of thickness 4mm | 135.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 29 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 346.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 30 | Propping and supporting the structural members and its adjoining areas with steel props or alike ( adjustable or otherwise). Bracing steel/ timber runners etc. to relive the structural member of the total load coming over it as per pattern given by the contractor and approved by Engineer in Charge complete. a) Slab, wall, Beams, columns and domes etc. ( Only repaired areas of Slab bottoms, External face of wall, Beams and External face of domes) |  |  |  |  |
|  | (A)Chipping of unsound / weak concrete materials from slab, beams, walls, domes etc. as with power driven ( HILTI- TE- 504 or pneumatic chisel ) as directed by Engineer in charge up to 50mm average depth including tapering all edges, making square shoulders of cavities etc. complete. |  |  |  |  |
|  | (B)Cleaning exposed concrete surface of loose and foreign materials by means of sand blasting with coarse sand followed by and including cleaning with oil free air blast up to a height of 25metre above plinth level including steel scaffolding with working plate form as per design and pattern given by contractor and approved by Engineer in Charge. |  |  |  |  |
|  | (C) Drilling holes in Reinforced /plain concrete, providing and inserting epoxy dipped mild steel shear key bars in parent concrete of required length and diameter etc. complete as per drawing and specification and direction of Engineer in Charge. 12mm dia shear key @ 3nos / sqm (minimum) |  |  |  |  |
|  | (D)Cleaning Reinforcement of concrete and rust all round including removing concrete from behind the reinforcing bars with power driven ( HILTI-TI-15C or equivalent ) or pneumatic chisel to give an average 25mm but not less than 15mm clear air gap by hammering the rebar, using the wire brushes, chiseling etc. |  |  |  |  |
|  | (E)Application of Alkaline rust remover on rusted reinforcement such as rusticide SS ( manufactured by M/S Sunanda Chemical or equivalent ) with paint brush and removing loose particle after 24 hours of its application with wire brush and applying priming coats of acrylic polymer and cement in ratio 1:1.5 in two coats at an interval of least 4 hours and applying bonding coat of approved epoxy adhesive 1.50kg/sqm on the cleaned surface of RCC and all complete as per directions of the Engineer in charge. |  |  |  |  |
|  | (F)Shortcreting in layers with quality cement concrete having a minimum characteristic compressive strength 20N/sqm at 28 days using not less that 400 kg ordinary Portland cement per cum of manufactured shortcrete, coarse sand and graded stone aggregate of 10mm maximum size in appropriate proportion as per specified design criteria or as per IS :9012 criteria approved by Engineer in Charge to RCC column, beams, slab, dome etc. with average thickness of 50mm including centering and shuttering at edges and corners etc. as directed by Engineer in Charge up to a height of 25metre above plinth level. |  |  |  |  |
|  | (The rates shall includes providing ground wires/ levelling gauges which shall be fixed / applied at least one day, before applying shortcrete at an average interval of 1mx1m or as may be approved as per specifications or as specified in IS : 9012 ( mode of measurement will be finished surface) The cost of Hard drawn wire fabric and CTD Bar shall be paid extra | 424.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 31 | Supplying and applying bonding coat of approved epoxy adhesive FOSROC- Neto Bond-EP (Hardener+ Rasin), or Tapeceret equivalent as per specification and as per direction of Engineer in Charge. (payment of this item shall be made on the basis of actual consumption of total weight of epoxy resin and hardener) | 318.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 32 | Dismantling, damaged concrete from all round the rusted / corroded reinforced bars, cleaning the rust from reinforcement with the help of wire brush, jute cloth & providing and fixing rabbit wire mesh to the ceiling with " U " clips and wires applying a coat of cement slurry @ 2.2 kg/sqm on the ceiling and plastering the surface smooth in two layers. The under layer shall be consists of 15mm thick cement plaster 1:4 ( 1cement : 4 coarse sand ) furrowing the under layer with scratching tool & furrowing shall be done diagonally both ways and shall be about 2 mm deep. The scratched lines shall be not more than 10mm apart. |  |  |  |  |
|  | Applying the cement slurry on the under layer @ 2.2 kg/sqm & top layer 15mm cement plaster 1:4 (1cement : 4 coarse sand ). The top layer should be applied with in one or two days of application of first layer. After one day of application of top layer, curing shall be applied for 7 days, all complete as per direction of Engineer in Charge. | 125.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 33 | Demolishing cement concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of engineer in charge |  |  |  |  |
|  | a) 1:3:6 or richer mix | 43.00 | cum |  |  |
|  |  | cum |  |  |  |
| 34 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of engineer in charge |  |  |  |  |
|  | a) In cement mortar | 62.00 | cum |  |  |
|  |  | cum |  |  |  |
| 35 | Demolishing R.C.C. work manually/by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of engineer in charge | 138.00 cum. | cum |  |  |
| 36 | Extra for cutting reinforcement bars in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of engineer in charge | 57.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 37 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2053.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 38 | Demolishing brick tile covering in terracing including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 40.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 39 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead | 183.00 | cum |  |  |
|  |  | cum |  |  |  |
| 40 | Making the opening in brick masonry including dismantling, in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete to match the existing surface i/c disposal of malba/rubbish to the nearest municipal dumping ground : |  |  |  |  |
|  | a) For door/window/clerestory windows | 12.00 | Each |  |  |
|  |  | nos |  |  |  |
| 41 | Carriage of building rubbish by mechanical transport including loading, unloading and stacking with all lifts and lead upto dumping ground. | 318.00 | cum |  |  |
|  |  | cum |  |  |  |
| 42 | Carriage of building rubbish , lime, manure manually from third floor terrace to ground floor by manual labour through stairs including T&P all complete | 318.00 | cum |  |  |
|  |  | cum |  |  |  |
| 43 | Credit for serviceable dismantled material demolished from various items |  |  |  |  |
|  | a) Reinforcement bars | 6902.00 | kg |  |  |
|  |  | kg |  |  |  |
| 44 | Extra for Renewing glass panes using the wired Glass panes4mm thick in place of Glass panes weighing 10 kg/sqm. | 135.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 45 | Providing and fixing ceramic steal chalk writing board in green colour as per following specifications and directions of engineer incharge |  |  |  |  |
|  | a) The writing top surface shall be made of CRC steel sheet of thickness 0.3 to 0.4 mm and shall have vitreous enamel coating of minimum 95 microns thickness on top and 35 microns thickness on the back. |  |  |  |  |
|  | b) The board shall have approved PVC corners and round framing of anodized extruded aluminium alloy hollow section designation 63400 as per IS: 1285/1975 or IS 733/1983. The frame section shall be front-20mm,side 16mm and wall thickness 1.2mm. |  |  |  |  |
|  | c) The core material shall be 9mm thick MDF board having bulk density 750kg/m3 and grade- I as per IS 12406/88. |  |  |  |  |
|  | d) The backing material sheet shall be minimum 0.25mm thick electro galvanized steel sheet confirming to IS 277-92 properly fixed with suitable adhesive. |  |  |  |  |
|  | 1200 x 2400 mm size. | 35.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 46 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations. |  |  |  |  |
|  | a) Applying and grouting a slurry coat of neat cement using 2.75 kg/sqm. Of cement admixed with waterproofing compound conforming to IS. 2645 & approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment. |  |  |  |  |
|  | b) Laying brick bats using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 & approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 & approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. |  |  |  |  |
|  | c) After two days of proper curing applying a second coat of cement slurry using 2.75Kg/sqm of cement admixed with water proofing compound conforming to IS : 2645 & approved by Engineer-in-charge. |  |  |  |  |
|  | d) Finishing the surface with 20 mm thick joint less cement mortar of mix 1:4 (1 cement : 4 coarse sand) admixed with water proofing compound conforming to IS : 2645 & approved by Engineer-in-charge including laying glass fiber cloth of approved quality in top and finally finishing the surface with trowel with neat cement slurry and making pattern of 300 X 300 mm square,3mm deep. |  |  |  |  |
|  | The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge. |  |  |  |  |
|  | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 923.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 47 | Painting one thin coat with white lead of approved brand and manufacture on wet or patchy portion of plastered surfaces | 1198.00 | sqm |  |  |
|  |  | sqm |  |  |  |
| 48 | Providing and fixing soil , waste and vent pipe: |  |  |  |  |
|  | 100 mm dia |  |  |  |  |
|  | a) Sand cast iron S&S pipe as per IS:1729 | 180.00 Meter | metre |  |  |
| 49 | Providing and fixing M.S. holder - bat clamps of approved design to Sand Cast Iron / Cast Iron (spun) pipe embedded in and including cement concrete blocks 10 x 10 x 10 cm of 1: 2 : 4 mix ( 1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including cost of cutting holes and making good the walls etc. |  |  |  |  |
|  | For 100 mm dia pipe | 72.00 | Each |  |  |
|  |  | nos |  |  |  |
| 50 | Providing and fixing plain bend of required degree. |  |  |  |  |
|  | 100 mm |  |  |  |  |
|  | a) Sand cast iron S&S as per IS 1729 | 12.00 | Each |  |  |
|  |  | nos |  |  |  |
| 51 | Providing and fixing heel rest sanitary bend . |  |  |  |  |
|  | 100 mm dia |  |  |  |  |
|  | a)Sand cast iron S&S as per IS-1729 | 12.00 | Each |  |  |
|  |  | nos |  |  |  |
| 52 | Providing and fixing tank nipples of following sizes in polyurethelene water storage tanks |  |  |  |  |
|  | FOR 1000 LITRE TANK |  |  |  |  |
|  | a) 20 mm dia inlet | 3.00 | Each |  |  |
|  |  | nos |  |  |  |
|  | b) 25 mm dia overflow | 3.00 | Each |  |  |
|  |  | nos |  |  |  |
|  | c) 40mm dia outlet | 3.00 | Each |  |  |
|  |  | nos |  |  |  |
| 53 | Providing, hoisting (upto 18 m height) and fixing ISI marked SMC panel tanks of following tanks and sizes, complete with lockable manhole cover over, air vent, required inlet and outlet connections, scour and overflow etc, The vent shall be provided with mosquito proof wire mesh couplings. The tank shall be assembled at site using proprietary nuts and bolts, rubber sealant all as per manufacturer’s directions and by the manufacturer’s trained labour. |  |  |  |  |
|  | a) 6000 litres capacity (Size: 3MX2MX1M) | 1.00 | Each |  |  |
|  |  | nos |  |  |  |
|  | b) 8000 litres capacity (Size: 4MX2MX1M) | 1.00 | Each |  |  |
|  |  | nos |  |  |  |
| 54 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains ( not exceeding 1.5m in width or 10sqm on plan) including dressing of sides and ramming of bottoms, lift up to 1.5m, includong getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  |  |  |
|  | a) all kinds of soil | 85.00 | cum |  |  |
|  |  | cum |  |  |  |
| 55 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth including consolidating each deposited layer by ramming, watering, etc., and disposing of surplus excavated soil as directed, within a lead of 50m | 313.00 | Metre |  |  |
|  | a) All kinds of soil | metre |  |  |  |
|  | Pipes, cables etc exceeding 80mm dia. But not exceeding 300mm dia. |  |  |  |  |
| 56 | Providing, laying and jointing glazed stoneware pipes grade ‘A’ with stiff mixture of cement mortar in the proportion of 1:1 (1 cement: 1 fine sand) including testing of joints etc. complete. |  |  |  |  |
|  | a) 100 mm diameter | 10.00 | Metre |  |  |
|  |  | Metre |  |  |  |
|  | b) 150 mm diameter | 15.00 | Metre |  |  |
|  |  | Metre |  |  |  |
| 57 | Providing and laying cement concrete 1:5:10 (1 cement: 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) alround S.W. pipes including bed concrete as per standard design. |  |  |  |  |
|  | a) 100 mm diameter S.W. Pipe | 10.00 | Metre |  |  |
|  |  | Metre |  |  |  |
|  | b) 150 mm diameter S.W. Pipe | 15.00 | Metre |  |  |
|  |  | Metre |  |  |  |
| 58 | Providing & fixing square - mouth S.W. gully trap grade 'A' complete with C.I grating brick masonry chamber with water tight C.I. Cover with frame of 300 x 300mm size ( inside ) the weight of cover to be not less than 4.50kg & frame to be not less than 2.70 kg as per standard design. |  |  |  |  |
|  | a) 100 x 100 mm size P type with FPS bricks of class designation 75 | 6.00 | Each |  |  |
|  |  | nos |  |  |  |
| 59 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement: 2 fine sand) including testing of joints etc. complete. |  |  |  |  |
|  | b) 250 mm dia R.C.C. Pipe | 198.00 | Metre |  |  |
|  |  | Metre |  |  |  |
|  | c) 300 mm dia RCC pipe | 90.00 | Metre |  |  |
|  |  | Metre |  |  |  |
| 60 | Constructing brick masonry manhole in cement mortar 1:4 (1 cement: 4 coarse sand) R.C.C. top slab with 1:2:4 mix (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:4:8 mix (1 cement: 4 coarse sand: 8 graded stone aggregate 40 mm nominal size) inside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement as per standard design. |  |  |  |  |
|  | 1. Inside size 90 x 80 cm and 45 cm deep including C.I. cover with frame (light duty) 455 x 610 mm internal dimensions total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg). | 7.00 nos |  |  |  |
|  | a) With FPS bricks of class designation 75 |  | Each |  |  |
| 61 | Extra for depth for manholes |  |  |  |  |
|  | a) Size 90x80 mm With F.PS bricks of class designation 75 | 2.00 Metre | Metre |  |  |
| 62 | Constructing brick masonry circular type manhole 0.91m internal dia at bottom and 0.56m dia at top in cement mortar 1:4 (1 cement : 4 coarse sand) in side cement plaster 12mm thick with cement mortar 1:3 (1 cement : 3 coarse sand)finished with a floating coat of neat cement, foundation concrete 1:3:6 mix (1 cement :3 coarse sand : 6 graded stone aggregate 40 mm nominal size) and making necessary channel, in cement concrete 1:2:4 (1 cement :2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement as per standard design. |  |  |  |  |
|  | 1).0.91 m deep with S.F.R.C. cover and frame (heavy duty, HD-20 grade designation ) 560 mm internal diameter conforming to I.S. 12592,total weight of cover and frame to be not less than 182 kg,, fixed in cement concrete 1:2:4 (1 cement : 2 coarse sand:4 graded stone aggregate 20mm nominal size ) including centering shuttering all complete. (Excavation, foot rests and 12mm thick cement plaster at the external surface shall be paid for separately ) |  |  |  |  |
|  | a) With F.P.S. bricks class designation 75 | 15.00 | each |  |  |
|  |  | nos |  |  |  |
| 63 | Extra depth for circular type manhole 0.91m internal dia (at bottom ) with beyond 0.91m to 1.67m |  |  |  |  |
|  | a) With F.P.S. bricks class designation 75 | 3.00 | each |  |  |
|  |  | nos |  |  |  |
| 64 | Providing orange colour safety foot rest of minimum 6mm thick plastic encapsulated as per IS : 10910 on 12mm dia steel bar conforming to IS : 1786 having minimum cross section as 23mm x 25mm and over all minimum length 263mm and width as 165mm with minimum 112mm space between protruded legs having 2mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1cement :3 coarse sand :6 graded stone aggregate 20 mm nominal size ) complete as per design. | 45.00 | each |  |  |
|  |  | nos |  |  |  |
| 65 | Dismantling of manhole including R.C.C. top slab, C.I. Cover with frame including stacking of useful materials near the site and disposal of unserviceable materials into municipal dumps within 50 m lead : |  |  |  |  |
|  | a) Rectangular manhole 90x80 cm and 45 cm deep | 7.00 nos. | each |  |  |
| 66 | Constructing brick masonry road gully chamber 50 x 45 x 60 cm with bricks of class designation 75 in cement mortar 1:4 ( 1 cement : 4 coarse sand ) including 500 X 450 mm precast R.C.C. horizontal grating with frame complete as per standard design: |  |  |  |  |
|  | With F.P.S. bricks | 10.00 nos | each |  |  |

CONTRACTOR                                                                                                                                                                                       EE(CD)-XIV

# 67

# GENERAL SPECIFICATIONS AND GENERAL CONDITIONS

- The entire works shall be done as per CPWD specifications for Delhi 1996 Vol. I to VI and revised CPWD specification 2002 for cement mortar, cement concrete & R.C.C. Work in pursuance to I.S. 456-2000 with upto date correction slips upto the date of receipt of tender if the specifications for any item are not available in the CPWD specification referred above relevant ISI specifications shall be followed. In case, ISI specifications are also not available, the decision of the Engineer-in-charge, given in writing shall be final

- Whenever any reference to any Indian standard specifications occurs in the document relating to this contract the same shall be inclusive of all the amendments issued there to or revisions there if any upto the date of receipt of tenders.

- The work shall be carried out in the manner complying in all respects with requirement of relevant bye-laws or the local bodies under the jurisdiction of which the entire work is to be executed or as directed by the Engineer-in-charge and nothing extra will be paid on this account.

- The contractor shall carry out performance tests of entire installation as per standard specifications before the work is finally accepted and nothing extra whatsoever shall be payable to the contractor for the tests.

- The contractor shall be responsible to arrange at his own cost all necessary T&P required for the execution of work.

- The contractor shall make his own arrangement for temporary water and electric connections if required and make necessary payment for it direct to the departments concerned.

- The contractor shall deemed to have fully acquainted himself with the nature and extent of the work and working conditions at site before submitting the tender. The work shall be executed as per preference approved by Engineer-in-charge. If the materials drawing, designs etc. are not available due to any conditions the program of the contractors shall be modified accordingly and no compensations/damages shall be payable.

69

- The contractor shall take all precautions by exhibiting necessary caution boards, red flags, red lights, and barriers to avoid any accident during execution of work. The contractor shall be responsible for all damages and accident due to negligence on his part.

- No payment will be made to the contractor for damages caused by rains or other natural calamities or riots during execution of the work and no claims on this account will be entertained.

- The rates of all items of work shall, unless clearly specified otherwise, are including cost of all labour, material and other inputs involved in the execution of the item.

- The contractor shall make all efforts to mechanize the construction work to maximum possible extent by using the latest T&P/machinery and equipment etc. He shall use steel scaffolding and shuttering whenever; this is not possible the other type of shuttering used shall be of proper size and shape. Similarly, scaffolding other than steel shall be as per the site requirement and approval of Engineer-in-charge. The contractor with relation to site requirement shall arrange the adequate quality of shuttering and scaffolding. No time lag on this account shall be allowed. All safety arrangement is to be taken care of by the contractor to avoid any accident in the use of shuttering and scaffolding etc.

- The time of completion shall be essence of the contract and to be strictly adhered to by the contractor. No time and cost over-run shall be allowed including interruption due to rains or otherwise.

- The contractor should make necessary arrangement for round the clock working including working on Sundays and holidays except National holidays. The planning should be done accordingly.

- All arrangement for required power and electricity is to be done by the contractor. The payment for electric connection and consumption etc. to be borne by the contractor.

- The contractor shall make his own arrangement for water at his own cost required for construction and drinking purpose.

71

- The contractor shall provide at his own cost all the instruments including surveying etc. required for the purpose of checking at the site of work.

- The various items of the work shall be taken simultaneously wherever possible to speed up the work. Nothing extra shall be paid on this account.

- The contractor shall make arrangement for sufficient quantity of all the building materials required for construction of work including cement, steel window frames etc. confirming to required/related specifications.

- Proper labour hutments with all required civic amenities as per norms shall be constructed / arranged by the contractor at site and he has to remove all the hutments at completion of work.

- The contractor shall make necessary arrangement for medical aid to all his workers including availability of first-aid-box all the time at the site of work.

- The contractor shall maintain in good conditions all work during execution till completion of entire work allotted to him.

- The rates of different items of work shall apply for all heights and depths unless otherwise specified and no such claims on this account shall be entertained.

- Tenders with any conditions including that of conditional/unconditional rebate shall be rejected forthwith.

- Nothing extra whatsoever shall be payable to the contractor for executing the work as per general specifications and special conditions referred in all the above paras.

- Payment of 1% cess to the labour deptt. as per “Building & other construction workers welfare Act 1996” shall be borne by the contractor.

- The design and drawing may be revised at any time during execution of work by competent authority and no claim will be entertained on this account.

73

- The contractor shall submit BAR CHART / PERT CHART before start of work for various activities of site.

- Even ISI marked material may be subjected to the quality test at the discretion of the Engineer-in-charge.  Whenever ISI marked materials are brought to the site of work the contractor shall, if required by the Engineer-in-charge, furnish manufacturers test certificate or test certificate from approved lab, conforming to the provision of relevant IS Codes.  However cement / steel will be necessarily tested.

- The contractor who has purchased the tender must submit his tender.  For deliberate and intentional attempts not to submit tenders, action would be proposed against such contractor.

- During the progress and/or Completion of work, the third party technical audit for quality shall be conducted by M/S IL&FS-ETS and/or Associates and the Contractor shall be bound to comply with the observations without any demur to the Contract Conditions.

75

Conditions for cement.

I.	The contactor shall procure 43 grade (conforming to IS 8112) ordinary Portland cement as required in the work, from reputed manufactures of cement, having a production capacity of one million tonnes more per annum, such as ACC, L&T, J.P. Rewa, Vikram, Shree Cement, Birla Jute & Cement corporation of India etc. as approved by Ministry of Industry, Government of India, and holding licence to use ISI certification mark for their product whose name shall be got approved from Engineer-in-charge. Supply of cement shall be taken in 50kg. bags bearing / manufacturer’s  name and ISI marking. Samples of cement arranged by the contractor shall be taken by the Engineer-in-charge and got tested in accordance with provisions of relevant BIS Codes. In Case test results indicate that the cement arranged by the contractor does not conform to the relevant BIS codes, the same shall stand rejected and shall be removed from the site by the contactor at his own cost within a week’s time of written order from the Engineer-in-charge to do so.

II.	The cement shall be brought at site in bulk supply of approximately 50 tonnes or as decided by the Engineer-in-charge.

III.	The cement godown shall be constructed by the contactor at site of work for which no extra payment shall be made.

77

Double lock provision shall be made to the door of the cement godown. The keys of one lock shall remain with the Engineer-in-charge or his authorized representative and the keys of the other lock shall remain with the contactor. The contractor shall be responsible for the watch and ward and safety of the cement godown. The contactor shall facilitate in inspection of cement godown by the Engineer-in-charge at any time.

IV.	The cement shall be got tested by Engineer-in-Charge and shall be used on work only, after satisfactory test results have been received. The contactor shall supply free of charge the cement required for testing. The cost of tests shall be borne by the contactor. Nothing extra shall be payable on this account.

(V)	The actual issue and consumption of cement on work shall be regulated and proper accounts maintained as provided in clause 10 of the contract. The theoretical consumption of cement shall be worked about as per procedure prescribed in clause 42 of the contract and shall be governed by conditions laid therein.

(VI)	Cement brought to site and cement remaining unused after completion of work shall not be removed from site without written permission of the Engineer-in-charge.

79

(VII)	Damaged cement shall be removed from site immediately by the contractor on receipt of a notice in writing from the Engineer-in-charge. If he does not do so within three days of the receipt of notice, the Engineer-in-charge shall got it removed at the cost of the contractor.

81

Conditions for steel

(i)	The contactor shall procure steel reinforcement bars conforming to relevant BIS codes from main producers as approved by ministry of steel and secondary producers or re-rollers having valid B.I.S. licence. For TMT bars conforming to relevant BIS code, procurement shall be made from main producers and secondary producers having valid BIS licence. The contractor shall have to obtain and furnish test certificates to the Engineer-in-Charge in respect of all suppliers of steel brought by him to the site of worked samples shall also be taken and got tested by the Engineer-in-charge as per the provisions in this regard in relevant BIS codes. In case the test results indicate that the steel arranged by the contractor does not conform to BIS code, the same shall stand rejected and shall be removed from the site of work by the contactor at his cost within orders from the Engineer-in-charge to do so.

(ii)	The steel reinforcement shall be brought to the site in bulk supply of 10 tonnes or more or as decided by the Engineer-in-charge.

(iii)	The steel reinforcement shall be stored by the contractor at site of work in such a way as to prevent distortion and corrosion and nothing extra shall be paid on this accounts. Bars of different sizes and lengths shall be stored separately to facilitate easy counting and checking.

(iv)	For checking nominal mass, tensile strength, bend test, rebend test etc. specimen of sufficient length shall be cut

83

From each size of the bar at  random at frequency not less than that specified below:

Size of Bar	   For consignment below	    For consignment above

100 tonnes	              100 tonnes

Under 10mm dia	   One sample for each 25	      One sample for each 40

tonnes or part thereof	       tonnes or part thereof

10mm to 16mm	    One sample for each 35	      One sample for each 45

dia	     tonnes or part thereof	        tonnes or part thereof

Over 16mm dia	    One sample for each 45	       One sample for each 50

tonnes or part thereof	        tonnes or part thereof

(v)	The contractor shall supply free of charge the steel required for testing. The cost of tests shall be borne by the contactor.  Nothing shall be payable on this account.

(vi)	The actual issue and consumption of steel on work shall be regulated and proper accounts maintained as provided in clause 10 of the contract. The theoretical consumption of steel shall be worked out as per procedure prescribed in clause 42 of the contract and shall be governed by condition laid therein.

(vii)	Steel brought to site and steel remaining unused shall not removed from site without the written permission the Engineer-in-charge.

85

IMPORTANT INSTRUCTIONS FOR TENDERERS

- Tender document issued by DSIIDC duly completed, filled and signed by the tenderer shall be submitted in sealed envelope duly super scribed the name of work on it.

- After verification if it is found that the tenderer submit false information and/ or documents, his Earnest Money Deposit shall be forfeited and he shall also be black-listed/ debarred by the corporation for future tendering for 2 years.

- The Managing Director, DSIIDC reserves the right to reject any/ all tender without assigning any reason and can award the work to more than one tenderer.

- The contractor has to quote the rates for each item in words as well as in figures too.

EE(CD)-XIV

87

DECLARATION BY THE TENDERER

1.	“I hereby accept all the terms and conditions of the tender”

2.	It is certified that we have not been blacklisted by any of the departments registration of which is valid in DSIIDC.

(Signature of Tenderer)

89

CONFIRMATION

I/We confirm that the General Specifications and general conditions appended in the tender documents have been fully examined and fully cognizance taken thereof in arriving at the item unit prices and total amount and tendered sums contained therein my/our tender.

Signature of Tenderer