CPWD-6

fnYyh ljdkj  GOVERNMENT OF DELHI

yksd fuekZ.k foHkkx   PUBLIC WORKS DEPARTMENT

fufonk vkea=.k @ NOTICE INVITING TENDER

- Hkkjr ds jk"Vªifr dh vksj ls fuEufyf[kr dk;Z ds fy, dsUnzh; yksd fuekZ.k foHkkx ds vuqeksfnr ,ao ik= Bsdsnkjksa rFkk mu Bsdsnkjks ls tks nwjlapkj foHkkx ,e- bZ- ,l- jsyost rFkk-------------------------------------------------------------------------------------------------------------------------------------------------------------------- jkT; yksd fuekZ.k foHkkx dh leqfpr  lwph esa gS] izfr’kr nj @ en nj fufonk,a vkeaf=r dh tkrh gSA

Percentage rate tenders are invited on behalf of the President of India from approved and eligible contractors of CPWD  for the work of  : Renovation of toilet at I.T.I. Khichripur, Delhi.

  - dk;Z dh vuqekfur ykxr #- ------------------------------ gSA rFkkfi] ;g vuqekfur ykxr eksVs rkSj ij ,d ekxZ funsZ’k ek= gSA

The work is estimated to Cost Rs. 3,06,670/- This estimate, however, is given merely as a rough guide.

    - fefJr ykxr okyh fufonk vkea=.k lwpuk dks vuqeksfnr djus okyk rFkk eq[; fMflIysu dk l{ke izkf/kdkjh] fufonk, eaxokus ds fy, fufonk vkea=.k lwpuk dk lesdu djsxk vkSj og ml eaMy dks Hkh ukfer djsxk tks fufonk, vkea=.k djus ls lacf/kr lHkh ekeys dks Mhy djsxkA

The authority competent to approve NIT for the combined cost and belonging to the major discipline will consolidate NITs for calling the tenders. He will also nominate division which will deal with all matters relating to the invitation of tenders.

fefJr fufonk ds fefJr vuqeku dh ykxr dks n’kkZus ds lkFk&lkFk izR;sd ?kVd dh vyx&vyx vuqekfur ykxr dk mYys[k Hkh fd;k tk,A fufonknkrk dh ik=rk] fofHkUu ?kVdks dh ykxr dks feykdj fefJr vuqekfur ykxr ds vuq#Ik gksxhA

For Composite tender, besides indicating the combined estimated cost put to tender, should clearly indicate the estimated cost of each component separately. The eligibility of tenderer will correspond to the combined estimated cost of different components put to tender.

2	LkQy fufonkdkjksa ds lkFk] fu/kkZfjr izi= la- ds-yks-fu-fo- 7 ij tks fd Hkkjr ljdkj ds izdk’ku ds :Ik esa miyC/k gSa] djkj fd;k tk,xk] fufonkdkj mDr izi= ds fofHkUu fuca/ku ,ao 'krksZ ds vuqlkj viuh njsa crk,xkA

Agreement shall be drawn with the successful tenderer on prescribed Form No. CPWD 7, which is available as a Govt. of India Publication. Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

3	fuekZ.k dk;Z iwjk djus ds fy, vuqeR; le;  ----------- eghuk dk;Z izkjaHk djus ds fyf[kr vkns’k dh frfFk ds ckn nlosa fnu fnu ls vFkok fufonk dkxtkr esa lwfpr pj.kksa ;fn dksbZ gks] ds vuqlkj] dk;ZLFky lkSis tkus ds izFke fnu ls tks Hkh ckn esa gks gksxkA

The time allowed for carrying out the work will be Two Months  from the 22 days after the date of issue of letter of acceptance of tender or from the first day of handing over of the site, whichever is later, in accordance with the phasing, if any, indicated in the tender documents.

4	dk;Z gsrq dk;Z Lfky miyC/k gSA The site for the work is available.

5	izi= tkjh djus gsrq vkosnu] fufonk,a [kksys tkus dh fu/kkZfjr frfFk ds pkj fnu iwoZ lk;a 4 cts ds ckn ls ugh Lohdkj fd, tk,xsA fufonk& izi=ksa dk fuxZe] fufonk [kksys tkus dh fu/kkZfjr frfFk ds rhu fnu iwoZ cUn dj fn;k tk,xkA

Receipt of applicatiolns for issue of forms will be stopped by 1600 Hours four days before the date fixed for opening of tenders. Issue of tender forms will be stopped three days before the date fixed for opening of tenders.

jss[kkad] fofunsZ’k] dk;Z ds fofHkUu oxksZ ds fy, ek=kvks dh vuqlwph ds lfgr fufonk dkxtkr ,ao Bsds dh ’krksZ dk lSV ftudk ml Bsdsnkj }kjk vuqikyu fd;k tkuk gS] ftldh fufonk Lohd`r gks tk, rFkk vU; vkok’;d dkxtkr jfookj ,ao lkoZtfud NqfVV;ksa dks NksMdj] izfrfnu 11 cts iwokZUg ls 4 cts vijkgu ds chp dk;Zikyd vfHk;ark flfoy Hkou vuqj{k.k eMay ,e& 233] yks0fu0fo0] fnYyh ds dk;kZy; esa ns[ks tk ldrs gSA ekud izi= dks NksMdj] fufonk dkxtkr mDr dk;kZy; ls mij fufnZ"V le; ds nkSjku izkIr fd, tk ldsxsA

Tenders documents consisting of plans, specifications the schedule of quantities of the various classes of work to be done and the set of terms and conditions of contract to be complied with by the contractor whose tender may be accepted and other necessary documents can be seen in the office of the Executive Engineer, Civil Building Maintenance Divn. M-233, PWD Delhi  between hours of 11.00 A.M. & 4.00 P.M. everyday except on Sunday and Public Holidays. Tender documents, excluding standard form, will be issued from his office, during the hours specified above on payment of the following:

- fufonk dh ykxr ds rkSj ij :- 500@& ¼:- ikap lkS ek=½ dh udn jk’kh vkSj

Rs. 500/- (Rupees Five hundred only) in cash as cost of tender.

- udn ¼10]000@& :- rd ½ @ Vªstjh pkyku jlhn @fdlh vuqlwfpr cSad dh ekax tek jlhn @fdlh vuqlwfpr cSda dh lkof/k tek jlhn @ fdlh vuqlwfpr cSad ds fMekaM Mªk¶V ds :i esa --------------------------------------------------------------------------------------------------------------------------------------------------------------- ds i{k esa ns; -----------------------------------------------------:- dh c;kuk jk’kh A ;fn c;kuk jk’kh 5 yk[k :i;s ls vf/kd gks] rks c;kuk jk’kh dk dqN Hkkx cSad xkjUVh ds :i esa Hkh Lohckj fd;k tk ldrk gSA ,sls ekeys esa] c;kuk jk’kh dk de ls de 50 izfr’kr ¼fdUrq 5 yk[k :i;s ls de ugha½ ;k 25 yk[k :- tks Hkh de gks] Åij fu/kkZfjr :I esa tek djok;k tk;xk A c;kuk jk’kh dh ‘ks”k jde] cSad xkjUVh ds :i es Hkh Lohdk;Z gSA

Earnest Money of 6,133/- in cash/receipt treasury challen/deposit of call receipt of a schedule bank/fixed deposit receipt of a scheduled bank/demand draft of a schedule bank issued in favour of Executive Engineer, Civil Building Maintenance Divn. M-233, PWD Delhi.  When amount of earnest Money is more than Rs. 5 lakhs, part of the earnest money is acceptable in the form of bank guarantee also.  In such case, minimum 50% of earnest money but not less than Rs. 5 lakh) or Rs. 25 lakhs, whichever is less, will have to be deposited in shape prescribed above.  For balance amount of earnest money, bank guarantee will also be acceptable.

6	fufonk,a tks ges’kk eqgjcan fyQkQs esa j[kh tkuh pkfg, rFkk mu fyQkQksa ij dk;Z dk uke fy[kk tkuk pkfg, dk;Zikyd vfHk;ark flfoy Hkou vuqj{k.k eMay ,e& 233] yks0fu0fo0] fnYyh }kjk rkjh[k ________*________dks 03-00 cts lk;a rd izkIr dh tk,axh vkSj mlh fnu 03-30 cts lk;a muds }kjk ;k muds izkf/kd`r izfrfuf/k }kjk vius dk;kZy; esa [kksyh tk,xhA

Tenders, which should always be placed in sealed envelope, with the name of work and due date written on the envelopes, will be received by the Executive Engineer, Civil Building Maintenance Divn. M-233, PWD Delhi upto 3.00 P.M. on ……………… and will be opened by him or his authorised representative in his office on the same day at 03:30 P.M.

- Bsdsnkj] Lohd`fr i= tkjh gksus ds i'pkr fu/kkZfjr fnuksa ds Hkhrj fofofnr jk’kh 5 izfr’kr ds cjkcj vizfr lagj.kh; fu”iknu xkjUVh ca/ki= izLrqr djsxk tks fu/kkZfjr QkWeZ ds vuqlkj fdlh Hkh vuqlwfpr cSad ;k Hkkjrh; LVsV cSad ds :i esa ;k jksdM esa ;k ljdkjh izfrHkwfr] lkof/kd tek jlhn ds :i esa gksxhA bl vof/k dks Hkkjlk/kd vfHk;Urk }kjk Bsdsnkj ds fyf[kr vuqjks/k ij vf/kdre fu/kkZfjr fnuksa dh vof/k rd vkxs c<k;k tk ldrk gSA

The contractor shall be required to deposit an amount equal to 5% of the tendered value of the work as performance guarantee in the form of an irrevocable bank guarantee bond of any scheduled bank or State Bank of India in accordance with the form prescribed or in cash or in the form of Govt. Security, fixed deposit receipt etc., as in the case of recovery of security deposit within prescribed number of days of the issue of letter of acceptance. This period can be further extended by the Engineer-in-charge up to a maximum period of prescribed number of days on written request of the contractor.

8	dk;Z dk C;kSjk bl izdkj gSa %&

The description of the work as follows : As per schedule of qty.

fufonkdkjks }kjk tkWp ds fy, dk;ksZ ls lacaf/kr vU; uD’kksa rFkk dkxtkrksa dh izfr;ka mi;qZDr vf/kdkjh ds dk;Zy; esa [kksyh tk,xhA

Copies of other drawings and documents pertaining to the works will be open for inspection by the tenderers at the office of the above mentioned officer on all working days 11.00 am to 4.00 pm.

fufonkdkjks dks lykg nh tkrh gS fd os fufonk izLrqr djus ds igys dk;ZLFky ,ao mlds vkl ikl dh txg tehu dh izd`fr ,ao vue`nk ¼tgka rd O;ogk;Z gks½] dk;Z LFky dk :i ,ao izd`fr] dk;Z LFky rd igq¡pus ds lk/ku] LFkku tks mUgsa pkfg, mldk fujh{k.k o tk¡p djysa rFkk tksf[ke] vkDfLedrk ,ao vU; ifjfLFkfr;ksa ls] tks fufonk dks izHkkfor dj ldrh gS] lacaf/kr vko’;d tkudkjh Loa; izkIr dj] lUrq”V gks ysaA ;gk ekuk tk;sxk fd fufonkdkj dk dk;ZLFky ds ckjs esa iwjh tkudkjh gS] pkgs mlus bldk fujh{k.k fd;k gks ;k ugha rFkk ckn esa fdlh Hkzk¡fr ;k vU; ckrksa ds fy, dksbZ vfrfjDr izHkkj vuqeR; ugh gksxkA dk;Z fu”iknu gsrq lHkh izdkj dh lkexzh] vkStkj ,ao la;a=] ty] fctyh ykus ds lk/ku] dkexkjksa ds fy, lqfo/kka, rFkk vU; visf{kr lsokvksa dk izcU/k djus rFkk muds j[k

j[kko dk mRRjnkf;Ro Lo;a fufonkdkj dk gksxk] tc rd vU;Fkk fo’ks”k :i ls djkj esa bldk mYys[k u fd;k x;k gks A fufonkdkj }kjk fufonk izLrqr djuk ;g lwfpr djrk gS fd mlus bl lwpuk ,ao vU; lHkh djkj&nLrkostksa dks i< fy;k gS rFkk mls fd, tkus okys dk;Z dk vfHkizk; ,oa fofunsZ’kksa] ‘krksZ o njsa ftu in ljdkj }kjk mUgsa lkeku] vkStkj ,ao la;a= vkfn fn, tk,axs rFkk LFkkuh; fLFkfr;ka vkSj vU; dkjd tks dk;Z esa fu”iknu ij izHkko Mkysa] ds ckjs esa iwjh tkudkjh gSA

Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may require and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender.  A tenderer shall be deemed to have full knowledge of the site whether he influence inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed.  The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water,, electricity access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of a tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools and plant, etc. will be issued to him by the Government and local conditions and other factors having a bearing on the execution of the work.

9	l{ke izkf/kdkjh] Hkkjr ds jk"Vªifr dh vksj ls U;wure ;k fdlh fufonk dks Lohdkj djus ds fy, vki dks vkc} ugh djrs gSa vkSj izkIr gqbZ fdlh Hkh fufonk ;k lHkh fufonkvksa dks fcuk dkj.k crk, vLohdkj djus dk vf/kdkj vius ikl lqjf{kr j[krs gSA ,slh lHkh fufonkvksa dks ftuesa fofgr 'krsZ iwjh ugh dh xbZ gks vFkok fufonkdkj }kjk l’krZ NwV fn, tkus lfgr fdlh ’krZ dks j[kk x;k gks] vLohdkj dj fn;k tk,xkA

The competent authority on behalf of the President of India does not bind himself to accept the lowest or any other tender, and reserves to himself the authority to reject any or all of the tenders received without the assignment of any reason. All tenders, in which any of the prescribed conditions is not fulfilled or any condition including that of conditional rebate is put forth by the tenderer, shall be summarily rejected.

l{ke izkf/kdkjh ds ikl ;g vf/kdkj Hkh lqjf{kr gS fd og ,sls dsUnzh; ljdkjh m|eks] dsUnzh; ljdkjh m|eksa ds la;qDr m|eksa ftudh bfDoVh esa ljdkjh m|e dh Hkkxhnkjh 51 izfr’kr ;k mlls vf/kd gks] dks m}r ewY; U;wure ewY; ds 10 izfr’kr ds vUrxZr gksus ij vkSj mU; ckrsa leku gksus ij 31-3-2005 rd izkIr gksus okyh fufonkvksa@fuj[kksa esa U;wure oS| cksyh ij Ø; es vf/kekurk ns ldrk gS c’krsZ fd mudh vuqekfur ykxr 5 djksM :i;s ;k mlls vf/kd gksA

The competent authority also reserves its right to allow to the Central government public sector enterprises, joint venture with CPSE holding 51% equity or more, a purchase preference with refernce to the lowest valid price bid where the quoted price is within 10% of such lowest price in a tender other things being equal in case of tenders/quotations whose date of receipt is upto 31-3-2005, subject to the estimated cost being of Rs. Five crores and above.

tks ljdkjh m|e Ø; vf/kekurk dk Qk;nk mBk jgs gS] os ykxr esa c<ksrjh vkfn gksus ij i;kZIr tqekZuk jkf’k ds fy, mRrjnk;h gksaxsA

The Public Enterprises who avail benefits of the purchse preference should be subjected to adequate penalties for cost overruns etc.

- fufonkvksa ds ekeys fdlh Hkh izdkj dk izR;{k ;k vizR;{k izsj.k dk iw.kZr;k fu”ks/k gS rFkk mu Bsdsnkjks dh fufonka,] tks izsj.k dk lgkjk ysaxs] vLohdkj dj nh tk,axhA

Canvassing whether directly or indirectly, in connection with tenders is stictlyprohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection.

11	l{ke izkf/kdkjh] Hkkjr ds jk"Vªifr dh vksj ls iwjh fufonk ;k mlds fdlh Hkkx dks Lohdkj djus dk vf/kdkj vius ikl lqjf{kr j[krs gS rFkk fufonkdkj] dfFkr nj ij fu"iknu ds fy, ck/; gksxkA

The competent authority on behalf of the President of India reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

12	Bsdsnkj dks ds-yks-fu-fo- ifjeaMy esa] ¼tks Bsds nsus vkSj mlds fu"iknu ds fy, mÙkjnk;h gS½ ftlesa mldk utnhdh fj’rsnkj e.My ys[kkdkj ;k v/kh{k.k bath- ,oa dfu"B bath- ¼nksuksa dks feykdj½ dh Jsf.k;ksa ds fcp fdlh Hkh gSfl;r ds vf/kdkjh ds :Ik esa rSukr gks] dk;ksZ ds fy, fufonk nsus dh vkKk ugh gksxhA og mu O;fDr;ksa ds ukeksa dh Hkh lwph nsxk tks fdlh Hkh gSfl;r esa mlds lkFk dk;Z dj jgs gks ;k ftUgsa mlds }kjk ckn esa HkrhZ fd;k x;k gS rFkk tks ds-yks-fu-fo- ;k 'kgjh fodkl e=ky; esa dk;Zjr fdlh jktif=r vf/kdkjh ds utnhdh fj’rsnkj gksa A ;fn Bsdsnkj bl 'krZ dks Hkax djsxk rks mldk uke bl foHkkx dh Bsdsnkjksa dh vuqeksfnr lwph ls gVk fn;k tk,xkA

The contractor shall not be permitted to tender for works in the PWD, CBMC M-23 (responsible for award and execution of contracts) in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grades of Superintending Engineer and Junior Engineer (both inclusive). He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any gazetted officer in the Central Public Work Department or in the Ministry of Urban Development. Any breach of this condition by the contractor would render him liable to be removed from the approved list of contractors of this Department.

13	Hkkjr ljdkj ds fdlh bathfu;jh foHkkx esa bathfu;jh ;k izk’klfud dk;ksZ esa yxs gq, jktif=r jSad ds fdlh bathfu;j dks ;k fdlh vU; jktif=r vf/kdkjh dks ljdkjh ukSdjh ls lsok eqDr gksus ij nks lky rd] Hkkjr ljdkj dh iwoZ fyf[kr vuqefr fcuk Bsdsnkj dh gSfl;r ls dke djus dh vuqefr ugh gSA ;fn fdlh le; ;g ik;k x;k fd Bsdsnkj ;k mldk dksbZ deZpkjh] ,slk O;fDr gS ftlus fufonk izLrqr djus ls igys ;k Bsdsnkj dh lsok esa yxus ds igys Hkkjr ljdkj ls vuqefr ugh yh Fkh] rks Bsdk jí fd;k tk ldrk gSA

No Engineer of gazetted rank or other Gazetted officer employed in Engineer or Administrative duties in an Engineering Department of the Govt. of India is allowed to work as a contractor for a period of two years after his retirement from Govt. Service without previous permission of the Govt. of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the govt. of India as aforesaid before submission of the tender or engagement in the contractor’s service.

14	dk;ksZ ds fy, fufonk] fufonkvksa ds [kqyus dh rkjh[k ls 60 fnu rd Lohd`fr gsrq [kqyh jgsxhA ;fn fufonkdkj mDr vof/k ds igys viuh fufonk okfil ys ysrk gSa ;k fufonk dh 'krksZ vksj fuca/kuksa esa dksbZ la’kks/ku djrk gS] tks foHkkx dks lOhdk;Z ugh gSa rks ljdkj fdlh vU; vf/kdkj ;k mipkjh mik; ij izfrdwy izHkko Mkys fcuk Åij fd, x, mYys[k ds vuqlkj mDr /kjksgj jkf’k dk 50 izfr’kr tCr djus ds fy, Lora= gksxhA

The tender for the work shall remain open for acceptance for a period of 60 days from the date of opening of tenders. If any tenderer withdraws his tender before the said period issued of letter of acceptance, which-ever is earlier or makes any modifications in the terms and conditions of the tender which are not acceptable to the department, then the Govt. shall without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

15	;g fufonk vkea=.k lwpuk djkj nLrkost dk fgLlk gksxhA lQy fufonkdkj@Bsdsnkj] LohdkjdrZk izkf/kdkjh }kjk fufonk Lohdkj fd, tkus ds ckn dk;Z izkjEHk fd, tkus dh fu/kkZfjr frfFk ls 15 fnu ds Hkhrj fuEufyf[kr dks ‘kkfey djrs gq,  lafonk ij gLrk{kj djsxk %&

The Notice Inviting Tender shall form a part of the contract document. The successful Tenderer/ Contractor, on acceptance of his tender by the Accepting Authority, shall within 15 days from the stipulated date of start of the work sign the contract consisting of:-

d½ 	fufonk vke=.k lwpuk] vfrfjDr ’krksZ lfgr lHkh dkxtkr] fofunsZ’k ,oa uD’ks] ;fn dksbZ gks] tks fufonk vkea=.k ds le; fufonk ds :Ik esa tkjh fd, x, gks rFkk bl ckjs es fd, x, fdlh Ik=kpkj lfgr bldh Lohd`frA

a) 	The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

[k½ 	ekud ds-yks-fu-fo- izi= la[;k 7

b) 	Standard CPWD form 7  i.e. general condition of contract for CPWD Works (Edition 2005) read with amendments attached with the N.I.T. and further correction slips, if issued upto the last date of issue of tender.

16	Jr lafonkvksa ds fy;s / For composite Tenders.

16.1.1	fufonkdkj dks Lo;a leqfpr Js.kh ds ,sls vfHkdj.k ls tqMk gksuk pkfg, tks vU; ?kVdks ds fy, vyx vyx fufonk nsus dh ik=rk j[krs gksA

The tenderer must associate with himself agencies of the appropriate class eligible to tender for the other components individually.

16.1.2	fufonkdkj ds fy, ;g vfuok;Z gksxk fd og lHkh ?kVdks ds fufonk nLrkostksa ¼ek=k vuqlwph] 'krsZ rFkk fo’ks"k 'krsZ vkfn½ ij gLrk{kj djsA

It will be obligatory on the part of the tenderer to sign the tender documents for all the components. (The schedule of quantities, conditions and special conditions etc).

16.1.3	dk;Z iznku djus ds i’pkr Bsdsnkj dks lacaf/kr vf/kdkjh ds lkFk izR;sd ?kVd ds laca/k esa vyx&vyx djkj djus gkssxsaA

After the work is awarded, the contractor will have to enter into separate agreements for each component with the officer concerned.

16.2	eq[; ?kVd dk izHkjh dk;Zikyd bath- fefJr dk;Z ds fy, fufonk, vkef=r djsxsA fufonk nLrkost dh ykxr rFkk c;kuk jkf’k dk fu/kkZj.k fefJr fufonk dh fefJr vuqekfur ykxr ds vk/kkj ij fd;k tk,xkA izR;sd ?kVd ds fy, izfrHkwfr fu{ksi dh x.kuk dk;Z ds lacaf/kr ?kVd dh vuqekfur ykxr ds vuq:Ik vyx vyx dh tk,xhA c;kuk jkf’k dk;Z ds eq[; ?kVd ds izfrHkwfr fy{ksi dk fgLlk cu tk,xhaA

The Executive Engineer incharge of the major component will call tenders for the composite work. The cost of tender document and Earnest money will be fixed with respect to the combined estimated cost put to tender for the composite tender. Security deposit will be worked out separately for each component corresponding to the estimated cost of the respective component of works. The earnest money will become part of the security deposit of the major component of work.

16.3	l{ke izkf/kdkjh }kjk fefJr fufonk dks Lohdkjs tkus ds i’pkr cMs ?kVd okyk izHkkjh dk;Zikyd bath- Hkkjr ds jk"Vªifr dh vksj ls dk;Z iznku djus lca/kh Ik= tkjh] djsxk A dk;Z iznku djus lac/kh Ik= esa bl ckr dk lkQ&lkQ mYys[k fd;k tk,xk fd Bsdsnkj dks dk;Z ds fofHkUu ?kVdks lac?k es] lacaf/kr fMflfIyu ls tqMs vf/kdkfj;ksa  (inuke dk myys[k djrs gq,½ ds lkFk vyx&vyx djkj fu"ikfnr djus gksxsA

On acceptance of the composite tender by the competent authority the letter of award will be issued by the Executive Engineer incharge of the major component of behalf of the president of India, making it clear in the letter of award that the contractor will have to execute separate agreements for different components of work with the concerned officers of the respective discipline (designation to be given).

17.1	The contractor shall quote his rates keeping in mind the specifications, terms & conditions,

particular specifications and special conditions etc. and nothing shall be payable extra whatsoever unless otherwise specified.

18.1	The contractors shall get themselves registered with works contract cell of Sales Tax Department and furnish a copy of valid registration. The contractor shall obtain a tax clearance certificate in form XI from above Cell and submit to the department within 15 days of award of work.

19.1	The department shall deduct Sales Tax and Income Tax on the value of work done from each bill of the contractor as per prevailing Government orders. In lieu, the department shall issue a certificate of deduction of the taxes at source to the contractor in relevant forms.

20.1	“TDS @ 2% from the total payment under Delhi VAT & a mandatory labour cess @ 1% of the total work done of contract shall be deducted from the bills in addition to other statuary Taxes/ levies.”

21.1	In case of any difference/ ambiguity/ between Hindi & English version, the English version

shall prevail.

22.1	The contractor shall not provide any semi permanent structure to accommodate labourers/

workers. They shall be accommodated in tents. Temporary structure for cement godown, laboratory, site office, Chowkidar shall only be constructed in consultation with Engineer-in-Charge.

All these accommodation shall be removed latest by the completion date to be recorded by the department.

23.1	The download tender documents shall not be valid for submission of tender. The tender document published on web site www.delhigovt.nic.in be for information only.

-----------------------------------------------------------------------

e.My @mie.My vf/kdkjh ds gLrk{kj

Signatures of Divisional Officer/SubDivisional Officer

Hkkjr ds jkVªifr ds fy, vkSj mudh vkSj ls

For & on behalf of President of India

ds-yks-fu-fo-

yks-fu-fo-CPWD/6										        	  yks-fu-fo-CPWD/7/

yks-fu-fo-CPWD/7/

fnYyh ljdkj  GOVERNMENT OF DELHI

yksd fuekZ.k foHkkx   PUBLIC WORKS DEPARTMENT

jkT; 	STATE		:  DELHI		ifjeaMy CIRCLE		: PWD CIRCLE-M-23

'kk[kk	BRANCH	: B&R			eaMy DIVISION			:  PWD M-233

vapy 	ZONE		: CE, PWD M-II	mi&eaMy SUB-DIVISION :

dk;ksZ ds fy, izfr’kr nj@en nj fufonk ,ao lafonk

Percentage Rate Tender & Contract for Works

(A)	dk;Z ds fy, fufonk%

Tender for the work of:- Renovation of toilet at I.T.I. Khichripur, Delhi.

(i)	¼d½  fnukad ______*_______dks ___*____ ih-,e- cts _____*___________________  _________________________ds dk;kZy; esa izLrqr dh tkuh gSA

To be submitted by ________________ P.M. hours on___________________   to _____

(time)                                     		  (date)

_____________________________________________________________________________________

(ii)	[k½ mu fufonkdkjksa ds le{k [kksyh tka,xh tks fnukad  ____*_______dks______*_______cts dk;Zikyd vfHk;ark yks- fu- fo-] ,e&233]  fnYyh ds dk;kZy; esa mifLFkr jgsxsA

To be opened in presence of tenderers who may be present at ________PM hours            on ____________ in the office of EE/PWD M-233/GOD

Lksok esa izsf"kr Issued to:______________________*_______________________________________

¼Bsdsnkj½ (contractor)

dkxtkr tkjh djus okys vf/kdkjh ds glrk{kj %

Signature of officer issuing the documents ______________*_________________________

Ikn Designation 	Executive Engineer /PWD M-233/NCT

Tkkjh djus dh rkjh[k Date of Issue: ________________*_________________

# fufonk TENDER

eSus@geus dk;Z ds fy, fufonk vkea=.k lwpuk] vuqlwph & d] [k] x] ?k] M] vkSj p] ykxw fofunsZ’k] uD’ks ,ao fMtkbu lkekU; fu;e ,ao  funsZ’k]  Bsds ds mica/k] fof’k"V 'krsZ] nj vuqlwph ,ao vU; dkxtkr rFkk Bsds dh ’krksZ esa fn, x, fu;e rFkk fufonk dkxtkr esa mfYyf[kr vU; ckrks dks Ik< o tkap fy;k gSA

I/We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F. specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

EkS @ ge] ,rr~}kjk Hkkjr ds jk"Vªifr ds fy, vuqlwph *p* esa fofufnZ"V le; ds Hkhrj fofufnZ"V dk;Z ;Fkk ek=kvksa dh vuqlwph rFkk lHkh lacaf/kr fofunsZ’kksa] fMtkbuksa uD’kksa ds vuq:Ik rFkk lkekU; fu;ekoyh ds fu;e vkSj Bsds dh 'krksZ ds [kaM&11 esa mfYyf[kr fyf[kr vuqns’kksa ,ao ,slh lkefxz;ksa] tks iznku dh tkrh gS vkSj mlds laca/k esa] ,slh ’krsZ tks ykxw gks] ds vuq:Ik fuIiknu gsrq fufonk nsrk gWw@nsrs gSaA

I/We hereby tender for the execution of the work specified for the President of India within the time specified in Schedule ‘F’, Viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule –I of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for by, and in respects in accordance with, such conditions so far as applicable.

ge fufonk dks blds izLrqr fd, tkus fd vfUre rkjh[k ls 60 fnuksa ds fy, [kqyk j[kus rFkk bldh 'krksZ ,oa fuoa/kuksa esa fdlh izdkj dk ifjorZu u djus ds fy, lger gSaA

We agree to keep the tender open for sixty (60) days from the due date so submission thereof and not to make any modifications in its terms and conditions.

,rn~}kjk :-------------------/- ds /kujkf’k] /kjksgj jkf’k ds #Ik esa Vªstjh pkyku jlhn@vuqlwfpr cSad dh ekax tek jlhn @vuqlwfpr cSad dh lko/kh tek jlhn@vuqlwfpr cSad ds fMekaM Mªk¶V ds :i esa tek djkbZ tk pqdh gSA ;fn eSa@ge fu/kZkfjr fu”iknu xkjaVh dks fu/kkZfjr le; vof/k es izLrqr djus esa vlQy jgrs gS rks eS @ge ;g eatwj djrs gS fd Hkkjr ds mDr jkVªifr ;k muds dk;kZy; ds mRrjkf/kdkjh fdlh vU; vf/kdkj ;k mipkjh mik; ij izfrdwy izHkko Mkys fcuk mDr /kjksgj jkf’k tCr djus ds fy, iw.kZr;k Lora++= gksaxA blds vykok] eSa@ge fofufnZ"V dk;Z izkajHk djus esa vlQy jgrs gSa rks eSa@ge ;g eatwj djrs gS fd mDr  Hkkjr ds jk"Vªifr ;k muds dk;kZy; ds mÙkjkf/kdkjh fdlh vU; vf/kdkj ;k mipkjh mik; ij izfrdwy izHkko Mkys fcuk /kjksgj jkf’k                       rFkk fu”iknu xkajVh tCr djus ds fy, iw.kZr;k Lora= gksaxs vU;Fkk mDr /kjksgj jkf’k] fufonk dkxtkr] ds vuqlkj mlesa fufgr 'krksZ o fuca/kuksa ds vuqlkj dk;ksZ ds fuIiknu ,oa vkfn"V fopyuksa dks vuqlwph *p* esa of.kZr izfr’kr ls vuf/kd o fufonk izi= ds [kaMks 12-2]12-3 o 12-5 esa fufgr izko/kkuksa ds vuqlkj fuf’pr dh tkus okyh njksa ij ml lhek ls vf/kd ds fopyuksa ds djus ds fy, muds }kjk izfrHkwr&fu{ksi ds :Ik esa jksd yh tk,xhA

A sum of Rs 6,133/- has been deposited in cash / receipt treasury challen/deposit at call receipt of schedule bank/demand draft of a schedule bank as earnest money. If I/We, fail to furnish the prescribed performance guarantee within prescribed period. Further, if I/we fail to commence work specified I/We agree that President of India or his successors in office shall without prejudice to any other right or remedy in law, be at liberty to forfeit the said earnest money and the performance gurantee absolutely otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upons the terms and conditions contained or refered to therein and to carry out such deviation as may be ordered, upto maximum of the percentage mentioned in Schedule ‘F’ and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2, 12.3 and 12.5 of the tender form.

eSa@ge ,rr~}kjk ?kks"k.kk djrs gS fd eSa@ge fufonk dkxtkrksa uD’kksa vkSj dk;Z ls lacaf/kr vU; vfHkys[kks dks xqIr@xksiuh; dkxtkr ds :Ik esa j[ksxs vkSj muls izkIr@yh xbZ tkudkjh fdlh vU; dks ftUgsa eS@ge lwfpr djus ds fy, izkf/kd`r  ls fHkUu fdlh dks ugh crk,axs ;k tkudkjh dks fdlh :Ik esa iz;ksx ugh djsxs tks jkT; dh lqj{kk ds fy, izfrdwy gksA

I/We hereby declare that I/We shall treat the tender documents drawings and other records connected with the work as secret /confidential documents and shall not communicate information/derived there from to any person other than a person to whom I/We are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

I/We agree that should I/We fail to commence the work specified in the above memorandum, an amount equal to the amount of the earnest money and performance guarantee mentioned in the form of invitation of tender and performance gurantee shall be absolutely forfeited to the President of India and the same may at the option of the competent authority on behalf of the President of India be recovered without prejudice to any other right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me/us under this contract or otherwise.

Rkkjh[k Dated:- 	____________				Bsdsnkj ds gLrk{kj Signature of contractor

Mkd irk Postal Address

Lkk{kh Witness:-

Ikrk Address:-

mithfodk Occupation:-

## Lohd`fr ACCEPTANCE

eSa Hkkjr ds jk"Vªifr dh vksj ls rFkk mlds fy, : ____________(:Ik, _______________________

_________________________________________½  dh jkf’k ds fy, mi;qZDr fufonk ¼v/kksfyf[kr Ik=ksa ds vuqlkj ifjofrZr½ Lohdkj djrk gWwA

The above tender (as modified by you as provided in the letters mentioned hereunder) is                        accepted by me for and on behalf of the President of India for a sum of Rs.  _____________ (Rupees________________________________________________).

uhps fn, x, Ik= bl Bsdk djkj dk fgLlk gksaxsA

The letters referred to below shall form part of this contract Agreement:-

i)

ii)

iii)

Hkkjr ds jk"Vªifr dh vksj ls rFkk muds fy,

For & on behalf of the President of India

gLrk{kj Signature _________________________________

rkjh[k Dated___________ 		 	inuke Designation ________________________

# vuqlwfp;ka SCHEDULES

vuqlwph *d* SCHEDULE ‘A’

ek=kvksa dh vuqlwph ¼layXu½

Schedule of quantities (Enclosed)

vuqlwph *[k*  SCHEDULE ‘B’

Bsdsnkj dks fuxZr dh tkus okyh lkefxz;ksa dh vuqlwph

Schedule of materials to be issued to the contractor.

| Øe l- S.No. | en fooj.k Description of item | ek=k Quantity | ftl nj ij lkefxz;ka Bsdsnkj dks izHkkfjr gksxh og nj vadks ,oa ’kCnks es Rates in figures & words at which the material will be charged to the contractor | fuxZr LFkku Place of Issue |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | Port land Cement in 50 Kg Bags | 19.60 MT | @ 3100/- Per M.T. (Rs. Three thousand one hundred only) | C.P.W.D. central store Netaji Nagar Delhi. |

## Executive Engineer

Public Works Department

### Civil Building Maintenance Divn. M-233

### Government of NCT of Delhi

## Western Bank, Lok Nayak Setu,

Vikas Marg, New Delhi- 110002

vuqlwph *x* SCHEDULE ‘C’

Bsdsnkj dks HkkMs ij fn, tkus okys vkStkj ,oa la;=

Tools and plants to be hired to the contractor

| Øe l- S.No. | fooj.k Description | HkkMk izHkkj izfrfnu Hire charges per day | fuxZr LFkku Place of Issue |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |

vuqlwph *?k* SCHEDULE ‘D’

dk;Z ds fy, fo’ks"k vis{kk,a@nLrkost] ;fn dksbZ gks] dh vfrfjDr vuqlwphA

Extra schedule for specific requirements/document for the work, if any.		-As per rule-

### vuqlwph *M* SCHEDULE ‘E’

ewY; o`f} ds fy, lhesaV] bLikr] vU; lkexzh ] Je vkfn ds ?kVdks dh vuqlwphA

Schedule of component of Cement, Steel, other Materials, Labour etc. for price esclation.       – N.A.-

### vuqlwph *p* SCHEDULE ‘F’

Bsds dh lkekU; 'krksZ dk lanHkZ

Reference to General Conditions of contract

dk;Z dk uke @ Name of work :- 				Renovation of toilet at I.T.I. Khichripur,

Delhi.

dk;Z dh vuqekfur ykxr Estimated cost of work:- 		#- Rs 3,06,670/-

/kjksgj jkf’k Earnest money:- 					#- Rs. 6,133/-

fu"iknu xkjUVh							5% fufonk jkf'k dk

Performance Guarantee:-					5% of Tendered  Value

izfrHkwfr fu{ksi							5% fufonk jkf'k dk

Security Deposit:-						5% of Tendered  Value

LkkekU; fu;e ,oa fn’kkfunsZ’k%

General Rules & Directions:

fufonk vkea=.k djus okyk izkf/kdkjh        	 dk;Zikyd  vfHk;ark] yks0fu0fo0] ,e&233]  fnYyh

Officer inviting tender					EE/PWD-M-233/GOD CBMD M-233

dk;Z dh enksa dh ek=k ds fy, 					fuEukuqlkj

vf/kdre izfr’kr ftlls vf/kd fuIikfnr

enks ds fy, njks dk fu/kkj.k [k.M 12-2 				¿1À bekjrh dk;Z  30 izfr’kr %

12-3 ds vuqlkj gksxk 						¿2À cqfu;knh dk;Z 100 izfr’kr %

¿ d`i;k 'kq} izfp;ksa dk voyksdu djsa À

Maximum percentage for quantity of items of 		See below

work to be executed beyond which rates are

to be determined in accordance with        			(i) Building Work 	: 30%

Clauses 12.2 &12.3.				(ii)Foundation Work	: 100%

### Definitions: -

2(v)	Hkkjlk/kd bathfu;j 					dk;Zikyd vfHk;ark

yks- fu- fo- eaMy ,e&233] fnYyh

Engineer-in-charge					EE/PWD/Div.-M-233/GOD

2(viii)	Lohdkj drkZ izkf/kdkjh					dk;Zikyd vfHk;Urk]yks-fu-fo-

eaMy&,e&233 ¿fn0l0À] ubZ fnYyh

Accepting Authority			             		EE/PWD/Divn-M-233/GOD

2(x)   	vfrfjDr vkSj ykHkks dks iwjk djus ds

fy, lkefxz;ksa dh ykxr ij izfr’krrk

Percentage on cost of materials and

labour to cover all overheads and profits	         	10%

2(xi)	njksa dh ekud vuqlwph 					fnYyh nj vuwlwph 2002 vkt

rd ds 'kqf}i=d lfgr

Standard schedule of Rates			DSR Schedule of Rates 2002

with upto date Correction Slips.

2(xii)	foHkkx		yks- fu- fo- ¿fn- l-À

Department						Public Works Department GOD).

2(xiii)	ekud ds-yks-fu-fo- Bsdk QkeZ  -----------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------rd la’kksf/kr ds-yks-fu-fo- QkeZ 7@

Standard CPWD contract Form CPWD Form 7 as modified & corrected upto date

#### [k.M Clause 1

#### i)	Lohd`fr i= tkjh gksus dh rkjh[k ls fu”iknu xkajVh ds izLrqrhdj.k ds fy, vuqer le;] fnuks esa

Time allowed for submission of performance guarantee from the date of issue of letter of acceptance, in days

15

ii)	mi;qZDr 	(i) esa nh xbZ vof/k ds i'pkr vf/kdre vuqes; ,DlVsa’ku] fnuksa esa

Maximum allowable extension beyond the period provided in (i) above in days

#### 7

#### [k.M Clause 2

[k.M 2 ds rgr izfrdj fuf’pr			vf/k- vfHk-] yks-fu-fo-

djus okyk izkf/kdkjh					ifj-&,e&23¿fn-l0À@dk;Z-vfHk;ark

ea&,e&233

Authority for fixing 	            				Superintending Engineer,

Compensation under clause 2			PWD C M-23, New Delhi./

EE/PWD-19(DS),New Delhi.

[k.M Clause 2

[k.M 2 ds rgr izfrdj fuf’pr				vf/k- vfHk-] yks-fu-fo-

djus okyk izkf/kdkjh					ifj-&,e&23 ¿fn-l0À

Authority for fixing

Compensation under clause 2			EE/SE

#### [k.M Clause 2A

D;k [k.M d ykxw gksxk

Whether Clause 2A shall be Applicable		No

#### [k.M Clause 5

dk;Z vkjEHk dh rkjh[k dh x.kuk ds fy, Lohd`fr

i= ds tkjh gksus dh rkjh[k ls fnuks dh la[;k			---------------------------------------- fnu

Number of days from the date of issue of

letter of acceptance for reckoning date of start		22 days

dk;Z uhps nh xbZ lkj.kh ds vuqlkj Mile stone(s) as per table given below:-

y{; ¼ehy &iRFkj½ lkj.kh@Table of  Mile Stone(s)

| Øe la- Sl. No. | y{; dk fooj.k ¼okLrfod½ Description of Milestone (Physicl) | vuqeR; le;] fnuksa esa ¼dk;Z vkjEHk dh rkjh[k ls½ Time allowed in days (from date of start) | y{; izkIr u gksus dh fLFkfr es jksdh tkus okyh jkf’k Amount to be with-held in case of non achievement of milestone |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |

Or

| Øe la- Sl. No. | fofŸk; izxfr Financial Progress | vuqeR; le;] Time allowed ¼dk;Z vkjEHk dh rkjh[k ls½ (from date of start) | y{; izkIr u gksus dh fLFkfr es jksdh tkus okyh jkf’k Amount to be with-held in case of non achievement of milestone |
| --- | --- | --- | --- |
| 1 | 1@8 oka Hkkx ¼lEiw.kZ dk;Z dk½ 1/8th (of whole work) | 1@4 oka Hkkx ¼lEiw.kZ dk;Z dk½ 1/4th (of whole work) | TSlk fd py Hkqxrkuksa ls fu/kkZfjr fd;k x;k gS vko’;d izxfr u gksus dh fLFkfr esa] izR;sd y{; vlQy gksus ij dk;Z ds fufofnr ewY; dk ,d izfr’kr jksd fn;k tk,xkA In the even of not achieving the necessary progress as assessed from the running payments, 1% of the tendered value of work will be withheld for failure of each milestone. |
| 2 | 3@8 oka Hkkx ¼lEiw.kZ dk;Z dk½ 3/8th (of whole work) | 1@2 oka Hkkx ¼lEiw.kZ dk;Z dk½ 1/2th (of whole work) |  |
| 3 | 3@4 oka Hkkx ¼lEiw.kZ dk;Z dk½ 3/4th (of whole work) | 3@4 oka Hkkx ¼lEiw.kZ dk;Z dk½ 3/4th (of whole work) |  |
| 4 | lEiw.kZ Full | lEiw.kZ Full |  |

dk;Z fu"kikfnr djus ds fy, vuqeR; le;			……….. eghuk

Time allowed for execution of work			Two Months

dk;Z iwjk djus ds fy, mfpr vkSj 				dk;Zs vfHk-] yks-fu-fo- ¿fn-l0À

rkfdZd le; o`f} nsus okyk izkf/kdkjh

Authority to give fair and reasonable 	   		EE/PWD –M-233/GOD

extension of time for completion of work

#### [k.M Clause 7

varfje Hkqxrku ds fy, ik= gksus ds

fy, vafre ,sls Hkqxrku ds ckn dqy

Hkqxrku ,df=r lkefxz;ksa ds vfxzeksa

ds lek;kstu lfgr fd;k tkus okyk 			__________*____________

dqy dk;Z         					_______________________

Gross work to be done together with net 		____________*______________

payment/adjustment of advances for 		__________________________

material collected, if	any, since the last

such payment for being eligible to interim

payment.

#### [k.M Clause 10CC

[k.M 10 xx mu lafonkvksa ij ykxw gksxk ftlls dk;Z lekiu

dh vof/k] vxys dkye esa n’kkZbZ xbZ vof/k ls vf/kd vuqcaf/kr gSA	------------------------------------------- eghus

Clause 10 CC to be applicable in contracts with stipulated

Period of completion exceeding the period shown in nex column 	…………………… Months

#### [k.M Clause 11

dk;Z fu"iknu ds fy, vuqikyu fd, 			ds-yks-fu-fo- fofunsZ’k [k.M&1

tkus okys fofunsZ’k					ls 6 vkt rd ds 'kq}hi=d lfgr

Specifications to be followed for 			CPWD Specification 1996

execution of work					Vol.-I to VI with upto date 			 							correction slips and revised CPWD

specification 2002 for cement motor,

cement concrete & RCC works.

#### [k.M Clause 12

12-2 & 12-3 	fopyu lhek ftlds ijs [kaM 12-2 rFkk 12-3

Hkou fuekZ.k dk;Z ds fy, ykxw gksaxs

Deviation limit beyond which clauses 	………………………………………..

12.2 & 12.3 shall apply for building work.	…………………………………………

  - og fopyu lhek ftlds ijs [kaM 12-2 rFkk 12-3

uho dk;Z ds fy, ykxw gksaxs 			As per rule 						Deviation limit beyond which clauses 	………………………………………..

12.2 & 12.3 shall apply for foundation work.	………………………………………..

#### [k.M Clause 16

?kVh gqbZ njs fu/kkZfjr djus ds fy, l{ke izkf/kdkjh	vf/k- vfHk-] yks-fu-fo- ifj-&,e&23 ¿fn-l0À		Competant Authority for deciding reduced rates	Superintending Engineer

PWD Circle –M-23, New Delhi.

[k.M Clause 36 i)

eq[; rduhdh izfrfuf/k ds fy,

visf{kr U;wure vgrkZ, vkSj vuqHko

Minimum Qualification & Experience

required for Principal Technical

Representative

d½	ftu dk;ksZ ds fy, fufonk esa

vuqekfur ykxr fuEufyf[kr

ls vf/kd gksa

a)	For works with estimated cost

put to tender more than

i)	flfoy dk;Z ds fy, :- 10 yk[k 		Lukkrd ;k lsokfuo`r lgk-bath- ftlds

Rs. 10 Lakhs for Civil Work			Ikkl de ls de ekU;rk izkIr fMIyksek gks]

ii)	oS|qr@;kaf=d dk;ksZ ds fy,	:- 5 yk[k	Graduate or retired AE possessing at least

Rs. 5 Lakhs for Elec./Mech. Works		recoginsed diploma

[k½	ftu dk;ksZ ds fy, fufonk esa fuEufyf[kr vuqekfur ykxr gksA

b)	For works with estimated-cost put to tender

i)	flfoy dk;ksZ ds fy, :- 5 yk[k ls vf/kd

ysfdu :- 10 yk[k ls de				ekU;rk izkIr fMIyksek/kkjhA						More than Rs.5 Lakhs but less than		Recognised Diploma holder.

Rs. 10 Lakhs for Civil Works

ii)	OkS|qr@;kaf=d dk;ksZ ds fy, :- 1 yk[k ls

vf/kd ysfdu :- 5 yk[k ls de 			ekU;rk izkIr fMiyksek/kkjhA

More than Rs. 1 Lakh but less than	   	Recognised Diploma holder.

Rs. 5 Lakhs for Elect./Mech. Works

x½	eq[; rduhdh izfrfuf/k fdl fo/kk@ladk; dk gksxk 	flfoy

Discipline to which the Principal

Technical Representative should

Belong						Civil

?k½	dk;ksZ dk U;wurd vuqHko 				5 o"kZ

Minimum experience of works		Five Years

p½	[k.M 36(i) ds mica/kks dks iwjk u djus ij Bsdsnkj 	Lukrd ds fy, :-15000@&

ls dh tkus okyh olwyh				izfrekg vkSj :-10000@& fMIyksek/kkjh ds fy,

Recovery to be effected from the

contractor in the event of not 			Rs.15000/-P.M.for Graduate

fulfilling provision of clause 36(i)		Rs. 10000/-for diploma holder

#### [k.M Clause 42

i)d½	dsyksfufo }kjk eqfnzr fnYyh nj vuqlwph 2002 ds vk/kkj ij lhesaV vkSj foVqeu dh

vuqekuewy ek=k fu/kkZfr djus ds fy, vuqlwph@fooj.k

i)a)	Schedule/statement for determining theoretical quantity of cement &

bitumen on the basis of Delhi Schedule of Rates 2002 with upto

date Correction Slips by C.P.W.D.

- vuqekuewyd ek=k esa vuqeR; fopyu

Variations permissible on theoretical quantities.

d½	lhesaV ftu dk;ksZ ds fy, fufonk esa vuqekfur ewY;

:-5 yk[k ls vf/kd u gks				3 izfr’kr tek@?kVk					a)	Cement for works with estimated 		3% plus/minus

cost put to tender not more than

Rs. 5 Lakhs

ftu dk;ksZ ds fy, fufonkesa vuqekfur ewY;

:- 5 yk[k ls vf/kd gksA				2 izfr’kr tek@?kVk	   					for works with estimated cost put to		2% plus/minus

tender more than Rs. 5 Lakhs

[k½	foVqeu lHkh dk;ksZ ds fy,	   		2-5 izfr’kr dsoy tek vkSj ?kVk ds Ik{k esa 'kwU;		b)	Bitumen for all works		   	2.5% plus only & nil on minus side as per morth

specification (4th Revision) 2001.

Xk½	bLikr izR;sd O;kl] dksV vkSj Js.kh ds fy,

IkqucZyu vkSj lajpukRed bLikr dkV 		2 izfr’kr tek@?kVk	  				c)	Steel Reinforcement and structural

steel sections for each diameter,

section and category				2% plus/minus

?k½	lHkh vU; lkefxz;ka			        'kwU;

d)	All other materials				Nil

vuqeR; fopyu ls vf/kd dh ek=kvksa ds fy, olwyh njsa

RECOVERY RATES FOR QUANTITIES BEYOND PERMISSIBLE VARIATION

| ##### Øe l- S.No. | en fooj.k Description of Item | vadks vkSj 'kCnksa esa og nj ftl ij Bsdsnkj ls olwyh dh tk,xh Rates in figures and words at which recovery shall be made from the Contractor |  |
| --- | --- | --- | --- |
|  |  | vuqeR; fopyu ls vf/kd vkf/kD; Excess beyond permissible variation Rate in Schedule B + 10% | vuqeR; fopyu ls vf/kd mi;ksx ?kVk;k Less use beyond the permissible variation Rate in Schedule B + 10% |
| -- | -- | -- |  |

## Executive Engineer

Public Works Department

### Civil Building Maintenance Divn. M-233

### Government of NCT of Delhi

## Western Bank, Lok Nayak Setu,

Vikas Marg, New Delhi- 110002

#### AMENDMENTS TO GENERAL CONDITIONS OF CONTRACT FOR CENTRAL P.W.D.  WORKS - 2005

| Clause | Page | Para | Amendment |
| --- | --- | --- | --- |
| 6 Computerised measurements of work done and contractor’s bills | 19 | 1 | No change |
|  | 19 | 2 | All measurement of all the items having financial value shall be entered by the contractor and compiled in the shape of the Computerised Measurement Book having pages of A-4 size as per the format of the department so that a complete record is obtained of all items of work performed under the contract. |
|  | 19 | 3 | All such measurements and levels recorded by the contractor or his authorised representative from time to time, during the progress of the work, shall be got checked by the contractor from the Engineer-in-Charge or his authorised representative. After the necessary corrections made by the Engineer-in-Charge, the measurement sheets shall be returned to the contractor for incorporating the corrections and for resubmission to the Engineer-in-Charge for the dated signatures by the Engineer-in-Charge and the contractor or their representatives in token of their acceptance. |
|  | 19 | 4 | Whenever bill is due for payment, the contractor would initially submit draft computerised measurement sheets and these measurements would be got checked/test checked from the Engineer-in-Charge and/or his authorised representative. The contractor will, thereafter, incorporate such changes as may be done during these checks/test checks in his draft computerised measurements, and submit to the department a computerised measurement book, duly bound, and with its pages machine numbered. The Engineer-in-Charge and/or his authorised representative would thereafter check this MB and the necessary certificates for their checks/test checks. The final, fair, computerised measurement book given by the contractor, duly bound, with its pages machine numbered, should be 100% correct and no cutting or over-writing in the measurements would thereafter be allowed. If at all any error is noticed, the contractor shall have to submit a fresh computerised MB with its pages duly machine numbered and bound, after getting the earlier MB cancelled by the department. Thereafter, the MB shall be taken in the Divisional Office records and allotted a number as per register of computerised MBs. This should be done before the corresponding bill is submitted to the Division Office for payment. The contractor shall submit two spare copies of such computerised MBs for the purpose of reference and record by the various officers of the department. The contractor shall also submit to the department separately his computerised Abstract of Cost and the bills based on these measurements, duly bound and its pages machine numbered along with two spare copies of the bill. Thereafter, this bill will be processed by the Division Office and allotted a number as per the computerised record in the same way has done for the measurement book meant for measurements. |
|  | 19 | 5 | The contractor shall, without extra charge, provide all assistants with every appliance, labour and other things necessary for checking of measurements/levels by the Engineer-in-Charge or his representative. |
|  | 20 | 6 | No change |
| 6 | 20 | 7 | The contractor shall give not less than seven days notice to the Engineer-in-Charge or his authorised representative in charge of the work before covering up or otherwise placing beyond the reach of checking and/or test checking the measurement of any work in order that the same may be checked and/or test checked and correct dimensions thereof be taken before the same is covered up or placed beyond the reach of checking and/or test checking measurements and shall not cover up and place beyond reach of measurement of any work without consent in writing of the Engineer-in-Charge or his authorised representative of the work who shall, within the aforesaid period of seven days, inspect the work and if any work shall be covered up or placed beyond the reach of checking and/or test checking measurements without such notice having been given or the Engineer-in-Charge’s consent being obtained in writing, the same shall be uncovered at the contractor’s expense or in default thereof no payment or allowance shall be made for such work or the materials with which the same was executed. |
|  | 20 | 8 | Engineer-in-Charge or his authorised representative may cause either themselves or through another officer of the department to check the measurements recorded by the contractor and all provisions stipulated herein above shall be applicable to such checking of measurements or levels. |
|  | 20 | 9 | It is also a term of this contract that checking and /or test checking the measurements of any item of work in the measurements book and/or its payment in the interim on account of final bill shall not be considered as conclusive evidence as to the sufficiency of any work or materials to which it relates nor shall it relieve the contractor from liabilities from any over measurement or defects noticed till completion of the defects liability period. |
| 7 | 20 | 1 | No payment shall be made for work estimated to cost Rs.20,000/- or less till after the whole of work shall have been completed and certificate of completion given. For works estimated to cost over Rs.20,000/-, the interim or running account bill shall be submitted by the contractor for the work executed on the basis of such recorded measurements on the format of the Department in triplicate on or before the date of every month fixed for the same by the Engineer-in-Charge. The contractor shall not be entitled to be paid any such interim payment if the gross work done together with net payment/adjustment of advances for material collected, if any, since the last such payment is less than the amount specified in Schedule-‘F’ in which case the interim bill shall be prepared on the appointed ,date of the month after the requisite progress is achieved. Engineer-in-Charge shall arrange to have the bill verified by checking and/or test checking or causing to be checked, where necessary, the requisite measurements of the work In the event of failure of the contractor to submit the bills, no claims whatsoever due to delays on payment including that of interest shall be payable to the contractor. Payment on account of amount admissible shall be made by the Engineer-in-Charge certifying the sum to which the contractor is considered entitled by way of interim payment at such rates as decided by the Engineer-in-Charge. The amount admissible shall be paid by the 10th working day after the date of presentation of the bill by the contractor to the Engineer-in-Charge or his Assistant Engineer together with the account of the material issued by the department or dismantled materials, if any. In the case of works out side the headquarters of the Engineer-in-Charge, the period of ten working days will be extended to fifteen working days. |

Amendment/ regulation of EMD , S.D. , and P.G.

(Clause – 1 & 1(A) )

| Existing | Modified |
| --- | --- |
| The Performa guarantee shall be initially valid upto the stipulated date of completion plus 60 days beyond that. In case the time for completion of works gets enlarged; the contractor shall get the validity of performance guarantee extended to cover such enlarged time for completion of work. After recording of the completion certificate for the work by the competent authority, the performance guarantee shall be returned to the contractor , without any interest. | The Performa guarantee shall be initially valid up to the stipulated date of completion plus 1 years beyond that. In case the time for completion of works gets enlarged; the contractor shall get the validity of performance guarantee extended to cover such enlarged time for completion of work. After recording of the completion certificate for the work by the competent authority and the removal /rectification of defects mentioned in the completion certificate in a reasonable period of time not exceeding one year from the date of record of completion certificate , the performance guarantee shall be returned to the contractor , without any interest after one year of recording of completion certificate. |
| The amount of the earnest money , which a contractor should deposit with the tender, is regulated by the following scales. In case of petty works costing Rs. 5000/- or less the executive Engineer may, at his discretion , dispense with the condition for calling for earnest money. - For works estimated to cost upto Rs. Twenty-five crores 2% of the estimated cost. - For works estimated to cost more than Rs. Twenty Five crores. Rs. Fifty lakhs plus 1% of the excess of estimated cost over Rs.Twenty five crores. | The amount of the earnest money , which a contractor should deposit with the tender, is regulated by the following scales. In case of petty works costing Rs. 5000/- or less the executive Engineer may, at his discretion, dispense with the condition for calling for earnest money. - For works estimated to cost upto Rs. Ten crores 2% (Two percent) of the estimated cost. - For works estimated to cost more than Rs. Ten crores. Rs. Twenty five lakhs plus 1% (one percent) of the estimated cost in excess of over Rs. Ten crores. |
| The earnest money may be accepted only in the following forms : - Cash upto Rs. 10,000/- - Treasury Challan. - Deposit at call receipt of a scheduled bank guaranteed by the reserve bank of India. - Banker’s cheque - Demand darft. - FDR. When amount of earnest money is more than Rs. 5 lakh, part of earnest money is acceptable in the form of bank guarantee also. In such case, minimum 50% of earnest money (but not less than Rs. 5 lakh) or Rs. 25 lakh, which ever is less, will have to be deposited in shape prescribed above. For balance amount of earnest money, bank guarantee will also be applicable. It should be ensured that the FDR is valid for a period of six months or more after last date of receipt of tenders and that it is pledged in favour of the tender inviting authority. If the banks are closed on the day of opening of tenders the date of opening of tender shall be postponed suitably. | The earnest money may be accepted only in the following forms : - Cash upto Rs. 10,000/- - Treasury Challan. - Deposit at call receipt of a scheduled bank guaranteed by the reserve bank of India. - Banker’s cheque - Demand darft. - FDR. When amount of earnest money is more than Rs. 5 lakh, part of earnest money is acceptable in the form of bank guarantee also. In such case, minimum 50% of earnest money or Rs. 20 lakh, which ever is less, will have to be deposited in shape prescribed above and balance can be accepted in form of bank guarantee issued by a scheduled bank. It should be ensured that the FDR is valid for a period of six months or more after last date of receipt of tenders and that it is pledged in favour of the tender inviting authority. If the banks are closed on the day of opening of tenders the date of opening of tender shall be postponed suitably |
| A sum @ 10% of the gross amount of the bill shall be deduced from each running bill of the contractor till sum along with the sum already deposited as earnest money, will amount to security deposit of 5% of tendered value of the work . In addition the contractor shall be required to deposit an amount equal to 5% of the tendered value of the contractor as performance security within the period prescribed for commencement of work in letter of award issued to him | A sum @ 10% of the gross amount of the bill shall be deduced from each running bill of the contractor till sum along with the sum already deposited as earnest money, will amount to security deposit of 5% of tendered value of the work . In addition the contractor shall be required to deposit an amount equal to 5% of the tendered value of the contractor as performance security within the period prescribed for commencement of work in letter of award issued to him. However, security deposit may be released against bank guarantee issued by a schedule bank on its accumulation to a minimum amount of Rs. 5 lakhs subject to the condition that amount of any Bank Guarantee except last one, shall not be less than Rs. 5 lacs. |

# GENERAL CONDITIONS

1.	The contractor must get acquainted with the proposed site of work and study specifications and conditions carefully before tendering. The contractor should submit a tentative programme of work within 10 days of the date of start of work. The contractor must have to work as per programme of the department if so desired specifically. If part of site is not available for any reason, the programme of construction shall be modified to suit availability of site. No claim what so ever will be entertained on this account.

2.	The tenderer should see the approaches and conditions of the site. In case any approach from   main road is required at site or existing approach is to be improved and maintained for cartage of materials by the contractor, the same shall be provided improved and maintained by the contractor at his own cost. No payment shall be made on this account.

3.	In the event of any discrepancy in the description of any item as given in the schedule of quantities appended with the tender and the specifications relating to the relevant item as per CPWD Specifications, the former shall prevail. If the specifications for any item are not available in the CPWD specifications, the relevant ISI specifications shall be followed. In case ISI specifications are also not available, the decision of the Engineer-in-charge given in writing based on acceptable sound engineering practice and local usage shall be final.

4.	Unless otherwise provided in the schedule of quantities the rates tendered by the contractor shall be all inclusive and shall apply to all heights, llfts, leads and depths of the building and nothing extra shall be payable to him on this account.

5.	The contractor shall make his own arrangement for obtainings electrical connections if required and make necessary payments directly to the department concerned.

6.	Some restrictions may be imposed by the security staff etc. in the working and for movement of labour, materials etc. The contractor shall follow all such restrictions, instructions and nothing extra shall be payable on this account.

7.	Preference shall be given to those articles which bear ISI certification mark. In case articles bearing ISI certification mark are not available the quality of samples brought by the contractor shall be judged by the standards laid down in the relevant CPWD Specifications/ISI Specification.  All materials and articles brought by the contractor to the site for use shall conform to the samples approved which shall be preserved till the completion of work. However such articles which bear ISI mark but stands banned by CPWD will not be used.

8.	Rate for all Items in which use of cement is involved is Inclusive of charges for curing.

9.	The foundation trenches shall be kept free from water while all the works below ground level are in progress.

10.	The contractor shall maintain a close liaison with the clients to ensure that there is no hindrance in smooth flow of construction work as well as proper functioning of hospital/school /Institute.

11.	The contractor shall provide at his own cost suitable leveling, weighing and measuring arrangements at site for checking the levels weight/dimensions etc. as may be necessary for execution of the work.

12.	The contractor shall take all precautions to avoid accidents by exhibiting necessary caution boards day and night, speed limit boards, red flags, red lights and providing barriers . He shall be responsible for all damages and accidents caused to existing new work due to negligence on his part. No hinderance shall be caused to traffic during the execution of the work.

13.	No payment shall be made to the contractor for any damage caused by rain, snowfall, floods or any other natural cause what so ever during the execution of work. The damage to work will be made good by the contractor at his own cost and no claim what so ever on this account shall be entertained.

14.	The contractor shall give a performance test to the entire installations as per standing specifications before the work is finally accepted and nothing extra shall be payable to the contractor for this test.

15.	Any cement slurry added over base surface (or) for continuation of concreting for better bond is deemed to have been in built in the items and nothing extra shall be payable or extra cement considered in consumption on this account.

16.	Samples of various materials required for testing shall be provided free of charges by the contractor. Testing charges if any unless otherwise provided, shall be borne by the department. All other expenditure required to be incurred for taking the samples, conveyance, packing etc. shall be borne by the contractor himself.

17.	The structural and architectural drawing shall at all times be properly co-related before executing any work However in case of any discrepancy in the item given in the schedule of quantities appended with the tender and Architectural drawing relating to the relevant Item the former shall prevail unless and otherwise given in writing by the Engineer-in-charge

18.	(a) 	For the purpose of recording measurements and preparing running account bills, the abbreviated nomenclature indicated on the publications abbreviated nomenclature of item of DSR 1992 (bilingual) shall be accepted. The abbreviated nomenclature shall be taken to cover all the materials and operations as per the complete nomenclature of the relevant items in the agreement and other relevant specifications.

(b) 	In the case of items for which abbreviated nomenclature is not available in the above cited publications and also in case of extra and substituted item of work for which abbreviated nomenclature is not provided in the agreement, the full nomenclature of items shall be reproduced in the measurement books and bill forms for running account bill. The full nomenclature of other items shall be adopted in preparing abstract of final bill in the measurement book and also in the bill form for final bill.

19.	The contractor will have to work according to the programme of work decided by the Engineer in Charge. The contractor shall also construct a sample unit complete in all respect within time specified by the Engineer in Charge before mass construction is taken up and this sample unit shall be got approved from the Engineer-in-charge. No extra claim whatsoever beyond the payments due to agreement rate will be entertained from the contractor on this account.

20.	The contractor shall take instructions from the Engineer-in-charge for stacking of materials in any place. No excavated earth or building material shall be stacked on areas where other building, roads, services or compound walls are to be constructed.

21.	If as per Municipal rules the huts for labour are not to be created at the site of work by the contractors, the contractors are required to provide such accommodation as is acceptable to local bodies and nothing extra shall be paid on this account.

22.		The contractor shall have to make his own arrangement for housing facilities for staff and labour away from construction site and shall have to transport the labour to and from between construction site and labour camp at his own cost. No labour huts will be allowed to be constructed at the project site except a few temporary sheds for chowkidars and storekeepers. The decision about how many huts can be allowed for chowkidars and storekeepers at project site shall rest with the Engineer-in-Charge and the contractor shall have no claim on this account.

23.	The contractor shall provide suitable barricading with suitably painted two rows of G.I. sheets about 3’-0” width (90 cms.) nailed or bolted to wooden/iron poles spaced 2 to 3 metre apart and each pole 2.0m to 2.50m long. The wooden poles are of minimum 8 cm to 10 cm dia. The poles will be embedded in mobile iron pedestal rings suitably framed for giving stable support without hindering the traffic as per direction of Engineer-in-Charge. All management (including watch and ward) of barricades shall be the full responsibility of the contractor. The barricades shall be removed only after completion of the work or part of the work. The contractor’s rates shall include all above items of work and nothing extra shall be paid to the contractor over and above his quoted rates.

The temporary warning lamps shall be installed at all barricades during the hours of darkness and kept lit at all times during these hours.

Failure to comply with the requirements mentioned above shall be deemed to be breach of the contract on the part of the contractor for which the contractor shall be liable to action under relevant clauses/conditions of the agreement. The Engineer-in-Charge shall give notice to the contractor for such default and the contractor shall comply with the same within one day of such notice failing which the Engineer-in-Charge will get the barricading set right in accordance with above provisions at risk and cost of the contractor in addition to the compensation payable by the contractor for default.

24.		The contractor shall be required to comply with the provisions of Delhi Labour Welfare Fund notified by the Delhi Govt. on 13.07.2004 as per which if the contractor employs directly or through other persons, five or more than five persons on any working day during the preceding twelve months, owes a statutory obligation to deposit:-

      - Fines realized from employees.

      - Unpaid accumulations.

      - Contribution of employees @75 paise per employee per six months.

      - Contribution of employees @ Rs.2.25 per employee per six months.

As per provisions of the above said act, all employees are covered, except managerial and supervisory staff drawing as wages Rs. 2500/- per month or more, engaged in different establishments and if any employer fails to deposit the amount payable under the provisions of the said act, penal interest would be charged @ 1% p.m. for first three months and thereafter penal interest would be charged @ 1.5% p.m. and the arrears are recoverable as Arrears of  “Land Revenue”.

A.	Necessary deduction of Delhi Value Added Tax effective from April, 2005 shall be made from running and final bill of the contractor as applicable.

25.	CONDITIONS FOR ISSUE OF MATERIALS

  - The material will be issued to contractor at the place of delivery as mentioned in the schedule of materials during the working hours as per rules of CPWD stores as in force from time to time. If these are delivered at any other site, the difference on account of less/more cartage will be adjusted accordingly. The contractor shall have to cart the materials to the site of work at his cost as soon as these are issued.

  - Cement bags shall be stored in separate godown to be constructed by the contractor at his own cost as per sketch (which is only indicative and actual size will depend on the site requirement) at page 39 of CPWD specifications 1996 Vol.-I with weather proof roofs and walls. Each godown shall be provided with a single door with two locks. The key of one lock shall remain with PWD Engineer-in-charge of work and that of the other lock with the authorised agent to the contractor at the site of work so that the cement  is removed from the godown according to the daily requirement with the knowledge of both the parties and proper account maintained in standard proforma.

25.3	The contractor shall be fully responsible for the safe custody of the materials issued to him even if the materials are under double lock system.

25.4	The contractor shall bear all incidental charges for cartage, storage and safe custody of materials issued by department and shall construct suitable godowns yards at the site of work for storing all other materials so as to be safe against damages by sun, rain fire, theft etc. at his own cost, employ necessary watch and ward establishment for the purpose at his own cost, Materials to be charged directly to work and stipulated for issue free of cost shall also be issued to contractor as soon as they are received at site or at the stipulated place of issue. The provisions of this clause will equally and fully be applicable to these items as well.

25.5	All materials obtained from Govt. Stores or otherwise shall be got checked by the Junior Engineer-in-charge of the work on receipt of the same at site before use.

25.6	Cement to be supplied would be OPC or PPC as is available only. No special cement like white cement etc. shall be supplied cement issued will be for consumption at site. No cement will be issued for factory made items and these are not to be manufactured at site.

25.7	The day to day receipts and issue accounts of OPC and PPC cement shall be maintained by the Junior Engineer-in-charge separately and signed daily by the contractor or his authorised agent in the proforma on page25.

25.8	The contractor shall maintain and render proper account of all materials issued to him by the department consumed by him on the work and the balance if any in the first week of every month. If he fail to do so no further quantity of materials shall be issued to him and he shall be fully responsible if any delay occurs in the completion of the work on this account.

25.9	Cement register showing the receipt and issue of cement shall be maintained at site.

26.	TESTING OF MATERIALS

26.1	The contractor shall produce all the materials in advance so that there is sufficient time for testing and approving of the material and clearance of the same before use in work.

26.2	With a view to avoid controversy about quality of cement concrete as revealed in the test results of 7 days cubes falling short of the prescribed standards by over 10% to 20% and pending testing of balance 3 cubes for 28 days as final confirmatory acceptance test, crushed samples of cement concrete from the failed 7 days cubes should be preserved in a sealed bag.

26.3	In case of concrete work, the contractor shall be required to make arrangement for carrying out compression strength tests at his own cost. He shall render all assistance for the preparation of cubes, safe custody of the same carriage upto the laboratory where the test is to be performed. The cube tests shall be performed at any laboratory approved by the Engineer-in-charge.

26.4	In case there is any discrepancy, in frequency of testing as given in list of mandatory test and that of individually sub-heads of work, as per CPWD specifications, 1996(Vol.-I to VI) the higher of the two frequencies of testing shall be followed and nothing extra shall be payable to the contractor on this account.

26.5	The water will be got tested by the contractor at his own cost from the approved laboratory with regard to its suitability for use in the work and nothing extra shall be paid on this account.

27.	Royalty at the prevalent rates shall have to be paid by the contractor on all the building materials as shingle, earth, sand and bajri etc. collected by him for the execution of the work direct to the Revenue authority or authorised agent of the state Govt. concerned or central Government.

28.	The contractor shall be responsible for the protection of sanitary and water supply fittings and fixtures against pilferages and breakage during the period of installation and thereafter till the building is handed over.

SPECIAL CONDITIONS FOR CEMENT & STEEL

1.	The contractor shall, at his own expense procure and provide all materials including cement and steel required for the work.

2.	The contractor shall procure all the materials in advance so that there is sufficient time to testing and approving of the materials and clearance of the same before use in work.

3.	All materials brought by the contractor for use in the work shall be got checked from the Engineer-In-Charge or his authorized representative of the work on receipt of the same at site before use.

4.	The contractor shall also employ necessary watch and ward establishment for the safe custody of materials at his own cost.

5.	Contractor has to produce manufacturers test certificate for each lot of cement & steel procured at site.

6.	CONDITIONS FOR CEMENT:

6.1	The contractor shall procure 43 grade (conforming to IS:8112 ) ordinary portland cement, as  required in the work from reputed manufacturers of cement having a production capacity of one million tonnes or more such as ACC, Ultratech, J.P. Rewa, Vikram,  Shri Cement, Birla Jute & Cement Corporation of India etc. i.e agencies approved by Ministry of Industry, Govt. of India and holding license to use ISI certification mark for their product. The tenderers may also submit a list of names of cement manufacturers which they propose to use in the work. The tender accepting authority reserves right to accept or reject name(s) of cement manufacture(s) which the tenderer proposes to use in the work. No change in the tendered  rates will be accepted if the tender accepting authority does not accept the list of cement manufacturers, given by the tenderer, fully or partially, Supply of cement as approved by Ministry of Industry, Government of India and holding license to use ISI certification mark for their product whose name shall be got approved from Engineer-In-Charge. Supply of cement shall be taken in 50 kg. bags bearing manufacturer’s name and ISI marking, alongwith manufacturers test certificate for each lot. Samples of cement arranged by the contractor shall be taken by the Engineer-In-Charge and got tested in accordance with provisions of relevant BIS Codes. In case test results indicate that the cement arranged by the contractor does not conform to the relevant BIS Codes, the same shall stand rejected and shall be removed from the site by the contractor at his own cost within a week’s time of written order from the Engineer-In-charge to do so.

6.2	The cement shall be brought at site in bulk supply of approximately  50 tonnes or as decided by the Engineer-In-Charge.

6.3	The cement go-down of the capacity to store a minimum of 2000 bags of cement shall be constructed by the contractor at site for which no extra payment shall be made. Double lock provision shall be made to the door of the cement go-down. The keys of one lock shall remain with the Engineer-in-charge or his authorised representative and the key of the other lock shall remain with the Contractor. The contractor shall be responsible for the watch and ward and safety of the cement go-down. The contractor shall facilitate the inspection of the cement go-down by the Engineer-in-charge at any time.

6.4	The cement shall be got tested by Engineer-in-charge and shall be used on work only, after test result have been received. The contractor shall supply free of charge the cement required for testing. The cost of tests shall be borne by the contractor/ Department in the manner indicated below :-

(a)	By the contractor, if the results show that the cement does not conform to relevant BIS codes.

(b)	By the Department, if the results show that the cement conforms to relevant BIS codes.

6.5	The actual issue and consumption of cement on work shall be regulated and proper accounts maintained as provided in Clause -10 of the contract. The theoretical consumption of cement shall be worked out as per procedure prescribed in Clause-42 of the contract and shall be governed by the conditions laid therein.

6.6	If  the  quantity  of  cement  actually  used  in  the  work  is found  to  be  more  than  the  theoretical quantity  of  cement  including  authorised  variation,  nothing  extra  shall  be  payable  to  the contractor  on  this  account .  In  the  event  of  it  being  discovered  that  after  the  completion  of  the work,  the  quantity  of  cement  used  is  less  than  the  quantity  ascertained   as herein  before provided  (allowing  variation  on  the  minus  side  as  stipulated  in  Clause  -  42),  the  cost  of quantity  of  cement  not  so  used  shall  be  recovered  from  the  contractor  @  Rs. …………….      (Rupees  …………………………………………………………………… Only)  per  metric  tonne.   Decision  of  the  Engineer-In-Charge  in  regard to theoretical quantity of cement which should have been actually used as per the schedule and recovered at the rate specified, shall be final and binding on the contractor.

For non-scheduled items, the decision of the Superintending Engineer regarding theoretical quantity of the cement which should have been actually used, shall be final and binding on the contractor.

6.7	Cement brought to site and cement remaining unused after completion of work shall not be removed from site without written permission of the Engineer-in-charge.

6.8	Damaged cement shall be removed from site immediately by the contractor on receipt of a notice in writing from the Engineer-in-Charge. If he does not do so within three days of the receipt of such notice, the Engineer-in-Charge shall get it removed at the cost of the contractor.

6.9	In case the contractor brings surplus quantity of cement  the same shall  be removed from the site after completion of work by the contractor at his own cost after approval of the Engineer-in-charge.

6.10	The cement in bags shall be stacked by the contractor in two godowns one for fresh arrival to be tested for quality and another already tested in use having weather proof roof and walls and on a proper floor consisting of two layers of dry bricks laid on well consolidated earth at a level at least 30 cm above the ground level. These stacks shall be in rows of two bags deep and 10 bags high with a minimum of 60 cm. clear space all round . The bags should be placed horizontally continuous in each line as shown in the accompanying sketch given in CPWD Specification - 1996 Vol.I to Vol. VI and revised Vol. II of 2002 with upto date correction slips . The sketch is only for guidance. Actual size / shape of godowns shall be as per site requirement and nothing extra shall be paid on this account.

6.11	Cement register for the cement shall be maintained at site. The account of daily receipts and issue of cement shall be maintained in the register by the authorised representative of the Engineer-in-charge and signed daily by contractor or his authorized agent.

6.12	Cement which is not used within 90 days from its date of manufacture shall be tested at laboratory approved by the GOVT. OF NCTD.  until the results of such tests are found satisfactory, it shall not be used in any work.

7.	CONDITIONS FOR STEEL:

7.1	The contractor shall procure Thermo-mechanically treated (T.M.T.) -steel reinforcement bars conforming to relevant BIS codes from  main producers as approved by the Ministry of Steel and secondary producers or re- rollers having valid BIS license. For TMT bars conforming to relevant BIS code, procurement shall be made from main producers and secondary producers having valid BIS license. The contractor shall have to obtain and furnish tests certificates to the Engineer-in-Charge in respect of all supplies of steel brought by him to the site of work. Samples shall  also be taken and got  tested by the Engineer-in-Charge as per the provisions in this regard in relevant BIS codes. In case the test results indicate that the steel arranged by the contractor does not conform to BIS codes; the same shall stand rejected and shall be removed from the site of work by the contractor at his own cost within a week’s time from written orders from the Engineer-in Charge to do so.

7.2	The steel reinforcement shall be brought in bulk supply of 20 tonnes or more or as decided by the Engineer-in-Charge alongwith manufacturer test certificate for each lot.

7.3	The steel reinforcement shall be stored by the contractor at site of work about 30cm. to 45 cm. above ground. A coat of cement wash shall be given to steel bars when stored at site for long duration so as  to prevent corrosion. Nothing extra shall be  paid on these account. Bars of different sizes and lengths shall be  stored separately to facilitate easy counting and checking.

7.4	For checking normal mass, tensile strength, bend test, re- bend test etc. specimen of sufficient length shall be cut from each size of the bar at random at frequency not less than that specified below: -

| Size of Bar | For Consignment Below 100 Tonnes | For Consignment over 100 Tonnes |
| --- | --- | --- |
| Under 10mm dia bars | One set of sample for each 25 tonnes or part thereof. | One set of sample for each 40 tonnes or part thereof. |
| 10mm upto 16mm dia bars | One set of sample for each 35 tonnes or part thereof. | One set of sample for each 45 tonnes or part thereof. |
| Over 16mm dia bars | One set of sample for each 45 tonnes or part thereof. | One set of sample for each 50 tonnes or part thereof. |

7.5	The contractor shall supply free of charge the steel required for testing. The cost of testing. The cost of tests shall be borne by the contractor/ Department in the manner indicated below:

(a)	By the contractor, if result, show that the steel does not confirm to relevant BIS codes.

(b)	By the Department, if the results show that the steel confirm to relevant BIS codes.

7.6	The Actual issue and consumption of steel on work shall be regulated and proper account maintained as provided in Clauses 10 of the contract. The theoretical consumption of steel shall be worked out as per procedure prescribed in Clause 42 of the contract and shall be governed by conditions laid therein.

7.7	The actual issue of steel shall be actual weight  of total quantity of Steel received at the site less actual weight of balance quantity  of steel lying unutilised at  the work site.

7.8	Steel brought to site and steel remaining unused shall not be removed from site without the written permission of the Engineer-in-Charge.

7.9	In cases the contractor bring surplus quantity of steel the same after completion of the work will be removed from the site by the contractor at his  own cost after approval of the Engineer-in- Charge.

7.10	The mild steel and medium tensile steel bars to be used shall conform to latest version of IS 432 and cold twisted bars and TMT bars shall conform to the latest version of IS : 1786.

7.11   (i)	Reinforcement including authorized spacer bars and lap pages shall be measured in length of different diameters as actually (not more than as specified in the drawings) used in the work nearest to a centimeter. Wastage and unauthorized overlaps shall not be measured.

(ii)	The standard sectional weights referred to as in Table IV in para 5.3.3 in CPWD Specifications 1996  Vol. I to VI and revised Vol. II of 2002 with upto date correction slips for works will be considered for conversion of length of various sizes of M.S. Bars, Tor Steel Bars and T.M.T.bars into Standard Weight.

(iii)	Records of actual Sectional weights shall also be kept dia-wise and lot-wise. The average sectional weight for each diameter shall be arrived at from samples from each lot of steel received at site. The decision of the Engineer-in-Charge shall be final for the procedure to be followed for determining the average sectional weight of each lot. Quantity of each diameter of steel received at site of work each day will constitute one single lot for the purpose. The weight of steel by conversion of length of various sizes of bars based on the actual weighted average sectional weight shall be termed as Derived Actual Weight.

(iv)        (a)	If the Derived Weight as in sub-para (iii) above is lesser than the Standard Weight as in Sub-para (ii) above then the Derived Actual Weight shall be taken for payment.

(b)	If the Derived Actual Weight is found more than the Standard Weight, the Standard Weight as worked out in sub-para (ii) above shall be taken for payment. In such case nothing extra shall be paid for the difference between the Derived Actual Weight and the standard Weight.

8.	SPECIFICATIONS OF THERMO-MECHANICALLY TREATED BARS (TMT BARS):

8.1	Thermo-Mechanically Treated Bars (TMT Bars) of Fe 415 Grade, conforming to IS-1786 Specifications shall be used in all R.C.C. works.

8.2	Bars are currently produced in various grades by M/s. Steel Authority of India Limited (SAIL), M/s. Tata Steel and M/s. Rashtriya Ispat Nigam Ltd. with trade names of SAIL (TMT), TISCON-TMT and Rebars respectively.

8.3	The grades, chemical and mechanical properties of different varieties are as per Table I, II & III

TABLE-I

| S.NO. | M/S SAIL | M/S TATA STEEL | M/S RASHTRIYA ISPAT NIGAM LTD. | YIELD STRESS (0.2% PROOF STRESS) CONSIDERING EQUIVALENT AS PER IS:1786 |
| --- | --- | --- | --- | --- |
| 1 | SAIL TMT - 415 | TISCON TMT - 42 | REBARS - 415 | 415 N/MM2 |

TABLE-II

CHEMICAL COMPOSITION IN %

|  | IS-1786 Fe 415 | SAIL TMT ALL GRADES | TISCON TMT - 42 | (RINL) REBARS ALL GRADES |
| --- | --- | --- | --- | --- |
| CARBON | 0.300 | 0.250 | 0.170 | 0.200 |
| SULPHUR | 0.060 | 0.050 | 0.045 | 0.040 |
| PHOSPHOROUS | 0.060 | 0.050 | 0.045 | 0.050 |
| SULPHUR PHOSPHOROUS | 0.1100.100 |  | 0.090 | 0.090 |

TABLE-III

MECHANICAL PROPERTIES

|  | IS - 1786 | SAIL - TMT | TISCON | (RINL) REBARS |
| --- | --- | --- | --- | --- |
| GRADE | Fe - 415 | 415 | TMT - 42 | Fe - 415 |
| YIELD STRENGTH (N/mm2) | 415 | 415 | 450 | 460 |
| TENSILE STRENGTH (N/mm2) | 485 | 500 | 510 | 520 |
| ELONGATION % | 14.5 | 22 | 20 | 20 |

SPECIFICATION FOR WORK EXECUTION

- General

1.1	Subject to the nomenclature of the item and the specifications indicated hereafter, the work, in general, shall be carried out in accordance with the CPWD specifications 1996 volume I and volume VI read with correction slips issued upto the date of tenders and relevant IS codes.

1.2	Wherever reference to any Indian Standard specifications occurs in the document relating to this contract, the same shall be inclusive of all amendments issued thereto or revisions thereof, if any, upto the date of receipt of tender.

1.3	Before commencement of the work, the contractor shall correlate nomenclature of the item with all the relevant architectural and structural drawings to satisfy himself that the information available there from is complete and unambiguous. The figures and the written dimensions on the drawing shall supercede the measurement by scale. The contractor submits for approval of Engineer-in-Charge his workshop drawings and the sample of the work to be performed under the specified items of work before actually commencing the mass execution of work under the item. Nothing extra shall be payable on this account.

1.4	The discrepancy in the drawing issued, if any, shall be brought to the notice of the Engineer-in-Charge for immediate decision before execution of the work. The contractor, alone, shall be responsible for any loss or damage occurring by the commencement of work on the basis of any erroneous and incomplete information and no claim, whatsoever, shall be entertained on this account.

1.5	The work shall be executed and measured as per metric dimensions given in the Schedule of Quantities, drawings etc. (FPS units wherever indicated are for guidance only).

1.6	The following modifications to the specifications and some additional specifications  shall however apply.

- All stone aggregate and stone ballast shall be of hard stone variety to be obtained from approved quarries or any other source to be got approved by Engineer-in-charge.

- Sand to be used for cement concrete work, mortar for masonry and plaster work shall be of standard quality. The same shall be screened and washed as required. The same shall consist of hard sillicious materials. It should be clean sand.

1.7	Wherever any reference to any Indian Standard specifications occurs in the documents relating to this contract the same shall be inclusive of all amendments issued there to or revisions thereof if any, upto the date of receipt of tenders.

1.8	Unless otherwise specified in the Schedule of Quantities, the rates for all items of the work shall be considered as inclusive of pumping out or bailing out water if required for which no extra payment will be made. This will include water encountered from any source, such as rains, floods, subsoil water table being high due to any other cause whatsoever.

1.9	Nothing extra shall be paid for making holes in walls/RCC members etc for fixing suspenders and frame work and making good to restore the original surface of the building.

- Steel Work

2.1	Door Frame: The rate of T-angle iron frame shall include the following:

- M.S. sill/tie of 16mm dia bar welded to T-iron frames to keep the frames vertical in correct position. The sill/tie shall be embedded in floor concrete. No tie is necessary for window frames.

- Each T-iron frames for doors shall have 4 nos. M.S. lugs 15x3mm, 10cms long welded to each vertical member of the frame.

- M.S. plate 8x25mm, 100mm long having threaded holes (No. of flats shall correspond to the No. of butt hinges to be fixed to door/window shutter) shall be welded at appropriate places at the back of the T-iron frames for fixing the required butt hinges to the frame with machine screws M.S flats 8x25mm, 50mm long with threaded holes shall be welded to the back of the T-sections to receive the butt hinges for the cleats.

2.2	Structural Steel: The contractor shall procure structural steel conforming to relevant codes from main producers and approved by the Ministry of Steel viz. SAIL, TISCO, IISCO and RINL and secondary producer having valid BIS License. The contractor shall have to obtain and furnish test certificate to the Engineer-in-Charge in respect of all supplies of steel brought by him to the site of work. Samples shall also be taken and got tested by the Engineer-in-Charge. One sample for each 20 metric tonne or part thereof shall be got tested as per the provision of CPWD Specifications 1996. In case the test results indicate that the steel arranged by the contractor does not confirm to the specification, the same shall stand rejected and shall be removed from the site of work by the contractor at his own cost within a week time. All welded steel work shall be treated for quality of weld as laid down in IS:822-1970 before actual erection.

2.3	Steel Windows/Ventilators: Flash butt welded steel windows/ventilators only shall be used and can be procured from the approved manufactures.

- M/S United Engineering Works, Ramnagar, Loni Road, Shahdara, Delhi.

- M/S Metal Window Corporation, Anand Parbat, New Rohtak Road, New Delhi.

- M/S SKS Steel Industries, Piragarhi Chowk, Delhi.

All fabrication and welding shall be done in workshop from duly approved firms. In  case the above firms are not in a position to supply prior permission of Superintending Engineer, PWD Circle - IV is to be obtained before procurement. The steel door, windows ventilators so provided shall according to IS. 1038. Welding shall be flash butt welding for steel doors, windows and ventilators made from standard rolled steel section. In other case where flash butt welding can not be done by the suitable method to from solid fused welding joint, welding by other method can be allowed but with proper approval of Superintending Engineer, P.W.D Circle – IV. The sill, tie, lugs, curtain brackets and flats welded for fixing hinges and cleats shall not be measured for the purpose of payment.

3.0	Flooring

3.1	Only machine cut Kota stone, sand stone, marble, granite slabs shall be used for flooring and veneering work.

3.2	Proper gradient shall be given to flooring for toilets, verandah, kitchen, court yard etc. shall be determined by providing required gradient to the lean concrete/ sub grade surface.

3.3	The bed mortar or concrete shall be fully compacted, particularly at the junctions of  panels, during laying of flooring so that the  finished floor does not give hollow sound.

4.0	Red Sand Stone Chajja

4.1	Stone slabs shall be hard, sound and durable. These shall be chisel dressed on all faces which are exposed to view and rough dressed at other surface. Angles shall be true and edge lines straight. The finished thickness shall be as stipulated with permissible tolerance of +  2mm. The length of stone slabs in chajja shall be in one piece unless otherwise specified.

4.2	In horizontal chajja, the stone shall be fixed horizontally with a slight outer slope of about 1cm. It shall have minimum bearing of 15cm on the wall. Holding down bolt shall be provided.

4.3	The joints shall be pointed with 1:2 cement mortar (1 cement : 2 stone dust) with an admixture of pigment to match the stone shade and properly cured.

4.4	Specifications for curing, protections and scaffolding shall be as specified under 7.4 of CPWD Specification Vol.-II.

4.5	The length and breadth of the finished work shall be measured correct to a cm. The area of chajja projecting beyond the wall shall be calculated in Sqm. correct to two places of decimal. In the sloping chajja the sloping breadth shall be measured correct to a cm and the area of chajja projecting beyond the wall shall be calculated in Sqm. correct to two places of decimal.

4.6	The rate shall include the cost of all materials and labour involved in all the operations described above.

5.0	Red Sand Stone Roofing

5.1	Sand Stone Slab: The stone slabs shall be hard, even sound and durable. They shall not absorb more than 5% of their dry weight of water after twenty four hours immersion. Slabs shall have been sawn or chiseled in plane parallel to the natural bed of stone. The slabs shall be rough chisel dressed on the top and bottom so that the dressed surface shall not be more than 6mm from a straight edge placed on it. The edges of the depressions or projections shall be chisel dressed in a slant, so that surface does not have sharp unevenness. The sides shall also be chisel dressed to a minimum depth of 20mm so that the dressed edges shall at no place be more than 3mm from a straight edge butted against it. The thickness of the slab shall be uniform and as specified in the item with a permissible tolerance of 2mm. The slabs shall be uniform in length, the length being 5mm to 8mm less than the center to center spacing of the supporting angle/T-iron beams. Unless the design location required some other shape the slabs shall be rectangular. The width of the slabs may vary unless otherwise stipulated but shall not be less than 40cm.

5.2	Rafter Spacing: The maximum spacing of rafters supporting the slabs shall not exceed figures given in table.

TABLE

Thickness of Slabs					Maximum Spacing of Rafters

40mm								52.50cm

45mm								60.00cm

50mm								68.00cm

The bearing of slabs over the rafters shall not be less than 30mm. For bearing over the wall, the stone slabs shall be bedded over a layer of cement mortar 1:4 (1 cement : 4 fine sand) of thickness not less than 12mm.

5.3	Laying: The slabs shall be washed clean and wetted before being laid. The stone slabs shall be jointed in cement mortar 1:4 (1 cement : 4 coarse sand). The width of joints shall not be more than 8mm not less than 5mm. The top joints shall be finished flush and ceiling joints pointed with the cement mortar 1:3 (1 cement : 3 fine sand).

5.4	Finish: The finished surface shall be true level or slopped as shown in the plan or as directed by the Engineer-in-Charge. It shall be cleaned off all mortar droppings and cement markings both on top and on the underside.

5.5	Curing: The slabs and their joints shall be kept wet during progress of work and for 7 days after completion.

5.6	Measurements: Length and width of finished stone slab work including bearing shall be measured correct to a cm. The area shall be calculated in Sqm. correct to two places of decimal. No deduction in area shall be made for openings in roof slab for chimney, stacks, roof lights etc. of area upto 40 square decimeter nor shall any extra be paid for extra labour, materials etc. in cutting and wastage in forming such openings. For openings exceeding 40 square decimeter in area, deduction shall be made in measurements for the full opening but extra shall be paid for extra labour, material etc. in forming such openings.

5.7	Rate: The rate shall include the cost of all materials and labour involved in all the operations described above.

6.0	Finishing

6.1	The water proofing cement paint, primer, synthetic enamel paint, bitumen and distemper etc. of approved manufacture shall only be brought to the site of work in the original sealed containers. The material brought to the site of work shall be sufficient for work of at least 30 days.

6.2	The material shall be kept under the joint custody of contractor and Engineer-in-Charge. The empty containers shall not be removed from the site till the completion of the work.

7.0	Integral Water Proofing Finishing

7.1	The contractor must associate himself with the specialized firm to be approved by the Engineer-in-Charge in writing for integral cement based water proofing treatment for sunken floors and on roofs. 10 years guarantee in prescribed proforma attached must be given by the specialized firm, which shall be countersigned by the contractor, in taken of his overall responsibility. In addition 10% (ten percent) of the cost of these items would be retained as guarantee to watch the performance of the work done. However, bil of this amount (with held) would be released after five years, if the performance of the work done is satisfactory. If any defect is noticed during the guarantee period, it should be rectified by the contractor within seven days and if not attended to the same will be got done by another agency at the risk and cost of the contractor. However, this security deposit can be released in full, if bank guarantee of equivalent amount for 10 years is produced and deposited with the department. While tendering the contractor must give

- The name of the specialized firm.

- The trade name of the product which would be used.

- List of works where this treatment has been used.

- Quantity of chlorides and sulphides used in the product.

8.0	Variation in Consumption of Pig Lead

8.1	The pig lead for caulking of joints SCI pipes shall be issued as per theoretical consumption for SCI pipes of size 100mm, 75mm, 50mm at 0.98Kg., 0.88Kg. and 0.77Kg. per joint respectively. Over and above the theoretical quantities of lead as marked out, variation of 5% shall be allowed for wastage etc. Any difference between the actual consumption of pig lead and theoretical consumption worked out on the above basis including the authorized variation shall be recovered at stipulated rate + 10%. Where the pig lead is arranged by the contractor, variation 5% will be allowed. In case variation is on lower side, the quantity of pig lead used less shall be recovered from the contractor at market rate to be determined by Engineer-in-Charge whose decision in the matter will be final.

9.0	The theoretical quantity of cement to be utilized in item of concrete involving use of single aggregate and mixed by volume batching shall be computed on the basis of the co-efficient for cement to be used in different items of the work provided in DSR reducing each of the co-efficient by 5%. However, where the concrete is mixed by weight batching no such reduction shall be made from theoretical co-efficient given in DSR 2002 for concrete with crushed stone aggregate.

10.0	Fixtures, Fittings, Finishing Items

Samples of all the fittings, fixtures, finishing items shall be got approved from Engineer-in-Charge well in advance before bulk procurement. The approved samples shall be kept at site till completion of work. No claim for extra payment on this account shall be made by the contractor.

11.0	Water Supply and Sanitary Installation

The contractor shall be responsible of the protection of the sanitary and water supply fittings and other fittings and fixtures against pilferages and breakage during the period of installation and thereafter until the building is handed over.

12.0	Variation Consumption of Materials

The variation in consumption of material shall be governed as per CPWD Specifications and clauses of the contract to the extent applicable.

- Brick Bat Terracing/Water Proofing

13.1	The water proofing compound used in integral water proofing treatment shall satisfy all the performance requirements indicated in IS:2645 and shall be got tested before its use. The compound shall be used @ 2% by weight of cement used or as recommended by the manufacturer.

13.2	Total quantity of water proofing compound required shall be arranged only after obtaining the prior approval of the Engineer-in-Charge in writing. Materials shall be kept under double lock and key and proper account of the water proofing compound used in the work shall be maintained. It shall be ensured that the consumption of the compound is as per specified requirements.

  - The finished surface after water proofing treatment for roof slab shall have smooth slope.

  - Before commencement of treatment on roof surface, it shall be ensured that the outlet drain pipes/spouts have been fixed and the spout openings have been eased and rounded off properly for easy flow of water.

- Guarantee Bond

14.1	Ten years guarantee bond in prescribed proforma attached at Annexure-I herewith shall be submitted by the contractor which shall also be signed by both the specialized agency and the contractor to meet their liabilities under the guarantee bond. However, the sole responsibility about efficiency of water proofing treatment shall rest with the building contractor.

14.2	5% of the cost of water proofing work shall be retained as security deposit and the amount so with held would be released after ten years from the date of completion of the entire work under the agreement, if the performance of the work don is found satisfactory. If any defect is noticed during the guarantee period, it shall be rectified by the contractor within seven days of receipt of intimation of defects in the work. If the defects pointed out are not attended to within the specified period, the same will be got done from another agency at the risk and cost of contractor.

14.3	However, the security deposit deducted may be released in full against bank guarantee of equivalent amount in favour of Engineer-in-Charge, if so decided by the Engineer-in-Charge.

14.4	The security deposit against this item of work shall be in addition to the security deposit mentioned else where in contrat form.

- Water Proofing of Sunken Portion Area

15.1	Application of cementitous organic chemical based coating as per manufactures specifications of Kryton or equivalent in two coats applied on vertical and horizontal surface after laying of all pipes and smooth plugging of holes.

15.2	Concrete surface on which water proofing is desired shall be kept wet for 48 hours after cleaning of all dirt, oil grease, bitumen, laitance or other contaminants.

15.3	Surface water shall be removed prior to application of waterproofing, but surface shall remain wet during the application to enhance deep penetration and formation of crystals at greater depth to block voids.

15.4	The area shall be protected from sun and rain for 48 hours and continuous flooding for 7 days.

15.5	Flooding shall be done for 72 hours to test the area for any leakage/seepage etc. In case of failure, the process shall be repeated and tested against by the contractor at his own risk and cost.

  - 10 years guarantee shall be given on non-judicial stamp paper.

  - Rates shall be inclusive of all operations including labour, material, T&P, scaffolding and testing etc. complete. Nothing extra shall be payable on any amount.

  - The work shall be carried out only through specialized agency.

  - The specialized agency has to be got approved from Superintending Engineer, PWD Circle - IV before the start of work.

ANNEXURE-E

FORM OF PERFORMANCE SECURITY/

BANK GUARANTEE BOND

- In consideration of the President of India (hereinafter called “the Government”) having agreed under the terms and conditions of agreement No.________dated________made between______________________and____________________________{hereinafter called “the said contractor(s)”} for the work ___________________________ __________________________________________________________________________________________________________(hereinafter called “the said agreement”)  having agreed to production of an irrevocable Bank Guarantee for Rs._____________________ (Rupees __________________________________ only) as a security/guarantee from the contractor(s) for compliance of his obligations in accordance with the terms and conditions in the said agreement,

We _________________________________________                               	   			                           (indicate the name of the Bank)

(hereinafter referred to as “the Bank”)  hereby undertake to pay to the Government an amount not exceeding Rs.___________/- (Rupees_________________________only) on demand by the Government.

2. We _____________________________________________ do hereby undertake to                                                 (indicate the name of the Bank)

pay the amounts due and payable under this Guarantee without any demure, merely on   a demand from the Government stating that the amount claimed is required to meet the recoveries due or likely to be due from the said contractor (s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs.___________/-(Rupees_______________________only).

3.	 We, the said bank further undertake to pay to the Government any money so demanded    notwithstanding any  dispute or disputes raised by the contractor(s) in any suit or proceeding pending before any court or Tribunal relating thereto, our liability under this present being absolute and unequivocal.

The payment so made by us under this bond shall be a valid discharge of our liability for payment there under and the contractor(s) shall have no claim against us for making such payment.

4. We________________________________________further agree that the guarantee                           (indicate the name of the Bank)

herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the Government under or by virtue of the said agreement have been fully paid and its claims satisfied or discharged or till Engineer-in-Charge, on behalf of the Government, certifies that the terms and conditions of the said agreement have been fully and properly carried out by the said contractor(s)   accordingly discharges this guarantee.

5.    We__________________________________ further agree with the Government that

(indicate the name of the Bank)

the Government shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time or from time to  time any of the powers exercisable by the Government against the said contractor(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said contractor(s) or for any forbearance, act of omission on the part of the Government or any indulgence by the Government to the said contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

6.	This guarantee will not be discharged due to the change in the constitution of the Bank or the  contractor(s).

7.  We_________________________________________________ lastly undertake not to

(indicate the name of bank)

revoke this guarantee except with the previous consent of the Government in   writing.

8. This guarantee shall be valid upto_____________ unless extended on demand by Government.   Notwithstanding anything mentioned above, our liability against this Guarantee is restricted to Rs.____________/-(Rupees_____________________only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee, all our liabilities under this guarantee shall stand discharged.

Dated  the   _______   day of_________________________

for________________________________________

(Indicate the name of the Bank)

ANNEUXURE-F

AFFIDAVIT

I/ we have submitted a bank guarantee for the work  :………………………………………………………………………………………………..(Name of work)

Agreement No …………………………………..…… dated……………………………………. From…………………………………………(Name of bank with full address)

to the Executive Engineer…………………………………………………………. (Name of division)

With a view to seek exemption from payment of security deposit / performance guarantee / guarantee money for expansion joint/ Electrometric bearing/ bitumen mastic wok in cash. This bank guarantee expires on……………………………………………………………………………

I /we undertaken to keep the validity of the bank guarantee intact by getting it extended from time to time at my/ our own initiative upto a period ………………………………… …………………………. Months after the recorded date of completion of the work or as directed by the Engineer-in-charge.

i/we also indemnify the government against any losses arising out of………….. non encashment of the bank guarantee if any

Deponent

Signature of contractor

The affidavit is to be given by the executants before a first class Magistrate.

LIST OF APPROVED MATERIAL

| 1 | Structural Steel | : | RINL, TISCO, SAIL, IISCO and secondary producer having valid BIS License. |
| --- | --- | --- | --- |
| 2 | Steel Windows | : | 1. M/S United Engineering Works Ram Nagar, Loni Road, Shahdara, Delhi. 2. M/S Metal Window Corporation Anand Parvat, New Rohtak Road, New Delhi. 3. M/S S.K.S. Steel Industries Peragarhi Chowk, Delhi. |
| 3 | Glazed Tiles | : | Kajaria, Nitco, Orient, Somany |
| 4 | W.C. Pan (a) Steel (b) White Vitreous China | : : | AMC Nirali or equivalent. Hindustan Sanitaryware, Parryware, Neycer. |
| 5 | G.I. Pipe | : | GST, Jindal Hissar, Kallinga |
| 6 | CP Pillar Cock (a) 15mm Nominal Dia | : | ISI marked 650gms of approved make. |
| 7 | Water Proofing Cement Paint | : | Super Snowcem, Asian, Nerolac |
| 8 | Cement | : | L&T, ACC, VIKRAM Grade, JP Rewa, JK Cement, Birla |
| 9 | Steel | : | RINL, TISCO, SAIL, IISCO and secondary producer having valid BIS License. |
| 10 | Synthetic Enamel Paint | : | Apcolite, Senthemite, Dulux, Luxol, Nerolac, Barolac, Asian |
| 11 | PTMT Bib Cocks/Stop Cocks | : | Symet or equivalent |
| 12 | Water Tank | : | Sintex, Electroplast, Star, Lotus |
| 13 | CI Manhole Cover | : | RIF, NECO, BC |
| 14 | FRP Sheet, Corrugated Sheet, Stepdown and Flat Both Side Texture, Texture not Exceeding 0.5mm | : | Simba product or equivalent as per approved by Superintending Engineer, PWD Circle M-23. |
| NOTE: | For any other make, prior approval of the Executive Engineer, PWD CBM Divn. M-233 is required. |  |  |

LIST OF PREFERRED MAKES OF MATERIALS FOR SANITARY WORKS

| S.No. | Material | Relevant ISI Code | Brand Name |
| --- | --- | --- | --- |
| 1 | Vitreous China Sanitary Ware | 2556 | Parryware, Hindustan Sanitary ware, Neycer |
| 2 | White Glazed Fire Clay Sink | 771 | Sanifire, Cera, Neycer, AMC, Orient, Suhag |
| 3 | Stainless Steel Sink |  | AMC, Orient, Suhag |
| 4 | Plastic Seat Cover of W.C. | 2548 | Commander, Bestolite, Diplomat |
| 5 | CP Fittings Mixer/ Pillar Taps Washers | 1795 4291 | Gem., Parko, Kingstone, Hansa Gem., Parko, Kingstone, Hansa |
| 6 | CP Accessories | 4827 | Gem., Parko, Kingstone, Hansa |
| 7 | Sand Cast Iron Pipes & Fittings | 1729 | RIF, NECO, BC |
| 8 | Pig Lead | 782 |  |
| 9 | GI Pipes | 1239 Part-I | GST, Jindal Hissar, Kallinga |
| 10 | GI Fittings | 1239 Part-I | R, Unik, K.S. |
| 11 | Gun Metal Valves | 778 | Zoloto, Leader, Sant, Kilburn |
| 12 | Brass Stop & Bib Cock | 781 | Zoloto, Sant, L & K |
| 13 | Ball Valve with Floats | 1703 | Zoloto, Leader, Sant |
| 14 | Stoneware Pipes & Gully Traps | 651 | Prefect, Burn, Hind |
| 15 | RCC Pipes | 458 | IS Marked Pipes |
| 16 | CI Manhole Covers | 1726 | RIF, NECO, BC |
| 17 | Water Tank |  | Sintex, Unitank |
| 18 | Mirror Glass |  | Golden, Atul |

SCHEDULE OF QUANTITIES

State	Delhi	Division	CBMD M-233

Branch	B&R	Sub-division

Name of Work :	Renovation of toilet at I.T.I. Khichripur, Delhi.

SH   1   B R I C K    W O R K

1.1	Half brick masonry with F.P.S. brick of class designation 75 in

foundations and plinth in :

1.1.1	cement mortar 1:4 (1 cement : 4 coarse sand)

1.5	sqm	174.85	sqm	262.00

(Rupees One Hundred Seventy Four and

Paise Eighty Five Only)

1.2	Extra for half Brick masonry in superstructure above plinth

level upto floor V level.

1.5	sqm	22.00	sqm	33.00

(Rupees Twenty Two Only)

SubTotal	295.00

SH   2   F L O O R I N G

2.1	Kota stone slab flooring over 20 mm (average) thick  base laid

over and jointed with grey cement slurry mixed with pigment to

match the shade of the slab including rubbing and polishing

complete  with base of cement mortar 1 : 4 (1 cement : 4 coarse

sand) :

2.1.1	25 mm thick.

150	sqm	493.10	sqm	73 965.00

(Rupees Four Hundred Ninety Three and

Paise Ten Only)

2.2	Kota stone slabs 25 mm thick in risers of steps, skirting, dado

and pillars laid on 12 mm (average) thick cement mortar 1:3 (1

cement 3 coarse sand) and jointed with grey cement slurry

mixed with pigment to match the shade of the slabs, including

rubbing and polishing complete.

15	sqm	503.00	sqm	7 545.00

(Rupees Five Hundred Three Only)

2.3	Providing and fixing Ist quality ceramic glazed tiles

conforming to IS : 13753 of minimum thickness 5 mm of

approved make like NITCO, ORIENT, SOMANY KAJARIA, or

equivalent make in all colours, shades, design and prints

except begundy, bottle green, black of any size as approved by

Engineer-in-Charge in skirting, risers of steps and dados

over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3

coarse sand) and jointing with grey cement slurry @ 3.3kg per

sqm including pointing in white cement mixed with pigment of

matching shade complete.

250	sqm	373.30	sqm	93 325.00

(Rupees Three Hundred Seventy Three and

Paise Thirty Only)

2.4	Providing and laying Ceramic glazed floor tiles 300x300 mm

(thickness to be specified by the manufacturer) of 1st

quality conforming to IS : 13755 of NITCO, ORIENT, SOMANY

KAJARIA, or equivalent make in colours such as White, Ivory,

Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4

(1 Cement : 4 Coarse sand) including pointing the joints with

white cement and matching pigment etc., complete.

25	sqm	478.90	sqm	11 973.00

(Rupees Four Hundred Seventy Eight and

Paise Ninety Only)

SubTotal	186 808.00

SH   3   R O O F I N G

3.1	Providing and fixing on wall face unplasticised Rigid PVC rain

water pipes conforming to IS : 13592 Type A including jointing

with seal ring conforming to  IS : 5382 leaving 10 mm gap for

thermal expansion.(i) Single socketed pipes

3.1.1	110 mm diameter

24	metre	126.65	metre	3 040.00

(Rupees One Hundred Twenty Six and

Paise Sixty Five Only)

SubTotal	3 040.00

SH   4   REPAIRS TO BUILDINGS

4.1	Renewing glass panes, with putty and nails wherever necessary:

4.1.1	Glass panes weighing 10 kg/sqm

25	sqm	329.50	sqm	8 238.00

(Rupees Three Hundred Twenty Nine and

Paise Fifty Only)

SubTotal	8 238.00

SH   5   DISMANTLING & DEMOLISHING

5.1	Dismantling stone slab flooring laid in cement mortar including

stacking of serviceable material and disposal of unserviceable

material within 50 metres lead.

150	sqm	26.60	sqm	3 990.00

(Rupees Twenty Six and Paise Sixty

Only)

5.2	Dismantling C.I. or asbestos rain water pipe with fittings and

clamps including stacking the material within 50 metres lead :

5.2.1	75 to 80 mm dia pipe.

20	metre	7.50	metre	150.00

(Rupees Seven and Paise Fifty Only)

5.2.2	100 mm dia pipe

20	metre	7.75	metre	155.00

(Rupees Seven and Paise Seventy Five

Only)

5.3	Dismantling old plaster or skirting raking out joints and

cleaning the surface for plaster including disposal of rubbish

to the dumping ground within 50 metres lead.

250	sqm	5.40	sqm	1 350.00

(Rupees Five and Paise Forty Only)

SubTotal	5 645.00

SH   6   MISC. BUILDING WORKS

6.1	Providing and fixing 30mm thick factory made PVC rigid foam

panelled door shutters manufactured by M/s Rajshri or equivalent made from M.S. tube of 19 gauge thickness, size 19x19mm for styles and 15x15mm for top and bottom rails, covered with heat moulded PVC "C" channel of 5mm thick sheet and 30x50mm wide to form styles and 5mm thick and 75mm wide PVC sheets for top rail, lock rail and bottom rail on either side and 5mm thick, 20mm wide cross PVC sheet as gap insert for top rail and bottom rail, panelling of 5mm thick PVC sheet fitted in the M.S. frame welded/sealed to the styles and rails with 5x30mm PVC sheet beading on either side and joined together with solvent cement adhesive etc., complete as per manufacturers specification and direction of Engineer-in-Charge fixed to frames with 4 Nos. M.S. powder coated butt hinges  (For W.C. and bathroom shutters).

22	sqm	1 753.00	sqm	38 566.00

(Rupees One Thousand Seven Hundred

Fifty Three Only)

SubTotal	38 566.00

SH   7   SANITARY INSTALLATIONS

7.1	Providing and fixing water closet squatting pan (Indian type

W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low

level white P.V.C. flushing cistern with manually controlled

device (handle lever) conforming to IS : 7231, Parryware/

Hindware/ Seabird/ Orient (Coral) with all fittings and

fixtures complete including cutting and making good the walls

and floors wherever required :

7.1.1	White Vitreous china Orissa pattern W.C. pan of size

580x440mm with integral type foot rests.

13	Nos	1 767.45	each	22 977.00

(Rupees One Thousand Seven Hundred

Sixty Seven and Paise Forty Five Only)

7.2	Providing and fixing white vitreous china flat back or wall

corner type lipped front urinal basin of 430x260x350mm and

340x410x265mm sizes respectively with automatic flushing

cistern with standard flush pipe and C.P. brass spreaders with

brass unions and G.I clamps complete, including painting of

fittings and brackets, cutting and making good the walls and

floors wherever required :

7.2.1	Range of two urinal basins with 5 litre white P.V.C. automatic

flushing cistern Parryware/ Hindware/ Seabird/ Orient (Coral).

7	Nos	2 344.15	each	16 409.00

(Rupees Two Thousand Three Hundred

Forty Four and Paise Fifteen Only)

7.3	Providing and fixing wash basin with C.I./M.S. brackets, 15 mm

C.P. brass pillar taps, Kingston/ Gem/ Techno/ Parko, 32 mm

C.P. brass waste of standard pattern,  including  painting of

fittings and brackets, cutting and making good the walls

wherever require :

7.3.1	White Vitreous China Flat back wash basin size 550x400 mm

with single 15 mm C.P. brass pillar tap.

7	Nos	770.10	each	5 391.00

(Rupees Seven Hundred Seventy and

Paise Ten Only)

7.4	Providing and fixing 600x450 mm bevelled edge mirror of

superior glass (of approved quality) complete with 6 mm thick

hard board ground fixed to wooden cleats with C.P. brass

screws and washers complete.

7	Nos	385.90	each	2 701.00

(Rupees Three Hundred Eighty Five and

Paise Ninety Only)

7.5	Providing and fixing soil, waste and vent pipes :

7.5.1	100 mm dia.

7.5.1.1	Sand cast iron S&S pipe

20	metre	271.15	metre	5 423.00

(Rupees Two Hundred Seventy One and

Paise Fifteen Only)

7.5.2	75 mm diameter :

7.5.2.1	Sand cast iron S&S pipe

10	metre	230.05	metre	2 301.00

(Rupees Two Hundred Thirty and Paise

Five Only)

7.6	Providing and fixing trap of self cleansing design with screwed

down or hinged grating with or without vent arm complete,

including cost of cutting and making good the walls and floors :

7.6.1	100 mm inlet and  75 mm outlet

7.6.1.1	Centrifugally cast (spun) iron S&S

7	Nos	377.60	each	2 643.00

(Rupees Three Hundred Seventy Seven

and Paise Sixty Only)

SubTotal	57 845.00

SH   8   WATER   SUPPLY

8.1	Providing and fixing G.I. pipes complete with G.I. fittings and

clamps, including cutting and making good the walls etc.

(internal work) :

8.1.1	Exposed on wall

8.1.1.1	15 mm dia. nominal bore

30	metre	62.65	metre	1 880.00

(Rupees Sixty Two and Paise Sixty Five

Only)

8.1.1.2	20 mm dia. nominal bore

18	metre	78.65	metre	1 416.00

(Rupees Seventy Eight and Paise Sixty

Five Only)

8.2	Painting G.I. pipes and fittings with synthetic enamel white

paint over a ready mixed priming coat, both of approved

quality for new work :

8.2.1	15 mm diameter pipe.

30	metre	3.20	metre	96.00

(Rupees Three and Paise Twenty Only)

8.2.2	20 mm diameter pipe.

18	metre	3.75	metre	68.00

(Rupees Three and Paise Seventy Five

Only)

8.3	Providing and fixing G.I. Union in G.I. pipe including cutting

and threading the pipe and making long screws etc. complete

(New work)

8.3.1	15 mm nominal bore

5	Nos	51.90	each	260.00

(Rupees Fifty One and Paise Ninety Only)

8.3.2	20 mm nominal bore

4	Nos	60.75	each	243.00

(Rupees Sixty and Paise Seventy Five

Only)

8.4	Providing and fixing PTMT (An Engineering thermoplastic) bib

cock of approved quality colour and make  (Prayag or

equivalent) :

8.4.1	15mm nominal size, 86mm long, 102 mm high and 43 mm wide

with 12 mm seat dia and replaceable washers, weighing not

less than 90gms.

24	Nos	94.60	each	2 270.00

(Rupees Ninety Four and Paise Sixty

Only)

SubTotal	6 233.00

Total	306 670.00

(Rupees Three Lakh Six Thousand Six Hundred Seventy Only)

Executive Engineer

CBMD-M233, PWD

Vikas Marg, New Delhi