##### CPWD-8

GOVERNMENT OF DELHI

### IRRIGATION & FLOOD CONTROL DEPARTMENT

STATE: DELHI				CIRCLE: FLOOD CIRCLE - II

BRANCH: I&FC				 DIVISION: CIVIL DIVISION VIII

ZONE:				           SUB DIVISION- III

ITEM RATE TENDER & CONTRACT FOR WORKS

Tender for the work of: Sub-Work    :	Construction of Barat Ghar and repair of existing Panchayat Ghar at village Begampur in Distt. N/W.									:

.

(i) To be submitted by 3.00 P.M.	hours on 09.05.2008 to Executive Engineer Civil Division-VIII

(ii) To be opened in presence of tenderers who may be present at 3.30 P.M. Hours on 09.05.2008 in the office of the Executive Engineer, Civil Division-VIII

Issued to: ___________________________________________________________________

(Contractor)

Signature of officer issuing the documents

Designation_ 					Executive Engineer, CD-VIII

Date of Issue _ 07.05.2008

TENDER

I/We have read and examined the notice inviting tender, schedule, A, B, C, D, E & F Specifications applicable, Drawings & Designs, General Rules and Directions. Conditions of Contract, clauses of contract. Special conditions. Schedule of Rates & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

I/We hereby tender for the execution of the work specified for the President of India within the time specified in Schedule 'F' viz.; schedule of quantities and in accordance in all respects with the specifications designs, drawings and instructions in writing referred to in Rule - 1 of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for, by and in respects in accordance with, such conditions so far as applicable.

We agree to keep the tender open for Sixty (60) days from the due date of submission thereof and not to make any modification in its terms &. Conditions.

The tender shell be accompanied by earnest money of Rs.90,413/- Deposit at Call Receipt of a schedule bank/Fixed deposit receipt of a scheduled bank/Demand draft of a scheduled bank issued in favour of Executive Engineer, Civil Division-VIII.  The Fixed Deposit receipt shall be accepted only if it is valid for six months or more after the last date of receipt of tenders and is pledged in favour of Executive Engineer, Civil Division No. VIII.

l/We hereby declare that  l/we shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived there from to any person other than a person to whom I/we am/are authorized to communicate the same or use the information in any manner prejudicial to the safety of the State.

l/we agree that should I/we fail to commence the work specified in the above memorandum an amount equal to the amount of the earnest money mentioned in the form of invitation of tender shall be absolutely forfeited to the President of India and the same may at the option of the competent authority on behalf of the President of India be recovered without prejudice to any other right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me/us under this contract or otherwise.

Dated .......................				  		 Signature of Contractor

Postal Address

Witness:

Address:

Occupation:

ACCEPTANCE

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the President of India for a sum of Rs………………………..

(Rupees……………………………………………………………………………………………………

………………………………………………………….)

The letters referred to below shall form part of this contract Agreement: -

i)

ii)

iii)

For & on behalf of the President of India.

Signature...............................................

Dated...............................				Designation.......................……………..

SCHEDULES

SCHEDULE 'A'							--------Attached--------

Schedule of quantities enclosed alongwith General Specifications & Special Condtions.

SCHEDULE 'B'

Schedule of materials to be issued to the contractor.

_____________________________________________________________________________

S.No. 	Description of item	Quantity	Rates in figures & words 	Place of Issue							           at which the material

Will be charged to the contractor

_____________________________________________________________________________1		2		    3			4				5

NIL

SCHEDULE "C"

Tools and plants to be hired to the contractor

_____________________________________________________________________________

SI. No. 		Description			Hire charges per day		Place of issue

_____________________________________________________________________________

1			2				3				4

_____________________________________________________________________________

NIL

SCHEDULE 'D'

Extra schedule for specific requirements/documents for the work, if any.

SCHEDULE 'E'

Schedule of component of Materials, labour etc. for escalation.

CLAUSE 10 CC

Component of materials expressed as per cent of total value of work. X'	As per CPWD   %

Component of labour expressed as per cent of total value of work.	'Y'	Analysis of rate %

Component of P.O.L. expressed as per cent of total value of work.	'Z'	BIS Code   %

SCHEDULE 'F'

Reference to General Conditions of contract.

Name of work/Scheme Sub-Work    :	Construction of Barat Ghar and repair of existing Panchayat Ghar at village Begampur in Distt. N/W.

Estimated cost of work	:	Rs. 45,20,633/-

Earnest money		:	Rs. 90,413/-

Time Allowed 		:	6 months

a) Performance Guarantee

The Contractor shall be required to deposit an amount equal to 5% of the tendered value of the work as performance guarantee in the form of an irrevocable bank guarantee bond of any schedule bank or State Bank of India in accordance with the form prescribed or in the form of Govt. Security, fixed deposit with in 4 days of the issue of letters of intent but before award of work, This period can be further extended by the Engineer-in-charge up to a maximum period of 3 days on written request of the contractor

b) Security Deposit

A sum @ 10% of the gross amount of the bill shall be deducted from each running bill of the contractor till the sum along with sum already deposited as earnest money will amount to security deposit of 5% of the tendered value of the work.

(Bank Guarantee is not to be accepted as security deposit)

General Rules & Directions:

Officer Inviting tender					Executive Engineer Civil Division - VIII

Maximum percentage for quantity of items of work to

be executed beyond which rates are to be determined

in accordance with Clauses 12.2 & 12.3,				see below

Definitions:

2 (i)

Engineer-in-Charge				Executive Engineer Civil Division - VIII

2 (ii)	Accepting Authority				S.E. (F. C.-II)      / E.E. CD-VIII)

2 (iii)	Percentage on cost of materials and 				10%

Labour to cover all overheads and profits,

2 (iv)	Standard schedule of Rates				DSR 2002

2 (v)	Department							I&FC

2 (vi)	Standard CPWD contract Form PWD Form 8 as modified &

corrected upto date

## Clause 2

Authority for fixing

compensation under clause 2.			S.E. (FC-II)

## Clause 5

Time allowed for execution of work.		6 months

Authority to give fair and reasonable		E.E. CD - VIII   / S.E. (F.C.- II)

Extension of time for completion of work		Subject to Delegation of power

Clause 7

Gross work to be done together with net 		           As per work awarded & condition

payment/adjustment of advances for material collected, 	of contract

if any, since the last such payment for being

eligible to interim payment.

Clause 11

Specifications to be followed 	CPWD Specifications 1996 Vol. I

for execution of work	to VI and revised Vol. II 2002 with upto date correction slips.

Clause 12

12.1.2 (iii)	Schedule of rates for determining

rates for additional, altered or

substituted items that cannot be            		DSR 2002

determined under 12.1.2 (i) & (ii)

12.1.2 (iii)	Plus/minus the % over the rate

entered in the schedule of rates.	         		50%

12.1.2 (iv) A	Deviation Limit beyond which 		50% Over & above the tendered amount.

sub-clauses (i) to (v) shall not

apply and clauses 12.2 & 12.3

shall apply.

12.1 (vi) B(a)	Limit for value of any item of any		50% Over & above the amount of all

individual trade beyond which sub-	items falling in a given trade in the

clause (i) to (v) shall not apply and 	schedule of items.

clauses 12.2 & 12.3 shall apply.

| Clause 16 | Competent Authority for Deciding reduced rates | S.E. (F.C. II) |
| --- | --- | --- |
| Clause 36 i) | Minimum Qualifications & Experience required for Principal Technical Representative: - |  |
| (a) | For works with estimated cost put to tender more than: - |  |
|  | i) Rs. 10 Lakhs for Civil work ii) Rs. 5 Lakhs for Eiec/Mech Works | Graduate or retired AE possessing at least recognized diploma |
| b) | For works with estimated cost put to tender: - |  |
|  | i) More than Rs. 5 Lakhs but less than Rs. 10 lakhs for civil works. | Recognized diploma holder |
|  | ii) More than Rs. 1 lakh but less than Rs. 5 Lakh br Elec./Mech Works | Recognized diploma holder |
|  | iii) Discipline to which the Principal Technical Representative should belong | ## Civil |
|  | iv) Minimum experience of works. | Three Years |
|  | v) Recovery to be effected from the contractor in the event of not fulfilling provision of clause 36(i) | Rs. 4000/- p.m. for Graduate Rs. 2000/- for diploma holder |
| Clause 42 |  |  |
|  | i) (a) Schedule/statement for determining Theoretical quantity of cement &Bitumen on the basis of Delhi Schedule of Rates 2002 printed by C.P.W.D. |  |
|  | ii) Variations permissible on theoretical quantities. |  |
| a) | Cement for works with estimated cost put to tender not more than Rs.5 Lakhs. | 3% plus/minus |
|  | For works with estimated cost put to tender more than Rs.5 lakhs. | 2% plus/minus |
| b) | Bitumen for all works. | 2.5% plus only& & nil on minus side |
| c) | Steel Reinforcement and structural steel sections for each diameter, section and category | 2% plus/minus |
| d) | All other materials. | NIL |

RECOVERY RATES FOR QUANTITIES BEYOND PERMISSIBLE VARIATION

| S. No. | Description of Item No. | Rates in figures and words at which recovery shall be made from the Contractor |  |
| --- | --- | --- | --- |
|  |  | Excess beyond permissible variation | Less use beyond the permissible variation |
| 1. | Cement |  |  |
| 2. | Steel reinforcement | Nil |  |
| 3. | Structural Sections | Nil |  |
| 4. | Bitumen issued free | Nil |  |
| 5. | Bitumen issued at stipulated fixed price. | Nil |  |

C.P.W.D.-6

GOVERNMENT OF DELHI

IRRIGATION & FLOOD CONTROL DEPARTMENT

NOTICE INVITING TENDER

Item rate tenders are invited on behalf of the President of India from approved and eligible

contractors of I&FC Department and those of appropriate list of Department of M.E.S., CPWD and

Delhi-State P.W.D. for the work of Sub-Work    :	Construction of Barat Ghar and repair of existing Panchayat Ghar at village Begampur in Distt. N/W.

1.1 	The work is estimated to cost Rs.45,20,633/-.  This estimate however, is given mere as a rough guide.

1.2	Tenders will be Issued to eligible I & FC as well as non I & FC Contractors provided they

produce definite proof from the appropriate authority which shall be to the satisfaction of the competent authority of having completed similar works of magnitude specified below: -.

Criteria of eligibility for issue of tender documents

1.3	Conditions for NON-CPWD Contractors only.	For works estimated to cost above

Three similar works each costing not less           							Rs. 25 Lacs but upto Rs. 2 Crores	than Rs.

N.A.  Lacs during last 5 years.

1.4	Conditions for CPWD as weII as

Non CPWD Contractors.

1.4.1 	For works estimated to cost above Rs. 2		Three similar works each costing not less

Crores but upto Rs. 3 Crores 			than Rs. 75 Lacs during last 5 Years

1.4.2 	For works estimated to cost above Rs. 3		Three	similar works each costing not less

Crores but upto Rs. 5 Crores			than Rs. 1 Crore during Iast 5 years

1.4.3 	For works estimated to cost		Three works each costing not less

above Rs. 5 Crores cost			than Rs. 2 Crores or two similar works of

Aggregate Cost not less than Rs. 6 Crores

During last 7 years.

For the purpose of this clause 'similar work' means the works of “Sub Work:	Sub-Work    :	Construction of Barat Ghar and repair of existing Panchayat Ghar at village Begampur in Distt. N/W.									.

2.	Agreement shall be drawn with the successful tenderer on prescribed Form No. CPWD-8 which is available as a Govt. of India Publication. Tenderer shall quote his rates as per various terms and conditions of the said form which will form part of the agreement.

3.	The time allowed carrying out the work will be seven days from the 7th day after the date of written orders to commence the work.

4.	The site for the work is available.

5.	Receipt of applications for issue of forms will be stopped by 1600 Hrs. four days before the date fixed for opening of tenders, issue of tender forms will be stopped three days before the date fixed for opening of tenders.

6.	Tender documents consisting of plans, specifications, the schedule of quantities of the various classes of work to be done and the set of terms & conditions of contract to be complied with by the contract whose tender may be accepted and other necessary documents can be seen in the office of the Executive Engineer Civil Division-VIII between hours of 11.00 A.M. & 04.00 P.M. everyday except on Sundays and Public Holidays. Tender documents, excluding standard form, will be issued from his office, during the hours specified above, on payment of Rs 500/-	in cash.

7.	Tenders which should always be placed in sealed envelope, with the name of work and due date written on the envelopes, will be received by the Executive Engineer Civil Division - upto 3.00 P.M. on 09.05.2008 and will be opened by him or his authorized representative in his office on the same day at 3.30 P.M.

8.1	The Tender shall be accompanied by earnest money, of Rs.90,413/- in Deposit at call receipt of a Schedule Bank/FDR of a Schedule Bank / Demand Draft of a Schedule Bank issued in favour of Executive Engineer Civil Division-VIII the amount being credited to Executive Engineer Civil Division-VIII.

8.2	The tender and the earnest money shall be placed in separate sealed envelopes each marked "Tender" and "Earnest Money" respectively. Both the envelopes shall be submitted together in another sealed envelope. The envelope marked "Tender" of only those tenders shall be opened, whose earnest money placed in the other envelopes is found to be in order.

9.	The description of the work is as follows:

As per Schedule attached

Copies of other drawings and documents pertaining to the work(s) will be opened for inspection by the tenderers at the office of the above mentioned officer.

Tenderers are advised to inspect and examine the site and its surroundings and satisfy themselves before submitting their tenders as to the nature of the ground and sub-soil (so far as is practicable). The form and nature of the site, the means of access to the site, the accommodation they may requisite and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tooIs & plants, water, electricity access, facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. Submission of tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores tooIs and plant. etc. wiIl be issued to him by the Government and local conditions and other factor having a bearing on the execution of the work.

10.	The competent authority on behalf of President of India does not bind himself to accept the lowest or any other tender and reverse to himself the authority to reject any or all of the tenders received without the assignment of a reason. The competent authority also reserves its right to allow to the Central Government Public Sector Enterprises / Joint Ventures with PSEs with a minimum value added content of over 20% by the latter, a purchase preference with reference to the lowest valid price bid where the quoted price is within 10% of such lowest price, other things being equal, in case of tenders / quotations whose date of receipt is upto 31.3. 2000, subject to the estimated cost being in excess of Rs. 5 crores. All tenders, in which any of the prescribed conditions are not fulfilled or are incomplete in any respect, are liable to be rejected.

11. Canvassing whether directly or indirectly in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection.

12. The competent authority on behalf of President of India reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted.

13.	The contractor shall not be permitted to tender for works in the I & FC Circle (responsible for award and execution of contracts) in which his near relative is posted as Divisional Accountant or as an officer in any capacity between the grade of Superintending Engineer and Junior Engineer (both inclusive). He shall also intimate the names of persons who are working with him in any capacity or are subsequently employed by him and who are near relatives to any gazetted officer in the I & FC Department. Any breach of this condition by the contractor would render him liable to be removed from the approved list of contractors of this Department.

14.	No Engineer of gazetted rank or other Gazetted officer employed in Engineering or Administrative duties in an Engineering Department of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any if his employees is found any time to be such a person who had not obtained the permission of the Government of India as aforesaid before submission of the tender or engagement in the contractors service.

15.	The tender for the works shall remain open for acceptance for a period of Sixty days from the date of opening of tenders. If any tenderer withdraws his tender before the said period or issue of let6ter of acceptance, which-ever is earlier, or makes any modifications in the terms and conditions of the tender which are not acceptable to the department, then the Government shall, without prejudice to any other right or remedy, be at liberty to forfeit 50% of the said earnest money as aforesaid.

16.	This Notice Inviting Tender shall form a part of the contract document. The successful tenderer / contractor, on acceptance of his tender by the Accepting Authority shall within 15 days from the stipulated date of start of the work sign the contract consisting of: -

a)	The notice inviting tender are the documents including additional conditions. specifications and drawings. If any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

b)	Standard C.P.W.D. form 8

17. Performance Guarantee

The Contractor shall be required to deposit an amount equal to 5% of the tendered value of the work as performance guarantee in the form of an irrevocable bank guarantee bond of any schedule bank or State Bank of India in accordance with the form prescribed or in the form of Govt. Security fixed deposit with in 4 days of the issue of letters of intent but before award of work. This period can be further extended by the Engineer-in-charge up to a maximum period of 3 days on written request of the contractor

###### For & on behalf of President of India

SCHEDULE OF QUANTITIES

Estimated Cost:- Rs. 45,20,633.00

Earnest Money :- Rs.     90,413.00

Time allowed   :- Six (6) Months

Name of Work  :	Strengthening and Modernization of Panchayat unit and its functions in NCT of Delhi.

Sub-Work    :	Construction of Barat Ghar and repair of existing Panchayat Ghar at village Begampur in Distt. N/W.

| S.No. | Description of Item | Qty. | Unit | Rate | ### Amount |
| --- | --- | --- | --- | --- | --- |
|  | Earth work in excavation in foundation trenches or drains (not exceeding 1.5 m in width or 10 sq.m on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m: all kinds of soil. | 533.00 | Cubic Metre |  |  |
|  | Providing & laying in position cement concrete of specified grade excluding the cost of centring and shuttering -All work upto plinth level 1:4:8 (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size) | 40.00 | Cubic Metre |  |  |
|  | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring ,shuttering ,finishing and reinforcement-All work upto plinth level. 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 114.00 | Cubic Metre |  |  |
|  | Reinforced cement concrete work in walls (any thickness)including attached pilasters ,buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts, etc. excluding cost of centring, shuttering ,finishing and reinforcement . 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size)- |  |  |  |  |
| a) | Upto floor II level | 18.00 | Cubic Metre |  |  |
| b) | Upto floor III level | 18.00 | Cubic Metre |  |  |
|  | Reinforced cement concrete work in beams suspended floors, roofs having slope up to 15 degree landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral staircases excluding cost of centring, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20mm nominal size). |  |  |  |  |
| a) | Upto floor II level | 75.00 | Cubic Metre |  |  |
| b) | Upto floor III level | 80.00 | Cubic Metre |  |  |
|  | Brick work with FPS bricks of class designation 75 in foundation and plinth in Cement mortar 1:6 (1 cement : 6 coarse sand). | 84.00 | Cubic Metre |  |  |
|  | Providing and laying damp-proof course 40 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 12.5 mm nominal size) | 46.00 | Square Metre |  |  |
| - a) | Brick work with FPS bricks of class designation 75 in superstructure above plinth level upto floor II level in cement mortar 1:6 (1 cement : 6 coarse sand). | 67.00 | Cubic Metre |  |  |
| b) | From floor II level upto floor III level . | 80.00 | Cubic Metre |  |  |
| c) | From floor III level upto floor IV level. | 7.00 | Cubic Metre |  |  |
| - a) | Half brick masonry with FPS bricks of class designation 75 in superstructure above plinth level up to floor two level in cement mortar 1:4 (1 cement : 4 coarse sand). | 26.00 | Square Metre |  |  |
| b) | From floor II level upto floor III level. | 26.00 | Square Metre |  |  |
|  | Extra for providing and placing in position 2 nos 6 mm dia M.S. bars at every third course of half brick masonry (with F.P.S. bricks) | 52.00 | Square Metre |  |  |
|  | Centering and shuttering including strutting, propping etc. and removal of form for: |  |  |  |  |
| a) | Foundations, footings, bases of columns, etc., for mass concrete. | 412.00 | Square Metre |  |  |
| b) | Columns, Pillars, Piers, Abutments, Post and struts | 891.00 | Square Metre |  |  |
| c) | Stairs, (excluding landings) except spiral-staircases . | 33.00 | Square Metre |  |  |
| d) | Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 448.00 | Square Metre |  |  |
| e) | Suspended floors, roofs, landings and balconies and access platform | 644.00 | Square Metre |  |  |
| f) | Arches, domes, vaults upto 6 m span | 57.00 | Square Metre |  |  |
|  | Reinforcement for RCC work including straightening cutting, bending, placing in position and binding all complete cold twisted bars. | 36000.00 | Kilogram |  |  |
|  | Supplying and filling in plinth with Jamuna sand under floors including, watering, ramming consolidating and dressing complete. | 32.00 | Cubic Metre |  |  |
|  | Marble stone flooring with 18mm marble stone (sample of marble stone shall be approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar 1:4(1 cement:4coarse sand) laid and jointed with grey cement slurry including rubbing and polishing complete with: Raj nagar plain | 652.00 | Square Metre |  |  |
|  | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of cement mortar 1 : 4(1 cement : 4 coarse sand): 25 mm thick | 1071.00 | Square Metre |  |  |
|  | Kota stone slabs 25 mm thick in risers of steps skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 70.00 | Square Metre |  |  |
|  | Providing & fixing Ist quality ceramic glazed tiles conforming to IS : 13753 of minimum thickness 5 mm of approved make like NITCO,ORIENT, SOMANY KAJARIA,or equivalent make in all colours, shades, design & prints except begundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3(1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 125.00 | Square Metre |  |  |
|  | Tile work in skirting, risers of steps and dado (upto 2 m height) over 12 mm thick bed of cement mortar 1:3 (1 cement :3 coarse sand) and jointed with grey cement slurry @ 3.3 kg/sqm including pointing in white cement mixed with pigment of matching shade complete Marble tiles (polished) Rajnagar 8 mm thick | 541.00 | Square Metre |  |  |
|  | Painting top of roofs with bitumen of approved quality at 17 kg per 10 sqm impregnated with a coat of coarse sand at 60 cudm per 10 sqm including cleaning the slab surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil complete: With residual type petroleum bitumen of penetration 80/100 | 378.00 | Square Metre |  |  |
|  | 10 cm thick (average) mud phaska of damped brick earth on roofs laid to slope consolidated and plastered with 25 mm thick mud mortar mixed with bhusa @ 35 kg per cum of earth and gobri leaping with mix 1:1 (1 clay : 1 cow dung) and covered with flat tile bricks of class designation 100 grouted with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 2% of integral water proofing compound by weight of cement and finished neat: with FPS brick tiles. | 378.00 | Square Metre |  |  |
|  | Providing gola 75 x 75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge) including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design: In 75 x 75 mm deep chase | 146.00 | Metre |  |  |
|  | Making khurras 45 x 45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x 1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement rounding the edges and making and finishing the outlet complete | 7 Nos. | Each |  |  |
|  | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS:13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10 mm gap for thermal expansion single socketed pipes 110 mm diameter. | 49.00 | Metre |  |  |
|  | Providing and fixing on wall face unplasticised-PVC moulded fittings/accessories for unplasticised-Rigid PVC rain water pipes con- forming to IS:13592 Type A including jointing with seal ring conforming to IS:5382 leaving 10 mm gap for thermal expansion. |  |  |  |  |
|  | Bend 87.5 degree 110mm bend | 7 Nos. | Each |  |  |
|  | Shoe (plain) 110m shoe | 7 Nos. | Each |  |  |
|  | Providing and fixing unplasticised-PVC pipe clips of approved design to unplasticised-PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed witgh M.S screws of required length including cutting brick work and fixing in cement mortar 1:4(1 cement: 4 coarse sand) and making good the wall etc. complete. 110 mm. | 35 Nos. | Each |  |  |
|  | 12 mm cement plaster of mix: 1:4 (1 cement : 4 fine sand) | 897.00 | Square Metre |  |  |
|  | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:4 (1 cement : 4 coarse sand) | 935.00 | Square Metre |  |  |
|  | 6 mm cement plaster to ceiling of mix: 1:3 (1 cement : 3 fine sand) | 927.00 | Square Metre |  |  |
|  | Finishing walls with textured exterior paint ""Sandtex Matt"" of M/s Snowcem India Ltd., or equivalent of required shade New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including base coat of water proofing cement paint ""Snowcem Plus"" or equivalent applied @2.20kg/10 sqm | 846.00 | Square Metre |  |  |
|  | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade new work (two or more coats) over and including priming coat with cement primer. | 808.00 | Square Metre |  |  |
|  | White washing with lime to give an even shade: New work (three or more coats). | 927.00 | Square Metre |  |  |
|  | Providing & laying in position cement concrete of specified grade excluding the cost of centring and shuttering -All work upto plinth level 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 159.00 | Cubic Metre |  |  |
|  | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade two or more coats on new work; steel work.. | 449.00 | Square Metre |  |  |
|  | Providing and fixing water closet squatting pan (Indian type W.C. pan) with 100 mm sand cast Iron P or S trap, 10 litres low level white PVC flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, Parryware/ Hindware/Seabird/Orient(Corel) with all fittings and fixtures complete including cutting and making good the walls and floors wherever required. white Vitreous china Orissa pattern W.C. pan of size 580 x 440 mm with integral type foot rests. | 6 Nos. | Each |  |  |
|  | Providing and fixing soil, waste and vent pipes 100mm dia. sand cast iron S&S pipe. | 50.00 | Metre |  |  |
|  | Providing and fixing wash basin with C.I./M.S brackets, 15 mm C.P. brass pillar taps, Kingston/ Gem/ Techno/ Parko, 32mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever required: white vitreous china wash basin size 550 x 400 mm with a pair of 15 mm C.P. brass pillar tap. | 6 Nos. | Each |  |  |
|  | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors 100 mm inlet and 100 mm outlet sand cast iron S&S. | 6 Nos. | Each |  |  |
|  | Providing and fixing 100mm sand cast iron grating for gully, floor or Nahani trap. | 6 Nos. | Each |  |  |
|  | Providing, laying and jointing glazed stoneware pipes Grade A with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete. 150mm diameter | 50.00 | Metre |  |  |
|  | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design: 150mm diameter S.W. pipe. | 50.00 | Metre |  |  |
|  | Providing and fixing square-mouth S.W. gully trap grade `A' complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg. and frame to be not less than 2.70 kg. as per standard design: 100 x 100 mm size P type- With F.P.S. bricks class designation 75. | 8 Nos. | Each |  |  |
|  | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, including cutting and making good the walls etc. (Internal work) concealed pipe including painting with anti corrosive bitumastic paint, cutting chases and making good the wall - 15mm dia nominal bore. - 25 mm dia nominal bore. | 100.00 100.00 | Metre Metre |  |  |
|  | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. (External work): 20mm dia nominal bore. | 50.00 | Metre |  |  |
|  | Providing and fixing brass bib cock of approved quality: 20mm nominal bore. | 10 Nos. | Each |  |  |
|  | Providing and fixing brass stop cock of approved quality 20 mm nominal bore | 6 Nos. | Each |  |  |
|  | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm nominal bore | 4 Nos. | Each |  |  |
|  | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) - 15mm nominal bore - 20mm nominal bore | 10 Nos. 10 Nos. | Each Each |  |  |
|  | Providing and fixing unplasticised P.V.C. connection pipe with brass unions: 30cm length 15mm nominal bore. | 20 Nos. | Each |  |  |
|  | Providing and placing on terrace(at all floor levels) polyethylene water storage tank ISI : 12701marked indicating the BIS licence No. with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank.[ Sintex, Electroplast, Star, Lotus or equivalent having valid ISI license.] | 4000 Litre | Per litre capacity |  |  |
|  | Providing and fixing ball valve (brass) of approved quality complete: High or low pressure with plastic floats- 15 mm nominal bore. | 4 No. | Each |  |  |
|  | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded with 15x3 mm lugs, 10cm long embedded in cement concrete blocks 15x10x10 cm of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | 1083.00 | Kilogram |  |  |
|  | Providing and fixing 1 mm thick M.S. sheet door with frame of 40 x 40 x 6 mm angle iron and 3 mm M.S gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer: Using flats 30 x 6 mm for diagonal braces and central cross piece | 54.00 | Square Meter |  |  |
|  | Providing and fixing ISI marked steel glazed doors, windows and ventilators of standard rolled steel sections, joints metred and welded with 15 x 3 mm lugs, 10 cm long, embedded in cement concrete blocks 15x10x10cm of 1:3:6(1cement:3 coarse sand:6 graded stone aggregate 20mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required, including providing and fixing of glass panes with glazing clips and special metal sash putty of approved make complete including applying a priming coat of approved steel pri- mer; excluding the cost of metal beading and other fitting except necessary hinges or pivots as required. - windows fixed. - Windows side hung - Ventilators top hung | 78.00 45.00 3.00 | Square Metre Square Metre Square Metre |  |  |
|  | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. all complete. Fixed to steel windows by welding. | 126.00 | Kiliogram |  |  |
|  | Providing and fixing bright finished brass casement window fasten- ers of minimum weight 200 grams to side hung steel windows with necessary welding and machine screws etc. complete. | 74 Nos. | Each |  |  |
|  | Providing and fixing bright finished brass peg stays 300 mm long of minimum weight 330 grams. to side hung steel windows with necessary welding and machine screws etc. complete. | 74 Nos. | Each |  |  |
|  | Providing and fixing 600 x 450 mm bevelled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6 Nos. | Each |  |  |
|  | Steel work welded in built up sections/framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required in gratings, frames, guard bar, ladders, railings, brackets, gates and similar works. | 2553.00 | Kilogram |  |  |
|  | Filling available excavated earth (excluding rocks) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth consolidated each deposited layer by ramming and watering lead upto 50m and lift upto 1.50m. | 354.00 | Cubic Metre |  |  |
|  | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350mm and 340x410x265mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I. clamps compete including painting of fittings and brackets, cutting and making good the walls and floors wherever required : one urinal basin with 5 litre white P.V.C automatic flushing cistern parryware/ Hindware/ Seabird Orient/(Coral). | 4 No. | Each |  |  |
|  | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter 100mm. | 40 Nos. | Each |  |  |
|  | Demolishing cement concrete including disposal of material within 50 metres lead : - 1:3:6 or richer mix b) 1:4:8 or leaner mix | 11.00 11.00 | Cubic metre Cubic metre |  |  |
|  | Demolishing brick work including stacking of serviceable material and disposal of unserviceable material within 50 metres lead: In cement mortar | 8.00 | Cubic metre |  |  |
|  | #### Demolishing mud phaska in terrracing and disposal of material within 50 metres lead | 11.00 | Cubic metre |  |  |
|  | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 1143.00 | Square Metre |  |  |
|  | Supply of earth by mechanical transport including loading and unloading and royalty of earth and banking the same in layers not exceeding 20 cm. in depth, breaking clods, watering, rolling each layer with ½ tonne roller, or wooden or steel rammers, and dressing up in embankments for roads, flood banks, marginal banks and guide banks or filling up ground depressions with mechanical lead upto 18 km and lift up to 1.5 m . | 160.00 | Cubic metre |  |  |

ASSISTANT ENGINEER(III)													EXECUTIVE ENGINEER(CD-VIII)

# SPECIFICATION AND SPECIAL CONDITIONS

Name of Work :	Strengthening and modernization of Panchayat Unit and its Functions in NCT of Delhi.

Sub Work         :         Construction of Barat Ghar and repair of existing Panchayat Ghar at

village Begampur in Distt. N/W.

Scope of Work :	 The work under this contract shall generally consist of ” Construction of

Barat Ghar and repair of existing Panchayat Ghar at village Begampur in

Distt. N/W”.. The proposed work includes construction of one hall, one

room, verandah and toilet block at  ground  floor and one hall, three

rooms, toilet block, verandah and stairs at first floor in Barat Ghar and

repair of the existing Panchayat Ghar . The provision of  textured  exterior

paint on outer face of the building and oil  bound distemper on inner side

of the building has been made. Beside this  provision of  kota stone

flooring in the open court yard and marble stone flooring in side the

building  main road to the main building and walking  track with has also

been  taken . The  drawing of the work can  be seen in  the office of the

Executive Engineer, Civil Division No.  VIII, Rohini  Office Complex,

Sector-15, Rohini, on  any working day between 11.00A.M. to 4.00 P.M.

# Specification and special conditions: -

- Unless otherwise specified the work shall be carried out as per CPWD specifications-

1996 vol.-I, III to VI and 2002 vol.-II for works at Delhi with up to date correction slips.  In the event of any dispute the following shall be the order of priority to decide the issue:

a)	Nomenclature of item read with general specifications and special conditions of

contract.

b)	Drawings.

c)	C.P.W.D. specifications-1996 vol.-I, III to VI and 2002 Vol. II for works at Delhi.

d)	B.I.S. specifications.

e)         Instructions of the Engineer-in-charge.

f)         DSR 2002.

g)        CPWD Manual Vol.II.

- Before quoting the rates, the contractor is supposed to have inspected the site of work and fully acquainted himself with regard to the accessibility, of site, availability of water, material and labour etc. and nothing extra shall be paid to him by the department on this account.

- The contractor shall make his own arrangements for filtered and unfiltered water for use at site at his own cost.

- The work being under the technical control of Chief Engineer (Irrigation and Flood Control Department) the word CPWD or its officers wherever it occurs in the tender form shall be construed to mean the Irrigation and Flood Control Department of Govt. of NCT of Delhi, or its officers”, except in case of clauses involving specifications, schedule of rates and working condition of labour and material.

- The work to be executed under this contract shall be subjected to inspections carried out by the departmental officers and the Chief Technical Examiner.  Any defects regarding workmanship or quality of material used or defects developed during the maintenance period, if pointed out by the Technical Examiner or departmental officers, shall have to be rectified by the contractor at his own cost.  In case the contractor fails to do so, the same shall be got done through any other agency by the department at the risk and cost of the contractor and necessary recovery shall be made from the security deposit or from any other payment due to him.  The decision of the Engineer-in-charge regarding workmanship and recoveries on account of defective work or work below specifications shall be binding on the contractor.

- All material, whatsoever to be supplied and used by the contractor shall be standard make and of approved quality.  The same shall be got approved from Engineer-in-charge or his authorized representative before material is used on the work.  The sub-standard/rejected material shall be removed from the site of work by the contractor at his own cost an nothing extra shall be payable to him on this account.

- Unless otherwise specified in the nomenclature of the item, the rates quoted by the contractor shall be inclusive of all leads and lifts, royalty, carriage and other inputs involved for satisfactory execution of the work for which nothing extra shall be paid beyond the rates quoted by him in his tender.

- The contractor shall be fully responsible for any mishap if occurs at site during the execution of work and the department shall not be responsible to pay anything to him on this account a compensation except as provided in clause 2 (ix) of conditions of contract and clause 43 of clauses of contract.

- If the scope of work is amended under the relevant clauses of the tender documents, the additional work shall be carried out as per CPWD specification-1996 (vol. I, III to VI) and 2002 Vol.-II unless otherwise specified.

- Any T&P, which may be required at site for doing the work which have to be arranged by the contractor at his own cost and nothing extra shall be payable on this account.

- The contractor will be responsible for the correct execution of the work in accordance with drawings provided to him.  He will also be responsible for all mistakes due to working to wrong levels or center lines.  In case the contractor requires any clarifications, conditions, drawing etc.  The Engineer-in-charge shall be contacted.

- Saintary installations, water supply and drainage works shall be done by licensed plumbers of Municipal Corporation of Delhi and they must produce the copy of the license as and when required before execution of work.

- All pipelines laid by the contractor shall be tested as required under the specifications, to the entire satisfaction of the Engineer-in-charge.

- All propping and centering shall be both of steel, plates, tubes with extension pieces or built up section of rolled steel, shuttering for form work shall be of steel and the same shall be sufficiently stiffened.

- The scaffolding for doing the brick work for all external walls, shall be done from outside the support shall be sound and strong, tied together with the horizontal pieces.  The holes for horizontal scaffolding pole shall be provided only in the header course.  The holes in the masonry work for supporting the scaffoldings shall be fitted and made good before plastering.  The contractor shall be responsible for providing and maintaining sufficiently strong scaffolding so as to withstand all loads likely to come upon it.  Nothing extra is payable on this account.

- Due care shall be taken by the contractor to ensure the execution of brick masonry walls in plumbs & string.

- Coarse sand (Badarpur) will be used after washing in case the silt contents are beyond permissible limit.

- Testing of material shall be carried out by the contractor at his own cost in laboratories approved by the Engineer-in-charge.  Testing charges shall be borne by the contractor.  All other expenditure required to be incurred for taking the samples, conveyance, packing etc. shall be borne by the contractor himself.

- The water will be tested with regard to its suitability for use in the works and nothing extra shall be paid on this accord.

- Electrical work (concealed/open) shall be got carried out by the department through any other agency, while the civil works are in progress.  The contractor shall cooperate with the agency executing the electric work.  The contractor shall have no claim for utilization of extra cement for any petty work of rectification required nor shall have right to claim for the work labour or any other infractions expenditure on account of held up or suspension of this work.  However, he shall ensure that the finishing shall be uniform and to the satisfaction of the department.  Nothing extra shall be payable to him for the different items of work mentioned in schedule of quantities.

- The contractor shall have to clear the site of work of all surplus materials, malba, debris, labour huts/stores etc. if any before the work is considered as complete.

- Cement:-

i)       The contractor shall procure Portland Pazzolona cement conforming to IS: 1489

(Part-I)  having 	strength of 53 mpa for all items of work related to cement except for

the RCC works where 43 grade OPC  cement conforming to IS 8112 shall be allowed.

The cement  shall be procured from reputed manufactures of cement having production

capacity of  one million tones or more such as ACC, JP Rewa, shri cement , Ultra Tech

and Ambuja i.e. agencies approved by Ministry of Industries Govt. of  Delhi and

holding license to  use ISI certification mark for their product.  The tenderer may also

submit a list of name  of cement manufacturers, which they propose to use in the work.

The tender accepting authority reserves right to accept or reject names (s) of cement

manufacturers  which terderer propose to use in the work . No change in the tendered

rates will be accepted if the tender accepting authority does not accept the list of

cement  manufacturers given by the tenderer, fully or partially. Supply of cement shall

be taken in 50 kg  bags bearing  manufacturer’s name and ISI marking.  Sample of

cement arranged by the contractor shall be taken by the Engineer-in-charge and got

tested in accordance  with provision of relevant BIS codes from Shri Ram Institute or

other lab as decided by Engineer-in-charge.  In case test result indicate that the cement

arranged by the contractor  does not Conform to the relevant BIS codes, the same shall

stand rejected and shall be removed from the site by the contractor at his own cost

within a week time or  written   order from the Engineer-in-charge to do so.

ii) The cement shall be brought at site in bulk supply of approximately 25.00 M.T or

as decided by the Engineer-in-Charge.

iii) The cement godown of the capacity to store a minimum of 500 bags cement shall

be constructed by the contractor at site of work for which no extra payment shall

be made.  Double lock provision shall be made for the door of the cement

godown.  The keys of the one lock shall remain with the Engineer-in-Charge or

his authorized representative and the other key of the door lock shall remain with

the contractor or his authorized agent.  The contractor shall be responsible for the

watch and ward and safety of the cement in godown.  The contractor shall

facilitate the inspection of cement godown by the Engineer-in-Charge at any   time.

(iv) The Cement shall be got tested by Engineer-in-Charge and shall be used on work

only after test results have been received.  The contractor shall supply free of

charge the cement required for testing.  The cost of test shall be borne by the

contractor him self .

- The actual issue and consumption of cement on work shall be regulated and proper

accounts maintained as provided in the contract. The theoretical consumption of

cement shall be worked out as per procedure prescribed in the relevant clause of

the contract and shall be governed by condition laid therein.  Approximately

246.37  M.T. Tonnes of cement shall be required at site of work to execute this

work.

vi)Cement brought to site and cement remaining unused after completion of work

Shall not be removed from site without written permission of the Engineer-in-charge.

vii)   Damaged cement shall be removed from the site immediately by the contractor on

receipt of a notice in writing from the Engineer-in-Charge if he does not do so with

in three days of the receipt of such notice, the Engineer-in-Charge shall get it

removed at the cost of the contractor.

viii) The contractor shall have to produce all the original bills in support of purchase of

cement, only then the running payment shall be made to the contractor of the

executed work.

23.   The  rate quoted shall be inclusive of all taxes, octori royalty and sale tax etc.

shall be charged as per the direction of Govt. of NCT of Delhi on the payable

amount  and no extra payment shall be made other than the quoted rates due to any

fresh   imposition of taxes by Delhi  Govt.  In compliance to the direction of Labour

Department of GNCT of Delhi 1% (one precent) cess of the amount on the cost of

the  work done shall be deducted from the contractors bill at the time of payment.

ASSISTANT ENGINEER-III                                    EXECUTIVE ENGINEER-CDVIII